## Definitions
scopeTypes | dataCategoryType | measurandType | unit | equipmentClass | Statement categories | Equipment Categories | metaDataType
- | - | - | - |  | general | item | Data
reference | Value | Measure.Conductance | \metre |  | norm | reference | UsedReferenceId
itemIndication | TargetValue | Measure.Conductivity | \kilogram |  | method |  | UsedMethodId
itemBias | ToleranceLimitLower | Measure.Current.AC | \second |  | exception |  | UsedEquipmentId
environment | ToleranceLimitUpper | Measure.Current.AC.Sinewave | \ampere |  | attention |  | customerTag
| AcceptanceLimitLower | Measure.Current.AC.Squarewave | \kelvin |  | traceability |  | laboratoryTag
| AcceptanceLimitUpper | Measure.Current.AC.Trianglewave | \mole |  | comment |  | accreditationException
| Conformity | Measure.Current.DC | \candela |  | accreditation |  | TimeStamp
| repeatability | Measure.Density.Mass.Gas | \one |  | accreditationException |  | Exception
| Other | Measure.Density.Mass.Liquid | \day |  |  |  | Statement
| accreditationApplies | Measure.Density.Mass.Solid | \hour
| ExpandedUncertainty | Measure.Force | \minute
| UncertaintyCoverageFactor_k | Measure.Frequency | \degree
| UncertaintyCoverageProbability | Measure.Frequency.AmplitudeModulation.Rate | \arcminute
|  | Measure.Frequency.FrequencyModulation.Deviation | \arcsecond
|  | Measure.Frequency.FrequencyModulation.Rate | \gram
|  | Measure.Frequency.PhaseModulation.Rate | \radian
|  | Measure.Humidity.Absolute | \steradian
|  | Measure.Humidity.Relative | \hertz
|  | Measure.Impedance | \newton
|  | Measure.Inductance | \pascal
|  | Measure.Length | \joule
|  | Measure.Length.Circumference | \watt
|  | Measure.Length.Diameter | \coulomb
|  | Measure.Length.Form.Flatness | \volt
|  | Measure.Length.Form.Parallelism | \farad
|  | Measure.Length.Form.Perpendicularity | \ohm
|  | Measure.Length.Form.Roughness | \siemens
|  | Measure.Length.Form.Roundness | \weber
|  | Measure.Length.Form.Sphericity | \tesla
|  | Measure.Length.Form.Straightness.Axis | \henry
|  | Measure.Length.Form.Straightness.Surface | \degreecelsius
|  | Measure.Length.Radius | \lumen
|  | Measure.Mass.Apparent | \lux
|  | Measure.Mass.Conventional | \becquerel
|  | Measure.Mass.True | \sievert
|  | Measure.Phase.PhaseModulation | \gray
|  | Measure.Phase.ReflectionFactor.RF | \katal
|  | Measure.Phase.TransmissionFactor | \hectare
|  | Measure.PhaseNoise.SideBand | \litre
|  | Measure.Power.RF.Sinewave | \tonne
|  | Measure.Pressure.Hydraulic.Static | \electronvolt
|  | Measure.Pressure.Pneumatic.Absolute.Static | \dalton
|  | Measure.Pressure.Pneumatic.Differential.Static | \astronomicalunit
|  | Measure.Pressure.Pneumatic.Gage.Static | \neper
|  | Measure.Ratio.AmplitudeModulation | \bel
|  | Measure.Ratio.Density.Mass | \decibel
|  | Measure.Ratio.Humidity.Relative | \deca
|  | Measure.Ratio.Humidity.Specific | \hecto
|  | Measure.Ratio.Power.ReflectionFactor.RF | \kilo
|  | Measure.Ratio.Power.RF.Sinewave.Delta.Frequency | \mega
|  | Measure.Ratio.Power.RF.Sinewave.Delta.Power | \giga
|  | Measure.Ratio.Power.TransmissionFactor | \tera
|  | Measure.Ratio.Torque | \peta
|  | Measure.Ratio.Voltage.AC.Ripple.OnDC | \exa
|  | Measure.Ratio.Voltage.AC.Sinewave.Delta.Frequency | \zetta
|  | Measure.Ratio.Voltage.AC.Sinewave.Delta.Voltage | \yotta
|  | Measure.Resistance | \deci
|  | Measure.Temperature | \centi
|  | Measure.Temperature.Radiometric | \milli
|  | Measure.Temperature.Simulated.PRT | \micro
|  | Measure.Temperature.Simulated.RTD | \nano
|  | Measure.Temperature.Simulated.Thermocouple | \pico
|  | Measure.Time.Transition | \femto
|  | Measure.Time.UTC | \atto
|  | Measure.Torque | \zepto
Measure.Torque.HydraulicPressure
Measure.Voltage.AC
Measure.Voltage.AC.Ripple.OnDC
Measure.Voltage.AC.Sinewave
Measure.Voltage.AC.Squarewave
Measure.Voltage.AC.Trianglewave
Measure.Voltage.DC
Measure.Weight
Source.Capacitance
Source.Conductance
Source.Conductivity
Source.Current.AC.Sinewave
Source.Current.AC.Squarewave
Source.Current.AC.Trianglewave
Source.Current.DC
Source.Density.Mass.Gas
Source.Density.Mass.Liquid
Source.Density.Mass.Solid
Source.Force
Source.Frequency.AC.Squarewave
Source.Frequency.Arbitrary.Cardiograph
Source.Humidity.Absolute
Source.Impedance
Source.Inductance
Source.Length
Source.Length.Circumference
Source.Length.Diameter
Source.Length.Form.Perpendicularity
Source.Length.Form.Roundness
Source.Length.Form.Sphericity
Source.Length.Form.Straightness.Surrface
Source.Length.Radius
Source.Mass.Apparent
Source.Mass.Conventional
Source.Mass.True
Source.Period.Marker
Source.Period.Squarewave
Source.Power.AC.Sinewave
Source.Power.AC.Sinewave.Simulated
Source.Power.DC.Simulated
Source.Power.Noise.Terminated
Source.Power.RF.Sinewave
Source.Pressure.Hydraulic.Static
Source.Pressure.Pneumatic.Absolute.Static
Source.Pressure.Pneumatic.Differential.Static
Source.Pressure.Pneumatic.Gage.Static
Source.Ratio.AmplitudeModulation
Source.Ratio.Humidity.Relative
Source.Ratio.Humidity.Specific
Source.Ratio.Power.RF.Sinewave.Delta.Frequency
Source.Ratio.Voltage.AC.Sinewave.Delta.Frequency
Source.Ratio.Voltage.AC.Sinewave.Delta.Voltage
Source.Resistance
Source.Temperature
Source.Temperature.FixedPoint
Source.Temperature.Radiometric
Source.Temperature.Simulated.PRT
Source.Temperature.Simulated.RTD
Source.Temperature.Simulated.Thermocouple
Source.Time.Marker
Source.Torque
Source.Voltage.AC.Sinewave
Source.Voltage.DC
Source.Voltage.DC.Delta.Voltage
Source.Voltage.Noise.Terminated
Source.Voltage.Shorted
Measure.Volume
miscelaneous01
miscelaneous02
miscelaneous03
miscelaneous04
miscelaneous05

## AdministrativeData
heading lang1 | heading lang2 | Description | Value | XPATH
Calibration certificate | Kalibreringscertifikat | Document_name |  | /dcc:digitalCalibrationCertificate
This document was created with: | Dette dokument blev genereret ved hjælp af: |  |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:dccSoftware/dcc:software
|  | Software_Name | excel2dcc.py | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:dccSoftware/dcc:software/dcc:name
|  | Software_Version | v0.0.1 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:dccSoftware/dcc:software/dcc:release
|  |  | DK | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:countryCodeISO3166_1
|  |  | da | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:usedLangCodeISO639_1
|  |  | en | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:mandatoryLangCodeISO639_1
Certificate number | Certifikatnummer |  |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:uniqueIdentifier
|  | Unique_ID | DFM-T2301 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:uniqueIdentifier/dcc:value
Order number | Ordrenummer |  |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:customerIdentification
|  | OrderNo | 8000650430 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:customerIdentification/dcc:value
|  | ArrivalDate | 2022-02-18 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:receiptDate
|  | StartDate | 2022-02-21 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:beginPerformanceDate
|  | EndDate | 2022-02-22 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:endPerformanceDate
|  | Performance location | laboratory | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:performanceLocation
|  | Issue Date | 2022-02-23 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:issueDate
Calibration laboratory | Kalibreringslaboratorium |  |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory
|  | CalLab_CompanyName | DFM A/S | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:companyName
|  | CalLab_Email | Administration@dfm.dk | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:eMail
|  | CalLab_Phone | +45 7730 5800 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:phone
|  | CalLab_City | Hørsholm | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location/dcc:city
|  | CalLab_Country | DK | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location/dcc:countryCode
|  | CalLab_PostalCode | 2970 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location/dcc:postCode
|  | CalLab_Street1 | Kogle Alle | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location/dcc:street
|  | CalLab_Street_No | 5 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location/dcc:streetNo
|  | CalLab_Webpage | www.dfm.dk | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location/dcc:further/dcc:content
|  | SignedBy | J. S. Nielsen | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:respPersons/dcc:respPerson/dcc:person/dcc:name/dcc:content
Customer | Kunde |  |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer
|  | Customer_CompanyName | Danish Measurement Company Ltd. | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:companyName
|  | Customer_Att | Mads Målermand | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:attPerson
|  | Customer_Email | mm@dmc.dk | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:eMail
|  | Customer_Phone | 34507624 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:phone
|  | Customer_City | Måløv | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:city
|  | Customer_Country | DK | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:countryCode
|  | Customer_PostalCode | 9899 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:postCode
|  | Customer_CompanyStreet1 | Målervej | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:street
|  | Customer_CompanyStreet_No | 16, 1. sal | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:streetNo
|  | Customer_Webpage |  |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:further/dcc:content

## Statements
Include in DCC | category | id | heading lang1 | body lang1 | heading lang2 | body lang2
x | general | s01 | Reprint | Excerpts of this report may only be reproduced with the written permission of the calibration laboratory. | Gengivelse af rapport i uddrag | Denne rapport må ikke gengives i uddrag undtaget med laboratoriets skriftlige tilladelse.
x | general | s02 | CIPM MRA | This certificate is consistent with the capabilities that are included in Appendix C of the MRA drawn up by the CIPM. Under the MRA, all participating institutes recognize the validity of each other’s calibration and measurement certificates for the quantities, ranges and measurement uncertainties specified in Appendix C (for details see http://www.bipm.org). | CIPM MRA | Dette certifikat er i overensstemmelse med måleevnerne angivet i MRA’ens Appendiks C, som er redigeret af CIPM. I henhold til MRA’en anerkender alle deltagende institutter gyldigheden af hinandens kalibrerings- og målecertifikater for de målestørrelser, måleområder og måleusikkerheder som er specificeret i Appendiks C (for detaljer se www.bipm.org).
x | method | meth01 | Method | The temperature sensors were calibrated according to internal procedure P230 | Metode | Temperatursensoren blev kalibreret I henhold til intern procedure no. P230
x | general | s03 | Conformity | Statements of conformaty is based on the tolerance limits provided by the customer. The statement 'pass' indicates that the value including its uncertainty is within the tolerance limits. Otherwise the statement is 'fail'. | Konformitetsudsagn | Konformitetsudsagn er baseret på kundens tolerancegrænser. Udsagnet 'pass' inidkerer at måleværdien inklusive usikkerhed ligger inden for tolerancegrænserne. Ellers gives udsagnet 'fail'.
x | exception | e01 | Increased uncertainty | Data marked with reference to this exception has increased uncertainty relative to the laboratory's best measurement capability due to ill condition of the calibrated item. | Forhøjet måleusikkerhed | Data markeret med reference til denne undtagelse har forhøjet måleusikkerhed pga. Kalibreringsemnets ringe tilstand.
x | general | None
x | accreditation | acc1 | Accreditation | The calibration is caried out under DANAK accreditation no..255 unless clearly statet in the tabel of results. DANAK is the national accreditation body in Denmark in compliance with Regulation (EC) No. 765/2008 of the European Parliament and of the Council. DANAK is covered by the multilateral agreements for testing, medical examination, calibration, proficiency testing providers and reference material producers under European co-operation for Accreditation (EA) and under International Laboratory Accreditation Cooperation (ILAC) based on peer-evaluation. This implies that accredited reports and certificates issued by companies accredited by DANAK are recognized across borders by members of EA and ILAC equal to reports and certificates issued by companies accredited by these members | Akkreditering | Kalibreringen er udført under DANAK akkreditering nr. 255 med mindre det tydeligt fremgår i resultattabellerne. DANAK er det nationale akkrediteringsorgan i Danmark i overensstemmelse med Europa-Parlamentet og Rådetsforordning (EF) Nr. 765/2008. DANAK er omfattet af de multilaterale aftaler for prøvning, medicinsk undersøgelse, kalibrering, udbud af præstationsprøvning og produktion af referencematerialer i European co-operation for Accreditation (EA) og i International Laboratory Accreditation Cooperation (ILAC) baseret på peer-evaluering. Dette indebærer, at akkrediterede rapporter og certifikater udstedt af virksomheder akkrediteret af DANAK anerkendes på tværs af landegrænser af medlemmer i EA og ILAC på linje med rapporter og certifikater udstedt af disse medlemmers akkrediterede virksomheder.
x | accreditationException | accex1 | Measurements not under accreditation | Measurement of recistance between 1.5 and 3 \ohm is outside the scope of the laboratorys accreditation. | Ikke akkrediterede målinger | Måling af modstand i området fra 1.5 til 3 \ohm falder uden for laboratoriets kalibreringsområde.

## Settings
include in dcc | id | heading lang1 | body lang1 | heading lang2 | body lang2 | parameter | value | unit | softwareInstruction
x | setting1 | B coeffiecient | Reading from OceaViewApp | B koefficient | Aflæsning i OceaViewApp | B coefficient | -0.5 | \one

## Accreditation
Include in DCC | id | accreditationCountry | accreditationBody | accreditationLabId | accreditationNorm | accreditationApplicability
x | DFM255 | DK | DANAK | 255 | 17025 | 2

## Equipment
Inclued in dcc | category | id | heading lang1 | heading lang2 | manufacturer | productName | productNumber | id1 | id1 issuer | id1 heading lang1 | id1 heading lang2 | id2 | id2 issuer | id2 heading lang1 | id2 heading lang2
x | item | item1 | Temperature sensor | Temparatursensor | Amitek | Platinum Super | 12 | NN12 | owner | Client label | Kundens id | X34hwk4579 | manufacturer | Serial number | Serienummer
x | item | item2 | display unit | Visningsenhed | Amitek | Gold edition | 13 | NN13 | owner | Client label | Kundens id | afl234jfeee | manufacturer | Serial number | Serienummer
x | item | item3 | another display unit | Ekstra visningsenhed | Amitek | silver edition | L45 | NN14 | owner | Client label | Kundens id | lqmdu2498710 | manufacturer | Serial number | Serienummer
x | reference | equip1 | Main reference | DFMs hovedrefererence | Chino | RS927-5 |  | DFM 432 | owner | DFM no | DFMnummer | DFM9511 | manufacturer | Serial number | Serienummer

## Table_TempCal
DCCTable |  | heading lang1 | heading lang2 |  |  | LABORATORY
tableId | TempCal | Thermometer calibration data | Datatabel for kalibrering af termometer
itemRef | item1 item2
settingRef | setting1
numRows | 5
numColumns | 16
scope | - | reference | reference | reference | itemIndication | itemBias | itemBias | itemBias | itemBias | itemBias | itemBias | itemIndication | - | - | - | -
dataCategory | - | TargetValue | Value | Value | Value | Value | ExpandedUncertainty | UncertaintyCoverageFactor_k | ToleranceLimitUpper | ToleranceLimitLower | Conformity | Value | - | ExpandedUncertainty | Conformity | Value
measurand | - | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Resistance | Measure.Resistance | Measure.Temperature | - | -
unit | - | \degreecelsius | \kelvin | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | - | \ohm | - | - | - | -
metaDataType | customerTag | Data | Data | Data | Data | Data | Data | Data | Data | Data | Data | Data | accreditationException | Exception | Statement | UsedReferenceId
humanHeading lang1 | Customer Tags | Calibration Point | Reference Temperature | Reference Temperature in instrument units | Instrument indication | Instrument Error | Uncertainty | k | Upper tolerance limit for item bias | Lowe tolerance limit for item bias | Conformity | Indicated resistance of the calibration item | Accreditation exception | Exception applies | Basis of conformity statement | Reference Used
humanHeading lang2 | Kundens kode | Kalibreringspunkt | Referencetemperatur | Referencetemperatur i instrumentenheder | Instrumentvisning | Visningsfejl | Ekspanderet kalibreringsusikkerhed | k | Øvre tolerancegrænse | Nedre tolerancegrænse for visningsfejl | Konformitetsudsagn | Recistans | Undtagelse fra akkreditering | Undtagelsesbemærkning | Basis for konformitetsudsagn | Anvendt reference
data_row1 | T0_0_degC | 0 | 273.15 | 0 | -0.1 | -0.1 | 0.05 | 2 | 0.2 | -0.2 | pass | 1 | None | e01 | s01 | equip1
data_row2 | T1_15_degC | 15 | 288.15 | 15.001 | 15.1 | 0.1 | 0.05 | 2 | 0.2 | -0.2 | pass | 2 | None | None | s01 | equip1
data_row3 | T2_25_degC | 25 | 298.15 | 25.002 | 25.2 | 0.2 | 0.05 | 2 | 0.2 | -0.2 | pass | 3 | accex1 | None | s01 | equip1
data_row4 | T3_15_degC | 15 | 288.15 | 15 | 15.3 | 0.3 | 0.05 | 2 | 0.2 | -0.2 | fail | 4 | None | e01 | s01 | equip1
data_row5 | T4_0_degC | 0 | 273.15 | -0.001 | 0 | 0 | 0.05 | 2 | 0.2 | -0.2 | pass | 5 | None | e01 | s01 | equip1

## Table_TempCal (2)
DCCTable |  | heading lang1 | heading lang2 |  |  | LABORATORY
tableId | TempCal | Thermometer calibration data | Datatabel for kalibrering af termometer
itemRef | item1 item3
settingRef | setting1
numRows | 5
numColumns | 16
scope | - | reference | reference | reference | itemIndication | itemBias | itemBias | itemBias | itemBias | itemBias | itemBias | itemIndication | - | - | - | -
dataCategory | - | TargetValue | Value | Value | Value | Value | ExpandedUncertainty | UncertaintyCoverageFactor_k | ToleranceLimitUpper | ToleranceLimitLower | Conformity | Value | - | ExpandedUncertainty | Conformity | Value
measurand | - | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Resistance | Measure.Resistance | Measure.Temperature | - | -
unit | - | \degreecelsius | \kelvin | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | - | \ohm | - | - | - | -
metaDataType | customerTag | Data | Data | Data | Data | Data | Data | Data | Data | Data | Data | Data | accreditationException | Exception | Statement | UsedReferenceId
humanHeading lang1 | Customer Tags | Calibration Point | Reference Temperature | Reference Temperature in instrument units | Instrument indication | Instrument Error | Uncertainty | k | Upper tolerance limit for item bias | Lowe tolerance limit for item bias | Conformity | Indicated resistance of the calibration item | Accreditation exception | Exception applies | Basis of conformity statement | Reference Used
humanHeading lang2 | Kundens kode | Kalibreringspunkt | Referencetemperatur | Referencetemperatur i instrumentenheder | Instrumentvisning | Visningsfejl | Ekspanderet kalibreringsusikkerhed | k | Øvre tolerancegrænse | Nedre tolerancegrænse for visningsfejl | Konformitetsudsagn | Recistans | Undtagelse fra akkreditering | Undtagelsesbemærkning | Basis for konformitetsudsagn | Anvendt reference
data_row1 | T0_0_degC | 0 | 273.15 | 0 | -0.1 | -0.1 | 0.05 | 2 | 0.2 | -0.2 | pass | 1 | None | e01 | s01 | equip1
data_row2 | T1_15_degC | 15 | 288.15 | 15.001 | 15.1 | 0.1 | 0.05 | 2 | 0.2 | -0.2 | pass | 2 | None | None | s01 | equip1
data_row3 | T2_25_degC | 25 | 298.15 | 25.002 | 25.2 | 0.2 | 0.05 | 2 | 0.2 | -0.2 | pass | 3 | accex1 | None | s01 | equip1
data_row4 | T3_15_degC | 15 | 288.15 | 15 | 15.3 | 0.3 | 0.05 | 2 | 0.2 | -0.2 | fail | 4 | None | e01 | s01 | equip1
data_row5 | T4_0_degC | 0 | 273.15 | -0.001 | 0 | 0 | 0.05 | 2 | 0.2 | -0.2 | pass | 5 | None | e01 | s01 | equip1

## Software (hidden)
swID | name | release | type | description | content | file | formula

## Locations (hidden)
| heading lang1 | heading lang2 | Id | Category | CompanyName | Att | Email | Phone | City | Country | PostalCode | Street1 | Street2 | Street_No | Webpage
heading lang1 |  |  |  |  | Company name |  | email: | Phone: | City: | Country code | Postal Code
heading lang2 |  |  |  |  | Firmanavn |  | email: | Tel.: | By: | Landekode: | Postnr.:
x | Calibration laboratory | Kalibreringslaboratoriet | lab | laboratory | DFM A/S |  | Administration@dfm.dk | +45 7730 5800 | Hørsholm | DK | 2970 | Kogle Alle |  | 5 | www.dfm.dk
x | Client | Kunde | cust | customer | Danish Measurement Company Ltd. | Mads Målermand | mm@dmc.dk | 34507624 | Måløv | DK | 9899 | Målervej |  | 16, 1. sal