## Definitions
scopeTypes | dataCategoryType | measurandType
dataInfo | Value | temperatureAbsolute
reference | TargetValue | temperatureDifference
itemIndication | ToleranceLimitUpper | pressureInternal
itemBias | ToleranceLimitUpper | pressureAbsolute
| AcceptanceLimitUpper | pressureExcess
| AcceptanceLimitUpper | geometryLength
| Conformity | geometryDiameter
| UsedReference | geometryFormError
| UsedMethod | geometryXcoord
| UsedEquipment | geometryYcoord
| repeatability | geometryZcoord
| Other | volumeAbsolute
| customerTag | volumeRelative
| laboratoryTag | diameter
| accreditationApplies | roundness
| ExpandedUncertainty | power
| UncertaintyCoverageFactor_k | resistance
| UncertaintyCoverageProbability | customisedMesurand
metaData

## AdministrativeData
UserLabel | Template Label | Value
| DFM_Software_Name | DFM substituter
| DFM_Software_Version | v0.0.1
| DFM_Unique_ID | DFM-T220000
Certificate_no | DFM_CertificateNo | DFM-T220000
| DFM_OrderNo | 8000650430
| DFM_ArrivalDate | 2022-02-18
| DFM_StartDate | 2022-02-21
Calibr_date | DFM_EndDate | 2022-02-22
| DFM_Item1_Description | Digitaltermometer
| DFM_Item1_Name | Fluke
| DFM_Item1_Maufacturer | Temperature sensor
| DFM_Item1_Model | 1523
| DFM_Item1_SerialNo | 8864333
Id_no | DFM_Item1_ID | DMC-2769
Supplier_Name | DFM_CalLab_CompanyName | DFM A/S
| DFM_CalLab_Email | Administration@dfm.dk
| DFM_CalLab_Phone | +45 7730 5800
| DFM_CalLab_City | Hørsholm
| DFM_CalLab_Country | DK
| DFM_CalLab_PostalCode | 2970
| DFM_CalLab_Street1 | Kogle Alle
| DFM_CalLab_Street_No | 5
| DFM_CalLab_Webpage | www.dfm.dk
| DFM_SignedBy | J. S. Nielsen
| DFM_Customer_CompanyName | Danish Measurement Company Ltd.
| DFM_Customer_Email | mm@dmc.dk
| DFM_Customer_City | Måløv
| DFM_Customer_Country | DK
| DFM_Customer_PostalCode | 9899
| DFM_Customer_CompanyStreet1 | Målervej
| DFM_Customer_CompanyStreet_No | 16, 1. sal
| DFM_Customer_Att | Mads Målermand
| DFM_Accreditation_CALRegNo | DK-255
| DFM_Accreditation_traceable | true
| DFM_Accreditation_valid | true
| DFM_Accreditation_Statement | The calibration is performed under DANAK accreditation no. 255.\nDANAK is one of the signatories ot the EA Multilateral Agreement and the ILAC multilateral agreement for the mutual recognition of calibration certificates.
| DFM_Accreditation_Body | DANAK
| DFM_TermsOfUse_Statement | This certificate may not be reproduced except in full without the written approval of the laboratory.
| DFM_Item1_Result1_Name_en | Temperatures accordign to ITS-90
| DFM_Item1_Result1_Name_da | Temperaturer i henhold til ITS-90
| DFM_Procedure | DFM proceedure Q2KAL251
| DFM_Reference1_name | Standard Platinum Resistance Thermometer
| DFM_Reference1_manufacturer | Rosemount
| DFM_Reference1_model | 162CE
| DFM_Reference1_serial | 5091
| DFM_Reference1_ID | DFM-1546
| DFM_Reference_Statement | Temperature is measured via DFM resistancethermometer Rosemount CE162/5091, with DFM calibration certificate number TIR2015. The calibration is executed in situ.
| DFM_LabTemperature_Description | The calibrations are made at constant temperatures by comparison wiht laboratory standards traceable to SI.
| DFM_LabTemperature_Value | 23
| DFM_LabTemperature_Unit | \degreeCelcius
| DFM_LabTemperature_U | 2
| DFM_Item1_Norm | DKD-R 5-1:2018

## Table2
DCCTable
TableID | NN_temperature1
refID | item_ID1
numRows | 5
numColumns | 12
scope | dataInfo | reference | reference | reference | itemIndication | itemBias | itemBias | itemBias | itemBias | itemBias | itemIndication | dataInfo
dataCategory | customerTag | TargetValue | Value | Value | Value | Value | ExpandedUncertainty | UncertaintyCoverageFactor_k | AcceptanceLimitUpper | Conformity | Value | accreditationApplies
measurand | metaData | temperatureAbsolute | temperatureAbsolute | temperatureAbsolute | temperatureAbsolute | temperatureDifference | temperatureAbsolute | temperatureAbsolute | temperatureAbsolute | temperatureDifference | resistance | metaData
unit |  | \degreecelcius | \kelvin | \degreecelcius | \degreecelcius | \degreecelcius | \degreecelcius | \degreecelcius | \degreecelcius | \degreecelsius | \ohm
humanHeading |  | Calibration Point | Reference Temperature | Reference Temperature in instrument units | Instrument indication | Instrument Error | Uncertainty | k | Upper acceptance limit for item bias | Conformaty statement | Indicated resistance of the calibration item | Accreditation applies
data_row1 | T0_0_degC | 0 | 273.16 | 0.01 | -0.1 | -0.1 | 0.05 | 2 | 0.2 | pass | 1 | y
data_row2 | T1_15_degC | 15 | 288.16 | 15.01 | 15.1 | 0.1 | 0.05 | 2 | 0.2 | pass | 2 | y
data_row3 | T2_25_degC | 25 | 298.17 | 25.02 | 25.2 | 0.2 | 0.05 | 2 | 0.2 | pass | 3 | n
data_row4 | T3_15_degC | 15 | 288.16 | 15.01 | 15.3 | 0.3 | 0.05 | 2 | 0.2 | fail | 4 | y
data_row5 | T4_0_degC | 0 | 273.16 | 0.01 | 0 | 0 | 0.05 | 2 | 0.2 | pass | 5 | y