## Definitions
ColumnType | scopeType | measurandType
Value | dataInfo | temperatureAbsolute
TargetValue | reference | temperatureDifference
ToleranceLimitUpper | itemIndication | pressureInternal
ToleranceLimitUpper | itemBias | pressureAbsolute
AcceptanceLimitUpper |  | pressureExcess
AcceptanceLimitUpper |  | geometryLength
Conformity |  | geometryDiameter
UsedReference |  | geometryFormError
UsedMethod |  | geometryXcoord
UsedEquipment |  | geometryYcoord
repeatability |  | geometryZcoord
Other |  | volumeAbsolute
customerTag |  | volumeRelative
laboratoryTag |  | diameter
accreditationApplies |  | roundness
ExpandedUncertainty |  | power
UncertaintyCoverageFactor_k |  | resistance
UncertaintyCoverageProbability |  | customisedMesurand
metaData

## Table2
DCCTable
TableID | NN_temperature1
refID | item_ID1
numRows | 5
numColumns | 12
scopeType | dataInfo | reference | reference | reference | itemIndication | itemBias | itemBias | itemBias | itemBias | itemBias | itemBias | dataInfo
ColumnType | customerTag | TargetValue | Value | Value | Value | Value | ExpandedUncertainty | UncertaintyCoverageFactor_k | AcceptanceLimitUpper | Conformity | Value | accreditationApplies
measurandType | metaData | temperatureAbsolute | temperatureAbsolute | temperatureAbsolute | temperatureAbsolute | temperatureDifference | temperatureAbsolute | temperatureAbsolute | temperatureAbsolute | temperatureDifference | resistance | metaData
unit |  | \degreecelcius | \kelvin | \degreecelcius | \degreecelcius | \degreecelcius | \degreecelcius | \degreecelcius | \degreecelcius | \degreecelsius | \ohm
humanHeading |  | Calibration Point | Reference Temperature | Reference Temperature in instrument units | Instrument indication | Instrument Error | Uncertainty | k | Upper acceptance limit for item bias | Conformaty statement | Upper acceptance limit for item bias | Upper acceptance limit for item bias
data_row1 | T0_0_degC | 0 | 273.16 | 0.01 | -0.1 | -0.11 | 0.05 | 2 | 0.2 | pass | 1 | y
data_row2 | T1_15_degC | 15 | 288.16 | 15.01 | 15.1 | 0.09 | 0.05 | 2 | 0.2 | pass | 2 | y
data_row3 | T2_25_degC | 25 | 298.17 | 25.02 | 25.2 | 0.18 | 0.05 | 2 | 0.2 | pass | 3 | n
data_row4 | T3_15_degC | 15 | 288.16 | 15.01 | 15.3 | 0.29 | 0.05 | 2 | 0.2 | fail | 4 | y
data_row5 | T4_0_degC | 0 | 273.16 | 0.01 | 0 | -0.01 | 0.05 | 2 | 0.2 | pass | 5 | y