## Definitions
ColumnType | relationType | measurandType
Value | dataInfo | temperatureAbsolute
TargetValue | reference | temperatureDifference
ToleranceLimitUpper | itemIndication | pressureInternal
ToleranceLimitUpper | itemBias | pressureAbsolute
AcceptanceLimitUpper |  | pressureExcess
AcceptanceLimitUpper |  | geometryLength
Conformity |  | geometryDiameter
UsedReference |  | geometryFormError
UsedMethod |  | geometryXcoord
UsedEquipment |  | geometryYcoord
repeatability |  | geometryZcoord
Other |  | volumeAbsolute
customerTag |  | volumeRelative
laboratoryTag |  | diameter
accreditationApplies |  | roundness
power
resistance
customisedMesurand
metaData

## Table1
DCCTable
TableID | NN_temperature1
refID | item_ID1
relationType | dataInfo | reference | reference | reference | itemIndication | itemBias | itemBias | dataInfo | itemBias | itemBias
ColumnType | customerTag | TargetValue | Value | Value | Value | Value | AcceptanceLimitUpper | accreditationApplies | Conformity | Value
measurandType | metaData | temperatureAbsolute | temperatureAbsolute | temperatureAbsolute | temperatureAbsolute | temperatureDifference | temperatureAbsolute | metaData | temperatureDifference | resistance
unit |  | \degreecelcius | \kelvin | \degreecelcius | \degreecelcius | \degreecelcius | \degreecelcius |  | \degreecelsius | \ohm
humanHeading |  | Calibration Point | Reference Temperature | Reference Temperature in instrument units | Instrument indication | Instrument Error | Upper acceptance limit for item bias | Upper acceptance limit for item bias | Conformaty statement | Upper acceptance limit for item bias
XMLList | T0_0_degC | 0 | 273.16 | 0.01 | -0.1 | -0.11 | 0.2 | y | pass | 1
| T1_15_degC | 15 | 288.16 | 15.01 | 15.1 | 0.09 | 0.2 | y | pass | 2
| T2_25_degC | 25 | 298.17 | 25.02 | 25.2 | 0.18 | 0.2 | n | pass | 3
| T3_15_degC | 15 | 288.16 | 15.01 | 15.3 | 0.29 | 0.2 | y | fail | 4
| T4_0_degC | 0 | 273.16 | 0.01 | 0 | -0.01 | 0.2 | y | pass | 5

## Table2
DCCTable
TableID | NN_temperature1
refID | item_ID1
columns | Column1 | Column2 | Column3 | Column4 | Column5 | Column6 | Column7 | Column8 | Column9 | Column10
relationType | dataInfo | reference | reference | reference | itemIndication | itemBias | itemBias | dataInfo | itemBias | itemBias
ColumnType | customerTag | TargetValue | Value | Value | Value | Value | AcceptanceLimitUpper | accreditationApplies | Conformity | Value
measurandType | metaData | temperatureAbsolute | temperatureAbsolute | temperatureAbsolute | temperatureAbsolute | temperatureDifference | temperatureAbsolute | metaData | temperatureDifference | resistance
unit |  | \degreecelcius | \kelvin | \degreecelcius | \degreecelcius | \degreecelcius | \degreecelcius |  | \degreecelsius | \ohm
humanHeading |  | Calibration Point | Reference Temperature | Reference Temperature in instrument units | Instrument indication | Instrument Error | Upper acceptance limit for item bias | Upper acceptance limit for item bias | Conformaty statement | Upper acceptance limit for item bias
data_row1 | T0_0_degC | 0 | 273.16 | 0.01 | -0.1 | -0.11 | 0.2 | y | pass | 1
data_row2 | T1_15_degC | 15 | 288.16 | 15.01 | 15.1 | 0.09 | 0.2 | y | pass | 2
data_row3 | T2_25_degC | 25 | 298.17 | 25.02 | 25.2 | 0.18 | 0.2 | n | pass | 3
data_row4 | T3_15_degC | 15 | 288.16 | 15.01 | 15.3 | 0.29 | 0.2 | y | fail | 4
data_row5 | T4_0_degC | 0 | 273.16 | 0.01 | 0 | -0.01 | 0.2 | y | pass | 5