## Definitions
scopeTypes | dataCategoryType | measurandType
dataInfo | Value | temperatureAbsolute
reference | TargetValue | temperatureDifference
itemIndication | ToleranceLimitUpper | pressureInternal
itemBias | ToleranceLimitUpper | pressureAbsolute
| AcceptanceLimitUpper | pressureExcess
| AcceptanceLimitUpper | geometryLength
| Conformity | geometryDiameter
| UsedReference | geometryFormError
| UsedMethod | geometryXcoord
| UsedEquipment | geometryYcoord
| repeatability | geometryZcoord
| Other | volumeAbsolute
| customerTag | volumeRelative
| laboratoryTag | diameter
| accreditationApplies | roundness
| ExpandedUncertainty | power
| UncertaintyCoverageFactor_k | resistance
| UncertaintyCoverageProbability | customisedMesurand
| Correction | metaData
mass
massConventional
volume
centreOfGravity
massVolumeCorrelation

## AdministrativeData
UserLabel | Template Label | Value
| DFM_Software_Name | DFM substituter
| DFM_Software_Version | v0.0.1
| DFM_Unique_ID | DFM-T220000
Certificate_no | DFM_CertificateNo | DFM-T220000
| DFM_OrderNo | 8000650430
| DFM_ArrivalDate | 2022-02-18
| DFM_StartDate | 2022-02-21
Calibr_date | DFM_EndDate | 2022-02-22
| DFM_Item1_Description | Digitaltermometer
| DFM_Item1_Name | Fluke
| DFM_Item1_Maufacturer | Temperature sensor
| DFM_Item1_Model | 1523
| DFM_Item1_SerialNo | 8864333
Id_no | DFM_Item1_ID | DMC-2769
Supplier_Name | DFM_CalLab_CompanyName | DFM A/S
| DFM_CalLab_Email | Administration@dfm.dk
| DFM_CalLab_Phone | +45 7730 5800
| DFM_CalLab_City | Hørsholm
| DFM_CalLab_Country | DK
| DFM_CalLab_PostalCode | 2970
| DFM_CalLab_Street1 | Kogle Alle
| DFM_CalLab_Street_No | 5
| DFM_CalLab_Webpage | www.dfm.dk
| DFM_SignedBy | J. S. Nielsen
| DFM_Customer_CompanyName | Danish Measurement Company Ltd.
| DFM_Customer_Email | mm@dmc.dk
| DFM_Customer_City | Måløv
| DFM_Customer_Country | DK
| DFM_Customer_PostalCode | 9899
| DFM_Customer_CompanyStreet1 | Målervej
| DFM_Customer_CompanyStreet_No | 16, 1. sal
| DFM_Customer_Att | Mads Målermand
| DFM_Accreditation_CALRegNo | DK-255
| DFM_Accreditation_traceable | true
| DFM_Accreditation_valid | true
| DFM_Accreditation_Statement | The calibration is performed under DANAK accreditation no. 255.\nDANAK is one of the signatories ot the EA Multilateral Agreement and the ILAC multilateral agreement for the mutual recognition of calibration certificates.
| DFM_Accreditation_Body | DANAK
| DFM_TermsOfUse_Statement | This certificate may not be reproduced except in full without the written approval of the laboratory.
| DFM_Item1_Result1_Name_en | Temperatures accordign to ITS-90
| DFM_Item1_Result1_Name_da | Temperaturer i henhold til ITS-90
| DFM_Procedure | DFM proceedure Q2KAL251
| DFM_Reference1_name | Standard Platinum Resistance Thermometer
| DFM_Reference1_manufacturer | Rosemount
| DFM_Reference1_model | 162CE
| DFM_Reference1_serial | 5091
| DFM_Reference1_ID | DFM-1546
| DFM_Reference_Statement | Temperature is measured via DFM resistancethermometer Rosemount CE162/5091, with DFM calibration certificate number TIR2015. The calibration is executed in situ.
| DFM_LabTemperature_Description | The calibrations are made at constant temperatures by comparison wiht laboratory standards traceable to SI.
| DFM_LabTemperature_Value | 23
| DFM_LabTemperature_Unit | \degreeCelcius
| DFM_LabTemperature_U | 2
| DFM_Item1_Norm | DKD-R 5-1:2018

## Table2
DCCTable
TableID | NN_temperature1
refID | item_ID1
numRows | 7
numColumns | 10
scope | dataInfo | itemIndication | itemIndication | itemIndication | itemBias | itemBias | itemBias | dataInfo | itemIndication | itemIndication
dataCategory | customerTag | Value | Value | ExpandedUncertainty | Value | Correction | ExpandedUncertainty | UncertaintyCoverageFactor_k | Value | Value
measurand | metaData | mass | volume | volume | massConventional | massConventional | massConventional | metaData | centreOfGravity | massVolumeCorrelation
unit |  | \kilo\gram | \centi\metre\tothe{3} | \centi\metre\tothe{3} | \mili\gram | \mili\gram | \mili\gram | \one | \mm | \one
humanHeading |  | Nominal mass | Volume at 20 deg in cubic cm | Expanded uncertainty of volume | Item indication error | Conventional mass, Calibration uncertainty | Uncertainty | k | Center of gravity (z) in mm | Correlation between mass and volume
data_row1 | 1613WX-023 | 20 | 2515 | 44 | -210 | 210 | 3.1 | 2 | 83 | 0.9983
data_row2 | 1613WX-024 | 20 | 2516 | 44 | -211 | 211 | 3.1 | 2 | 83 | 0.9983
data_row3 | 1613WX-022 | 5 | 625 | 2.3 | -7.4 | 7.4 | 0.7 | 2 | 64 | 0.971
data_row4 | 1613WX-019 | 1 | 125 | 0.47 | -1.14 | 1.14 | 0.05 | 2 | 36.5 | 0.996
data_row5 | 1613WX-020 | 1 | 125 | 0.47 | -2.42 | 2.42 | 0.05 | 2 | 36.5 | 0.9961
data_row6 | 1613WX-017 | 0.1 | 12.5 | 0.047 | -0.045 | 0.045 | 0.01 | 2 | 17.6 | 0.985
data_row7 | 1613WX-009 | 0.0005 | 0.0625 | 0.00023 | -0.0037 | 0.0037 | 0.0014 | 2 | 0.5 | 0.2