## Definitions
Parameter | Value | serviceCategoryType | yesno | statementCategoryType | accreditationApplicabilityType | equipmentCategoryType | issuerType | operationalStatusType | stringPerformanceLocationType | conformityStatusType | scopeType | dataCategoryType | measurandType | tableCategoryType | approachToTargetType
version | 0.1 | AUV/A Sound in air | y | method | partial | item | customer | as found | laboratory | pass | reference | - | - | calibrationResult | from above
dcc-schema-version | 2.0.0 | AUV/A-1 Measurement microphones | n | general | wholly | indicating | manufacturer | after adjustment | customer | fail | indication | value | Capacitance | measurementSeries | from below
|  | AUV/A-1.1 Pressure sensitivity level (air) |  | exception |  | transfering | calibrationLaboratory | after maintenance | laboratoryBranch | conditionalPass | bias | targetValue | Conductance
|  | AUV/A-1.1.1 Modulus |  | traceability |  | sensing |  | after maintenance and adjustme | customerBranch | conditionalFail | environment | expandedUncertainty | Conductivity
|  | AUV/A-1.1.2 Phase |  | attention |  | reference |  |  | other | noPass | Other | repeatability | Current.AC
|  | AUV/A-1.2 Free-field sensitivity level (air) |  | comment |  | environment |  |  |  | noFail | - | correction | Current.AC.Sinewave
|  | AUV/A-1.2.1 Modulus |  | accreditation |  | other | [5 empty] | conformity | Current.AC.Squarewave
|  | AUV/A-1.2.2 Phase |  | accreditationException | [7 empty] | correlation | Current.AC.Trianglewave
|  | AUV/A-1.2.3 Directivity |  | decisionRule | [7 empty] | rowTag | Current.DC
|  | AUV/A-1.3 Diffuse field sensitivity level (air) |  | norm | [7 empty] | usedReferenceRef | Density.Mass.Gas
|  | AUV/A-1.3.1 Modulus | [9 empty] | methodRef | Density.Mass.Liquid
|  | AUV/A-1.3.2 Phase | [9 empty] | exceptionRef | Density.Mass.Solid
|  | AUV/A-2 Sound calibrators | [9 empty] | traceabilityRef | Force
|  | AUV/A-2.1 Single frequency sound calibrators | [9 empty] | attentionRef | Frequency
|  | AUV/A-2.1.1 Sound pressure level | [9 empty] | commentRef | Frequency.AmplitudeModulation.Rate
|  | AUV/A-2.2 Multi-frequency sound calibrators | [9 empty] | decisionRuleRef | Frequency.FrequencyModulation.Deviation
|  | AUV/A-2.2.1 Sound pressure level | [9 empty] | accreditationExceptionRef | Frequency.FrequencyModulation.Rate
|  | AUV/A-3 Sound measuring instruments | [9 empty] | normRef | Frequency.PhaseModulation.Rate
|  | AUV/A-3.1 Response of sound measuring instruments | [9 empty] | measurementSeriesRef | Humidity.Absolute
|  | AUV/A-3.1.1 Sound pressure response level | [9 empty] | uncertaintyCoverageFactor_k | Impedance
|  | AUV/A-3.1.2 Free-field response level | [9 empty] | uncertaintyCoverageProbability | Inductance
|  | AUV/A-3.1.3 Diffuse field response level | [9 empty] | toleranceLimitLower | Length
|  | AUV/A-3.1.4 Sound intensity response level | [9 empty] | toleranceLimitUpper | Length.Circumference
|  | AUV/A-4 Ear simulators | [9 empty] | acceptanceLimitLower | Length.Diameter
|  | AUV/A-4.1 Reference couplers or artificial ears (air) | [9 empty] | acceptanceLimitUpper | Length.Form.Flatness
|  | AUV/A-4.1.1 System response level | [9 empty] | approachToTarget | Length.Form.Parallelism
|  | AUV/A-4.1.2 Acoustic impedance | [9 empty] | other | Length.Form.Perpendicularity
|  | AUV/A-4.2 Mechanical couplers (air) | [10 empty] | Length.Form.Roughness
|  | AUV/A-4.2.1 Force response level | [10 empty] | Length.Form.Roundness
|  | AUV/A-4.2.2 Mechanical impedance | [10 empty] | Length.Form.Sphericity
|  | AUV/A-4.3 Impedance head force transducer | [10 empty] | Length.Form.Straightness.Axis
|  | AUV/A-4.3.1 Modulus of charge sensitivity | [10 empty] | Length.Form.Straightness.Surface
|  | AUV/A-4.3.2 Phase shift of charge sensitivity | [10 empty] | Length.Position.Coordinate.1
|  | AUV/A-4.4 Impedance head force measuring chain | [10 empty] | Length.Position.Coordinate.2
|  | AUV/A-4.4.1 Modulus of voltage sensitivity | [10 empty] | Length.Position.Coordinate.3
|  | AUV/A-4.4.2 Phase shift of voltage sensitivity | [10 empty] | Length.Radius
|  | AUV/A-5 Reference sound sources | [10 empty] | Mass.Apparent
|  | AUV/A-5.1 Output of reference sound sources | [10 empty] | Mass.Conventional
|  | AUV/A-5.1.1 Sound power level | [10 empty] | Mass.True
|  | AUV/A-5.1.2 Directivity | [10 empty] | Phase.PhaseModulation
|  | AUV/A-6 Audiometers | [10 empty] | Phase.ReflectionFactor.RF
|  | AUV/A-6.1 Response of audiometers | [10 empty] | Phase.TransmissionFactor
|  | AUV/A-6.1.1 Air-conduction response level | [10 empty] | PhaseNoise.SideBand
|  | AUV/A-6.1.2 Bone-conduction response level | [10 empty] | Power.RF.Sinewave
|  | AUV/W Sound in water | [10 empty] | Pressure.Hydraulic.Static
|  | AUV/W-11 Hydrophones (medical ultrasonic) | [10 empty] | Pressure.Pneumatic.Absolute.Static
|  | AUV/W-11.1 Free-field sensitivity | [10 empty] | Pressure.Pneumatic.Differential.Static
|  | AUV/W-11.1.1 Modulus | [10 empty] | Pressure.Pneumatic.Gage.Static
|  | AUV/W-11.1.2 Phase | [10 empty] | Ratio.AmplitudeModulation
|  | AUV/W-11.2 Pressure sensitivity | [10 empty] | Ratio.Density.Mass
|  | AUV/W-11.2.1 Modulus | [10 empty] | Ratio.Humidity.Relative
|  | AUV/W-11.2.2 Phase | [10 empty] | Ratio.Humidity.Specific
|  | AUV/W-12 Hydrophones (underwater acoustics) | [10 empty] | Ratio.Power.ReflectionFactor.RF
|  | AUV/W-12.1 Free-field sensitivity | [10 empty] | Ratio.Power.RF.Sinewave.Delta.Frequency
|  | AUV/W-12.1.1 Modulus | [10 empty] | Ratio.Power.RF.Sinewave.Delta.Power
|  | AUV/W-12.1.2 Phase | [10 empty] | Ratio.Power.TransmissionFactor
|  | AUV/W-12.2 Pressure sensitivity | [10 empty] | Ratio.Torque
|  | AUV/W-12.2.1 Modulus | [10 empty] | Ratio.Voltage.AC.Ripple.OnDC
|  | AUV/W-12.2.2 Phase | [10 empty] | Ratio.Voltage.AC.Sinewave.Delta.Frequency
|  | AUV/W-13 Ultrasound transducer with generator | [10 empty] | Ratio.Voltage.AC.Sinewave.Delta.Voltage
|  | AUV/W-13.1 Output from ultrasound transducer with generator | [10 empty] | Resistance
|  | AUV/W-13.1.1 Ultrasonic power | [10 empty] | Temperature
|  | AUV/W-13.1.2 Directivity | [10 empty] | Temperature.Radiometric
|  | AUV/W-13.1.3 Ultrasonic pressure | [10 empty] | Temperature.Simulated.PRT
|  | AUV/W-14 Ultrasound transducer | [10 empty] | Temperature.Simulated.RTD
|  | AUV/W-14.1 Output from ultrasound transducer | [10 empty] | Temperature.Simulated.Thermocouple
|  | AUV/W-14.1.1 Electroacoustic radiation conductance | [10 empty] | Time.Transition
|  | AUV/W-14.1.2 Directivity | [10 empty] | Time.UTC
|  | AUV/W-14.1.3 Ultrasonic power | [10 empty] | Torque
|  | AUV/V Vibration | [10 empty] | Torque.HydraulicPressure
|  | AUV/V-21 Linear vibration | [10 empty] | Voltage.AC
|  | AUV/V-21.1 Acceleration measuring instrument | [10 empty] | Voltage.AC.Ripple.OnDC
|  | AUV/V-21.1.1 Frequency response (modulus or phase) | [10 empty] | Voltage.AC.Sinewave
|  | AUV/V-21.1.2 Shock response (modulus) | [10 empty] | Voltage.AC.Squarewave
|  | AUV/V-21.2 Acceleration calibrator | [10 empty] | Voltage.AC.Trianglewave
|  | AUV/V-21.2.1 Acceleration output (modulus) | [10 empty] | Voltage.DC
|  | AUV/V-21.2.2 Shock output (modulus) | [10 empty] | Volume
|  | AUV/V-21.3 Acceleration measuring chain / accelerometer | [10 empty] | Weight
|  | AUV/V-21.3.1 Charge sensitivity (modulus or phase) | [10 empty] | miscelaneous01
|  | AUV/V-21.3.2 Shock charge sensitivity (modulus) | [10 empty] | miscelaneous02
|  | AUV/V-21.3.3 Voltage sensitivity (modulus or phase) | [10 empty] | miscelaneous03
|  | AUV/V-21.3.4 Shock voltage sensitivity (modulus or phase) | [10 empty] | miscelaneous04
|  | AUV/V-21.3.5 Current sensitivity (modulus or phase) | [10 empty] | miscelaneous05
|  | AUV/V-21.4 Acceleration measuring chain | [10 empty] | other
AUV/V-21.4.1 Voltage sensitivity (modulus or phase)
AUV/V-21.4.2 Shock sensitivity (modulus)
AUV/V-22 Angular vibration
AUV/V-22.1 Angular acceleration measuring instrument
AUV/V-22.1.1 Angular acceleration response (modulus)
AUV/V-22.1.2 Shock response (modulus)
AUV/V-22.2 Angular acceleration calibrator
AUV/V-22.2.1 Angular acceleration output (modulus)
AUV/V-22.3 Angular acceleration measuring chain / accelerometer
AUV/V-22.3.1 Charge sensitivity (modulus or phase)
AUV/V-22.3.3 Voltage sensitivity (modulus or phase)
AUV/V-22.3.5 Current sensitivity (modulus or phase)
AUV/V-22.4 Angular acceleration measuring chain
AUV/V-22.4.1 Voltage sensitivity (modulus or phase)
AUV/V-23 Dynamic force
AUV/V-23.1 Force measuring instrument for mechanical impedance and mobility measurements or modal testing
AUV/V-23.1.1 Frequency response (modulus or phase)
AUV/V-23.1.2 Shock response (modulus)
AUV/V-23.2 Force measuring chain / force transducer for mechanical impedance and mobility measurements or modal testing
AUV/V-23.2.1 Charge sensitivity (modulus or phase)
AUV/V-23.2.2 Shock charge sensitivity (modulus or phase)
AUV/V-23.2.3 Voltage sensitivity (modulus or phase)
AUV/V-23.2.4 Shock voltage sensitivity (modulus or phase)
AUV/V-30 AUV auxilary instruments and/or services
AUV/V-30.1 Vibration signal conditionner
AUV/V-30.1.1 Charge sensitivity (modulus or phase)
AUV/V-30.1.2 Voltage sensitivity (modulus or phase)
AUV/V-30.1.3 Current sensitivity (modulus or phase)
TF/TSD-1 Time scale difference
TF/TSD-1.1 Local clock
TF/TSD-1.1.1 Local clock vs. UTC(NMI)
TF/TSD-1.1.2 Local clock vs. UTC
TF/TSD-1.2 Remote clock
TF/TSD-1.2.1 Remote clock vs. UTC(NMI)
TF/TSD-1.2.2 Remote clock vs. UTC
TF/F-2 Frequency
TF/F-2.1 Standard frequency source
TF/F-2.1.1 Local frequency standard
TF/F-2.1.2 Remote frequency standard
TF/F-2.2 General frequency source
TF/F-2.2.1 General frequency source
TF/F-2.3 Frequency meter
TF/F-2.3.1 Frequency meter
TF/TI-3 Time interval
TF/TI-3.1 Period source
TF/TI-3.1.1 Period source
TF/TI-3.2 Time interval source
TF/TI-3.2.1 Rise - fall time source
TF/TI-3.2.2 Pulse width source
TF/TI-3.2.3 Time difference source
TF/TI-3.2.4 Delay source
TF/TI-3.3 Period meter
TF/TI-3.3.1 Period meter
TF/TI-3.4 Time interval meter
TF/TI-3.4.1 Rise - fall time meter
TF/TI-3.4.2 Pulse width meter
TF/TI-3.4.3 Time difference meter
TF/TI-3.4.4 Delay meter
EM/DC DC voltage, current and resistance
EM/DC-1 DC voltage (up to 1100 V)
EM/DC-1.1 DC voltage sources
EM/DC-1.1.1 Single values
EM/DC-1.1.2 Low values (below or equal to 10 V)
EM/DC-1.1.3 Intermediate values (from above 10 V up to 1100 V)
EM/DC-1.1.4 Noise voltages
EM/DC-1.2 DC voltage meters
EM/DC-1.2.1 Very low values (below or equal to 1 mV)
EM/DC-1.2.2 Intermediate values (from above 1 mV up to 1100 V)
EM/DC-1.3 DC voltage ratios
EM/DC-1.3.1 Up to 1100 V
EM/DC-1.3.2 Attenuation
EM/DC-2 DC resistance
EM/DC-2.1 DC resistance standards and sources
EM/DC-2.1.1 Low values (below or equal to 1 ohm)
EM/DC-2.1.2 Intermediate values (from above 1 ohm up to 1 megaohm)
EM/DC-2.1.3 High values (above 1 megaohm)
EM/DC-2.1.4 Standards for high current
EM/DC-2.1.5 Multiple ranges
EM/DC-2.1.6 Temperature, power and pressure coefficients
EM/DC-2.2 DC resistance meters
EM/DC-2.2.1 Low values (less or equal than 1 ohm)
EM/DC-2.2.2 Intermediate values (from above 1 ohm up to 1 gigaohm)
EM/DC-2.2.3 High values (above 1 gigaohm)
EM/DC-2.3 DC resistance ratios
EM/DC-2.3.1 DC resistance ratios
EM/DC-3 DC current (up to 100 A)
EM/DC-3.1 DC current sources
EM/DC-3.1.1 Low values (below 0.1 mA)
EM/DC-3.1.2 Intermediate values (from above 0.1 mA to 20 A)
EM/DC-3.1.3 High values (from above 20 A up to 100 A)
EM/DC-3.1.4 Transconductance ratio
EM/DC-3.1.5 Noise currents
EM/DC-3.2 DC current meters
EM/DC-3.2.1 Low values (below or equal to 0.1 mA)
EM/DC-3.2.2 Intermediate values (from above 0.1 mA to 20 A)
EM/DC-3.2.3 High values (from above 20 A up to 100 A)
EM/DC-3.3 DC current ratios
EM/DC-3.3.1 Ratios up to 100 A
EM/Imped Impedance up to the MegaHertz range
EM/Imped-4 Impedance (up to the MHz range)
EM/Imped-4.1 AC resistance
EM/Imped-4.1.1 Real component and imaginary component
EM/Imped-4.1.2 AC-DC difference
EM/Imped-4.1.3 Resistors for high current
EM/Imped-4.1.4 Meters
EM/Imped-4.1.5 AC resistance ratios
EM/Imped-4.2 Capacitance
EM/Imped-4.2.1 Capacitance and dissipation factor for low loss capacitors
EM/Imped-4.2.2 Capacitance and dissipation factor for dielectric capacitors
EM/Imped-4.2.3 Capacitance and dissipation factor for transformed capacitors
EM/Imped-4.2.4 Meters
EM/Imped-4.3 Inductance
EM/Imped-4.3.1 Self inductance, low values (below 1 mH)
EM/Imped-4.3.2 Self inductance, intermediate values (from 1 mH up to 1 H)
EM/Imped-4.3.3 Self inductance, high values (above 1 H)
EM/Imped-4.3.4 Mutual inductance
EM/Imped-4.3.5 Meters
EM/Imped-4.3.6 Quality factor
EM/AC AC voltage, current and power
EM/AC-5 AC voltage (up to the MHz range)
EM/AC-5.1 AC-DC voltage transfer
EM/AC-5.1.1 AC-DC transfer difference at low voltages (less or equal to 0.5 V)
EM/AC-5.1.2 AC-DC transfer difference at medium voltages (0.5 V to 5 V)
EM/AC-5.1.3 AC-DC transfer difference at higher voltages (greater than 5 V)
EM/AC-5.2 AC voltage up to 1100 V
EM/AC-5.2.1 Sources
EM/AC-5.2.2 Meters
EM/AC-5.3 AC voltage ratio up to 1100 V, atten and gain
EM/AC-5.3.1 Real component and imaginary component
EM/AC-5.3.2 Attenuation and gain
EM/AC-6 AC current
EM/AC-6.1 AC-DC current transfer
EM/AC-6.1.1 AC-DC transfer difference
EM/AC-6.2 AC current up to 100 A
EM/AC-6.2.1 Sources
EM/AC-6.2.2 Meters
EM/AC-6.3 AC current ratio up to 100 A
EM/AC-6.3.1 Real component and imaginary component
EM/AC-7 AC power
EM/AC-7.1 AC power and energy
EM/AC-7.1.1 Single phase power at frequencies less or equal to 400 Hz
EM/AC-7.1.2 Single phase power at frequencies great than 400 Hz
EM/AC-7.1.3 Three phase
EM/HV High voltage and current
EM/HV-8 High voltage and current
EM/HV-8.1 High DC voltage
EM/HV-8.1.1 High voltage sources
EM/HV-8.1.2 High voltage meters
EM/HV-8.1.3 Ratios
EM/HV-8.1.4 Average value of DC voltage
EM/HV-8.1.5 RMS value of DC voltage ripple
EM/HV-8.2 High voltage impedance
EM/HV-8.2.1 Capacitance and dissipation factor
EM/HV-8.2.2 Inductance and loss angle
EM/HV-8.2.3 Burden: real and imaginary component (real component/imaginary component/modulus/argument)
EM/HV-8.2.4 Resistance
EM/HV-8.3 AC high voltage and voltage transformers
EM/HV-8.3.1 Sources
EM/HV-8.3.2 Meters
EM/HV-8.3.3 Peak values
EM/HV-8.3.4 Voltage transformers: ratio error and phase displacement
EM/HV-8.3.5 RMS value for high AC voltage
EM/HV-8.3.6 Rectified average value of high AC voltage
EM/HV-8.4 Pulsed high voltage and current
EM/HV-8.4.1 Parameters for lightning impulse voltage (see list in the bottom of KCDB home page)
EM/HV-8.4.3 Parameters for switching impulse voltage (see list in the bottom of KCDB home page)
EM/HV-8.4.5 Impulse current parameters
EM/HV-8.4.9 Parameters for other impulse voltage types (see list in the bottom of KCDB home page)
EM/HV-8.5 Electric discharge
EM/HV-8.5.1 Apparent charge
EM/HV-8.5.2 Response
EM/HV-8.5.3 Rise time of partial discharge pulse
EM/HV-8.6 High AC current and current transformers
EM/HV-8.6.3 Current transformers: ratio error and phase displacement
EM/HV-8.6.5 High AC current RMS value
EM/HV-8.6.6 Other AC current parameters (see list in the bottom of KCDB home page)
EM/HV-8.7 High DC current
EM/HV-8.7.3 Ratios
EM/HV-8.7.4 High DC current average value
EM/OtherDC Other DC and low frequency measurements
EM/OtherDC-9 Other DC and low frequency measurements
EM/OtherDC-9.1 Electric charge
EM/OtherDC-9.1.1 Sources
EM/OtherDC-9.1.2 Meters
EM/OtherDC-9.2 Phase angle
EM/OtherDC-9.2.1 Sources
EM/OtherDC-9.2.2 Meters
EM/OtherDC-9.2.3 Phase shift
EM/OtherDC-9.3 Current and voltage waveform
EM/OtherDC-9.3.1 Main frequency current harmonics
EM/OtherDC-9.3.2 Voltage harmonic distorsion
EM/OtherDC-9.3.4 Mains frequency fluctuating harmonics (see list in the bottom of KCDB home page)
EM/OtherDC-9.3.5 Mains frequency voltage fluctuations (see list in the bottom of KCDB home page)
EM/OtherDC-9.3.7 Mains frequency interharmonics
EM/Field Electric and magnetic fields
EM/Field-10 Electric and magnetic fields
EM/Field-10.1 Electric fields at freq. below 50 kHz
EM/Field-10.1.1 Electrostatic field strength
EM/Field-10.1.2 Electric field strength
EM/Field-10.2 Magnetic fields at freq. below 50 kHz
EM/Field-10.2.1 Magnetic flux
EM/Field-10.2.2 DC magnetic flux density and applied magnetic field strength
EM/Field-10.2.3 AC magnetic flux density and applied magnetic field strength
EM/Field-10.2.4 DC shielding factor (ratio of DC magnetic flux density)
EM/Field-10.2.5 AC shielding factor (ratio of AC magnetic flux density)
EM/Field-10.2.6 Turn area (ratio of magnetic flux and magnetic flux density)
EM/Field-10.2.7 Magnetic flux density or magnetic field strength per unit current
EM/Field-10.2.8 Magnetic field gradient
EM/Field-10.3 Electromagnetic fields at freq. above 50 kHz
EM/Field-10.3.1 Electric field strength
EM/Field-10.3.2 Magnetic field strength
EM/Field-10.3.3 Power flux density
EM/Field-10.3.4 Magnetic flux density
EM/Field-10.3.5 Magnetic field strength per unit current
EM/Field-10.3.6 Turn area (ratio of magnetic flux and magnetic flux density)
EM/RF Radio frequency measurements
EM/RF-11 Radio frequency measurements
EM/RF-11.1 RF power
EM/RF-11.1.1 Absolute power in coaxial line
EM/RF-11.1.2 Absolute power in waveguide
EM/RF-11.1.3 Calibration factor and effective efficiency in coaxial line
EM/RF-11.1.4 Calibration factor and effective efficiency in waveguide
EM/RF-11.1.5 Non-CW power (absolute or relative)
EM/RF-11.1.6 Power measurements in balanced lines
EM/RF-11.2 Scalar RF reflection coef. and attenuation
EM/RF-11.2.1 Reflection coefficient in coaxial line (values in linear terms)
EM/RF-11.2.2 Reflection coefficient in waveguide (values in linear terms)
EM/RF-11.2.3 Attenuation in coaxial line (values in dB)
EM/RF-11.2.4 Attenuation in waveguide (values in dB)
EM/RF-11.2.5 Directivity, effective source match
EM/RF-11.2.6 Reflection and attenuation measurements in balanced lines
EM/RF-11.3 Scattering parameters (vectors)
EM/RF-11.3.1 Reflection coefficient in coaxial line (real and imaginary)
EM/RF-11.3.2 Reflection coefficient in waveguide (real and imaginary)
EM/RF-11.3.3 Transmission coefficient in coaxial line (real and imaginary)
EM/RF-11.3.4 Transmission coefficient in waveguide (real and imaginary)
EM/RF-11.3.5 Directivity, effective source match
EM/RF-11.3.6 Reflection coefficient for common mode systems
EM/RF-11.3.7 Transmission coefficient for common mode systems
EM/RF-11.3.8 Reflection coefficient (Sii) in planar line systems
EM/RF-11.3.9 Transmission coefficient (Sij) in planar line systems
EM/RF-11.4 Noise
EM/RF-11.4.1 Noise temperature or excess noise ratio in coaxial line
EM/RF-11.4.2 Noise temperature or excess noise ratio in waveguide
EM/RF-11.4.3 Amplifier noise parameters
EM/RF-11.4.4 Phase noise
EM/RF-11.4.5 Radio brightness temperature, spectral radiance in free space
EM/RF-11.5 Antenna properties
EM/RF-11.5.1 Antenna factor
EM/RF-11.5.2 Antenna gain
EM/RF-11.5.3 Other properties (pattern, beam width, . . .)
EM/RF-11.6 Signal and pulse characteristics
EM/RF-11.6.1 Pulse amplitude
EM/RF-11.6.2 Pulse time parameters
EM/RF-11.6.3 Modulation, AM and FM
EM/RF-11.6.4 Distorsion and harmonic content
EM/RF-11.7 RF voltage and current
EM/RF-11.7.1 RF-DC difference
EM/RF-11.7.2 RF voltage sources
EM/RF-11.7.3 RF voltage meters
EM/RF-11.7.4 RF current
EM/RF-11.7.5 RF transfer impedance
EM/RF-11.7.6 RF voltage division factor
EM/RF-11.7.7 RF coupling factor
EM/RF-11.7.8 Flatness of RF voltage sources
EM/RF-11.7.9 Flatness of RF voltage meters
EM/RF-11.8 Lumped impedance - admittance
EM/RF-11.8.1 Resistance or conductance
EM/RF-11.8.2 Inductance
EM/RF-11.8.3 Capacitance
EM/RF-11.8.4 Quality factor
EM/RF-11.9 RF characteristic impedance
EM/RF-11.9.1 Mechanical dimensions
EM/RF-11.9.2 Electrical parameters
EM/Mater Materials
EM/Mater-12 Measurements on materials
EM/Mater-12.1 Electrical conductivity
EM/Mater-12.1.1 Metallic materials
EM/Mater-12.1.2 Liquids
EM/Mater-12.1.3 Semiconducting and similar materials
EM/Mater-12.2 Dielectric properties
EM/Mater-12.2.1 Relative permittivity: real and - or imaginary part
EM/Mater-12.2.2 Dielectric loss tangent
EM/Mater-12.3 Soft magnetic sheet and powder materials
EM/Mater-12.3.1 Specific total power loss
EM/Mater-12.3.2 Peak value of DC magnetic polarisation
EM/Mater-12.3.3 Peak value of AC magnetic polarisation
EM/Mater-12.3.4 Peak value of magnetic field strength
EM/Mater-12.3.5 RMS value of magnetic field strength
EM/Mater-12.3.6 Specific apparent power
EM/Mater-12.3.7 Relative peak permeability
EM/Mater-12.3.8 Complex relative permeability
EM/Mater-12.3.9 Density
EM/Mater-12.3.10 Resistivity
EM/Mater-12.4 Soft magnetic bulk material
EM/Mater-12.4.1 Magnetic polarisation
EM/Mater-12.4.2 Magnetic field strength
EM/Mater-12.4.3 Remanent magnetic flux density
EM/Mater-12.4.4 Coercive magnetic field strength
EM/Mater-12.4.5 Magnetic saturation polarisation
EM/Mater-12.4.6 Relative permeability
EM/Mater-12.5 Feebly magnetic, paramagnetic and diamagnetic material
EM/Mater-12.5.1 DC magnetic susceptibility or relative magnetic permeability
EM/Mater-12.6 Hard magnetic material
EM/Mater-12.6.1 Remanent magnetic flux density
EM/Mater-12.6.2 Coercive field strength
EM/Mater-12.6.3 Maximum energy product
EM/Mater-12.6.4 Magnetic moment
EM/Mater-12.6.5 Magnetic flux density
EM/Mater-12.6.6 Magnetic polarisation
EM/Mater-12.6.7 Relative recoil permeability
EM/Mater-12.7 Magnetic data storage media
EM/Mater-12.7.1 Signal amplitude of magnetic stripes
EM/Mater-12.7.2 Surface profile of magnetic stripes
EM/Mater-12.7.3 Reference field of diskettes
EM/Mater-12.7.4 Signal amplitude of diskettes
EM/Mater-12.7.5 Resolution of diskettes
EM/Mater-12.7.6 Peak shift of diskettes
EM/Mater-12.7.7 Overwrite of diskettes
EM/Mater-12.7.8 Video and audio tapes
M/Mass Mass
M/Mass-1 Mass
M/Mass-1.1 Mass standard
M/Mass-1.1.1 Mass standard
M/Dens Density
M/Dens-2 Density
M/Dens-2.1 Density of solid
M/Dens-2.1.1 Density of solid
M/Dens-2.1.2 Volume of solid
M/Dens-2.2 Density of liquid
M/Dens-2.2.1 Density measuring device
M/Dens-2.2.2 Density of liquid
M/Dens-2.3 Refractive index of liquid
M/Dens-2.3.3 Refractive indix of liquid
M/Pres Pressure
M/Pres-3 Pressure
M/Pres-3.1 Absolute pressure
M/Pres-3.1.1 Gas medium
M/Pres-3.1.2 Liquid medium
M/Pres-3.2 Gauge pressure
M/Pres-3.2.1 Gas medium
M/Pres-3.2.2 Liquid medium
M/Pres-3.3 Differential pressure
M/Pres-3.3.1 Gas medium
M/Pres-3.3.2 Liquid medium
M/Pres-3.4 Dynamic pressure
M/Pres-3.4.1 Gas medium
M/Pres-3.4.2 Liquid medium
M/Force Force
M/Force-4 Force
M/Force-4.1 Tension
M/Force-4.1.1 Tension
M/Force-4.2 Compression
M/Force-4.2.1 Compression
M/Force-4.3 Tension and compression
M/Force-4.3.1 Tension and compression
M/Tor Torque
M/Tor-5 Torque
M/Tor-5.1 Torque
M/Tor-5.1.1 Torque
M/Vis Viscosity
M/Vis-6 Viscosity
M/Vis-6.1 Certified Newtonian reference liquids
M/Vis-6.1.1 Certified Newtonian reference liquids
M/Vis-6.2 Capillary viscometers
M/Vis-6.2.1 Capillary viscometers
M/Vis-6.3 Viscosity measurement of Newtonian liquids
M/Vis-6.3.1 Viscosity measurement of Newtonian liquids
M/Har Hardness
M/Har-7 Hardness
M/Har-7.1 Hardness
M/Har-7.1.1 Hardness
M/Gra Gravity
M/Gra-8 Gravity
M/Gra-8.1 Gravity
M/Gra-8.1.1 Gravity
M/FF Fluid Flow
M/FF-9 Fluid flow
M/FF-9.10 Fluid flow
M/FF-9.10.1 Liquid flow
M/FF-9.10.2 Gas flow
M/FF-9.10.3 Quantity of fluid
M/FF-9.10.4 Flow speed
M/FF-9.10.5 Multiphase flow
M/FF-9.10.6 Heat flow
PR/Detector Properties of detectors and sources
PR/Detector-1 Photometry
PR/Detector-1.1 Luminous intensity
PR/Detector-1.1.1 Tungsten lamp
PR/Detector-1.2 Illuminance responsivity
PR/Detector-1.2.1 Tungsten source
PR/Detector-1.3 Luminous flux
PR/Detector-1.3.1 Tungsten lamp
PR/Detector-1.3.2 LED
PR/Detector-1.4 Illuminance
PR/Detector-1.4.1 Tungsten lamp
PR/Detector-1.5 Luminance
PR/Detector-1.5.1 Tungsten-based source
PR/Detector-1.6 Luminance responsivity
PR/Detector-1.6.0 Luminance meter
PR/Detector-1.7 Averaged luminous intensity
PR/Detector-1.7.1 LED
PR/Detector-1.8 Luminous exposure
PR/Detector-1.8.0 General source
PR/Detector-1.8.1 Flash photometer
PR/Detector-2 Properties of detectors
PR/Detector-2.1 Responsivity, spectral, power
PR/Detector-2.1.1 Broad band detector
PR/Detector-2.2 Responsivity, spectral, irradiance
PR/Detector-2.2.2 Broad band detector
PR/Detector-2.2.3 Spectroradiometer
PR/Detector-2.3 Responsivity, spectral, radiance
PR/Detector-2.3.0 Spectroradiometer
PR/Detector-2.4 Responsivity, laser, power
PR/Detector-2.4.0 General detector
PR/Detector-2.5 Responsivity, laser, energy
PR/Detector-2.5.0 General detector
PR/Detector-2.6 Responsivity, solar, power
PR/Detector-2.6.0 General detector
PR/Detector-2.7 Responsivity, solar, irradiance
PR/Detector-2.7.0 General detector
PR/Detector-2.7.1 Broadband detector
PR/Detector-2.8 Responsivity, blackbody, total irradiance
PR/Detector-2.8.0 Broadband detector
PR/Detector-2.9 Responsivity, UV, broadband irradiance
PR/Detector-2.9.0 UV radiometer
PR/Detector-2.10 Responsivity, UV, broadband radiant exposure
PR/Detector-2.10.0 UV radiometer
PR/Detector-2.11 Responsitivity, solar, spectral, irradiance
PR/Detector-2.11.0 Solar spectroradiometer
PR/Detector-3 Spectral emission properties of sources
PR/Detector-3.1 Irradiance, spectral
PR/Detector-3.1.1 Tungsten lamp
PR/Detector-3.1.2 Deuterium lamp
PR/Detector-3.2 Radiance, spectral
PR/Detector-3.2.1 Tungsten lamp
PR/Detector-3.2.2 Deuterium lamp
PR/Detector-3.2.3 General source
PR/Detector-3.3 Power, spectral total radiant
PR/Detector-3.3.1 Laser
PR/Detector-3.4 Radiant intensity, spectral
PR/Detector-3.4.1 Tungsten lamp
PR/Detector-3.4.2 Deuterium lamp
PR/Detector-3.5 Radiant flux, spectral
PR/Detector-3.5.0 General source
PR/Detector-3.5.1 Tungsten lamp
PR/Detector-5 Spectral.-int. meas. for sources and detectors
PR/Detector-5.1 Distribution temperature
PR/Detector-5.1.0 Tungsten lamp
PR/Detector-5.2 Correlated colour temperature
PR/Detector-5.2.1 Tungsten lamp
PR/Detector-5.3 Correlated colour temperature response
PR/Detector-5.3.0 Colour temperature meter
PR/Detector-5.4 Colour, emitted
PR/Detector-5.4.0 General source, colour space: x, y
PR/Detector-5.4.1 General source, colour space: u, v
PR/Detector-5.4.2 General source, colour space: u-prime, v-prime
PR/Detector-5.4.3 Display, colour space: L*a*b
PR/Detector-5.5 Chromaticity response
PR/Detector-5.5.0 Colorimeter
PR/Detector-5.6 Colour rendering, Ra
PR/Detector-5.6.0 General source
PR/Detector-5.7 Radiance, total
PR/Detector-5.7.0 Blackbody
PR/Detector-5.8 Radiant flux, total
PR/Detector-5.8.0 General source
PR/Detector-5.8.1 LED
PR/Mater Properties of materials
PR/Mater-4 Spectral properties of materials
PR/Mater-4.1 Transmittance, regular, spectral
PR/Mater-4.1.1 Spectrally-neutral material
PR/Mater-4.2 Transmittance, diffuse, spectral
PR/Mater-4.2.1 Spectrally-neutral material
PR/Mater-4.3 Absorbance, regular, spectral
PR/Mater-4.3.1 Spectrally-neutral material
PR/Mater-4.4 Absorbance, diffuse, spectral
PR/Mater-4.4.1 Spectrally-neutral material
PR/Mater-4.5 Reflectance, diffuse, spectral
PR/Mater-4.5.1 Spectrally-neutral material
PR/Mater-4.6 Reflectance, regular, spectral
PR/Mater-4.6.1 Spectrally-neutral material
PR/Mater-4.7 Reflectance, hemispherical, spectral
PR/Mater-4.7.1 Spectrally-neutral material
PR/Mater-4.9 Emissivity
PR/Mater-4.9.0 General material
PR/Mater-4.10 Emittance, spectral
PR/Mater-4.10.0 General material
PR/Mater-4.11 BRDF
PR/Mater-4.11.0 General material
PR/Mater-4.12 Reflectance factor
PR/Mater-4.12.0 General material
PR/Mater-4.13 Radiance factor
PR/Mater-4.13.0 General material
PR/Mater-4.13.1 Fluorescent material
PR/Mater-4.14 Luminescent radiance factor
PR/Mater-4.14.0 Fluorescent material
PR/Mater-4.15 Wavelength
PR/Mater-4.15.0 Spectrally-selective transmitting material
PR/Mater-4.15.1 Spectrally-selective reflecting material
PR/Mater-4.16 Refractive index, spectral
PR/Mater-4.16.0 Solid material
PR/Mater-4.17 Angle of rotation of polarization plane, spectral
PR/Mater-4.17.0 Solid material
PR/Mater-4.17.1 Liquid material
PR/Mater-4.18 Ellipsometric angles phi, delta, spectral
PR/Mater-4.18.0 General material
PR/Mater-6 Colour and other spectral.-int. meas. of materials
PR/Mater-6.1 Colour, surface, x, y, Y
PR/Mater-6.1.0 General material
PR/Mater-6.1.1 Fluorescent material
PR/Mater-6.1.2 Diffusely reflecting material
PR/Mater-6.2 Colour, surface, Lab
PR/Mater-6.2.0 General material
PR/Mater-6.2.1 Fluorescent material
PR/Mater-6.2.2 Diffusely reflecting material
PR/Mater-6.3 Colour, transmitted, x, y, Y
PR/Mater-6.3.0 General material
PR/Mater-6.4 Colour, transmitted, Lab
PR/Mater-6.4.0 General material
PR/Mater-6.5 Retroreflectance
PR/Mater-6.5.0 General material
PR/Mater-6.6 Gloss
PR/Mater-6.6.0 General material
PR/Mater-6.7 Haze
PR/Mater-6.7.0 General material
PR/Mater-6.9 Luminance factor
PR/Mater-6.9.0 General material
PR/Mater-6.10 Luminance coefficient
PR/Mater-6.10.0 General material
PR/Mater-6.12 Whiteness
PR/Mater-6.12.0 General material
PR/Fibre Fibre optics
PR/Fibre-7 Fibre optics
PR/Fibre-7.1 Fibre responsivity
PR/Fibre-7.1.0 Fibre optic power meter
PR/Fibre-7.2 Fibre wavelength
PR/Fibre-7.2.0 Fibre optic source
PR/Fibre-7.2.1 Optical spectrum analyser
PR/Fibre-7.2.2 Wavelength meter
PR/Fibre-7.5 Fibre attenuation
PR/Fibre-7.5.0 Optical fibre
PR/Fibre-7.5.1 Optical fibre component
PR/Fibre-7.7 Fibre chromatic dispersion
PR/Fibre-7.7.0 Chromatic dispersion, optical fibre
PR/Fibre-7.7.1 Zero wavelength, optical fibre
PR/Fibre-7.7.2 Slope, optical fibre
PR/Fibre-7.10 Fibre length
PR/Fibre-7.10.0 Optical fibre
PR/Fibre-7.10.1 OTDR
PR/Fibre-7.11 Fibre polarization mode dispersion
PR/Fibre-7.11.0 Optical fibre
PR/Fibre-7.11.1 Polarization mode dispersion analyzer
T/T Temperature
T/T-1 Items for defining ITS-90
T/T-1.1 Primary fixed-point cells
T/T-1.1.1 Cells for contact thermometry
T/T-1.1.2 Cells for radiation thermometry
T/T-1.2 Complete apparatus realizing fixed-points
T/T-1.2.1 Apparatus for contact thermometry
T/T-1.2.2 Apparatus for radiation thermometry
T/T-1.3 Standard platinum resistance therm. (SPRTs)
T/T-1.3.1 Capsule-type SPRTs
T/T-1.3.2 Long-stem SPRTs including HTSPRTs
T/T-1.4 Standard radiation thermometers
T/T-1.4.1 Standard radiation thermometers
T/T-2 Items for disseminating ITS-90 and PLTS 2000
T/T-2.1 Secondary fixed-point cells and apparatus
T/T-2.1.1 Secondary fixed-points and apparatus for contact thermometry
T/T-2.2 Resistance thermometers
T/T-2.2.1 Rhodium-iron resistance thermometers
T/T-2.2.2 Platinum resistance thermometers (PRTs)
T/T-2.2.3 Thermistors and other resistive thermometers
T/T-2.3 Thermocouples
T/T-2.3.1 Noble-metal thermocouples
T/T-2.3.2 Base-metal thermocouples
T/T-2.3.3 Pure-metal thermocouples
T/T-2.4 Liquid-in-glass thermometers
T/T-2.4.1 Liquid-in-glass thermometers
T/T-2.5 Radiation thermometry
T/T-2.5.1 Secondary fixed-point blackbody cells and complete instruments
T/T-2.5.2 Variable temperature blackbody radiation sources
T/T-2.5.3 Strip lamps
T/T-2.5.4 Radiation thermometers and visual optical pyrometers
T/T-2.6 Other thermometers
T/T-2.6.1 Air temperature sensors
T/T-2.6.2 Other thermometers
T/T-2.7 Temperature sensors with display unit
T/T-2.7.1 Temperature sensors with display unit
T/T-2.8 Other measurement services
T/T-2.8.1 Bridge linearity
T/T-2.8.2 Compensation wires for cold junction
T/T-2.8.3 Wires for melting-point measurements for thermocouples
T/T-2.8.4 Temperature indicators
T/T-2.8.5 Phase-transition temperature of reference materials
T/T-2.8.6 Dry-well block calibrators
T/H Humidity
T/H-3 Hygrometers
T/H-3.1 Dew-point hygrometers
T/H-3.1.1 Dew-point hygrometers
T/H-3.2 Psychrometers
T/H-3.2.1 Psychrometers
T/H-3.3 Relative humidity sensors
T/H-3.3.1 Relative humidity sensors
T/H-3.4 Other hygrometers
T/H-3.4.1 Other hygrometers
T/H-4 Dynamic generators
T/H-4.1 Dew-point generators
T/H-4.1.1 Dew-point generators
T/H-4.2 Relative humidity generators
T/H-4.2.1 Relative humidity generators
T/H-4.3 Flow mixing
T/H-4.3.1 Flow mixing
T/H-4.4 Permeation tube, diffusion tube
T/H-4.4.1 Permeation tube, diffusion tube
T/H-5 Static generators
T/H-5.1 Salt solutions (saturated, unsaturated)
T/H-5.1.1 Salt solutions (saturated, unsaturated)
T/H-5.2 Reference gases
T/H-5.2.1 Reference gases
T/TQ Thermophysical quantities
T/TQ-6 Thermophysical quantities
T/TQ-6.1 Thermal transport property
T/TQ-6.1.1 Thermal conductivity
T/TQ-6.1.2 Thermal diffusivity
T/TQ-6.2 Caloric property
T/TQ-6.2.1 Specific heat capacity
T/TQ-6.2.2 Heat of fusion
T/TQ-6.2.3 Calorific value
T/TQ-6.3 Radiative property
T/TQ-6.3.1 Spectral emissivity
T/TQ-6.3.2 Total emissivity
T/TQ-6.4 Thermo-mechanical property
T/TQ-6.4.1 Thermal expansion coefficient
L/Laser Laser frequencies
L/Laser-1 Radiations of the mise en pratique
L/Laser-1.1 Laser radiations
L/Laser-1.1.1 Frequency stabilized laser
L/Laser-1.2 Lamp radiations
L/Laser-1.2.1 Spectral lamp
L/DimMet Dimensional metrology
L/DimMet-2 Linear dimensions
L/DimMet-2.1 Length instruments
L/DimMet-2.1.1 (Laser, length) interferometer (system, optics, refractometer)
L/DimMet-2.1.2 EDM instrument
L/DimMet-2.1.3 One-dimension measuring machine
L/DimMet-2.1.4 Height measuring instrument
L/DimMet-2.1.5 One-dimension displacement transducer or actuator (LVDT, PZT, etc.)
L/DimMet-2.1.6 Gauge block comparators
L/DimMet-2.1.7 Dial-indicator tester
L/DimMet-2.2 End standards
L/DimMet-2.2.1 Gauge block
L/DimMet-2.2.2 Length bar (long gauge block)
L/DimMet-2.2.3 Plane or thread micrometer setting rod
L/DimMet-2.2.4 Step gauge
L/DimMet-2.2.5 Gap gauge
L/DimMet-2.2.6 Feeler (thickness) gauge
L/DimMet-2.3 Line standards
L/DimMet-2.3.1 Precision line scale
L/DimMet-2.3.2 Stage micrometer
L/DimMet-2.3.3 Grid plate
L/DimMet-2.3.4 One-dimension grating
L/DimMet-2.3.5 Two-dimension grating
L/DimMet-2.3.6 Linewidth standard
L/DimMet-2.3.7 (Surveyor, engineer, pi) tape, (geodetic) wire
L/DimMet-2.3.8 Surveyor levelling rod
L/DimMet-2.3.9 Engineer or machinist scale, steel
L/DimMet-2.4 Diameter standards
L/DimMet-2.4.1 External cylinder (plug, piston, pin, wire)
L/DimMet-2.4.2 Internal cylinder (ring)
L/DimMet-2.4.3 Sphere (ball)
L/DimMet-2.5 Standards of 1D Dimensions
L/DimMet-2.5.1 Standard of 1D point-to-point dimensions
L/DimMet-3 Angle
L/DimMet-3.1 Angle by circle dividers
L/DimMet-3.1.1 Optical polygon
L/DimMet-3.1.2 Index table
L/DimMet-3.1.3 Rotary table, rotary encoder scale
L/DimMet-3.2 Small-angle generators
L/DimMet-3.2.1 Sine bar or table
L/DimMet-3.3 Angle instruments
L/DimMet-3.3.1 Autocollimator
L/DimMet-3.3.2 Electronic level
L/DimMet-3.3.3 Clinometer
L/DimMet-3.3.4 Spirit (bubble) level
L/DimMet-3.3.5 Theodolite
L/DimMet-3.3.6 (Bevel) protractor
L/DimMet-3.3.7 Squareness tester
L/DimMet-3.4 Angle artefacts
L/DimMet-3.4.1 Angle block
L/DimMet-3.4.2 90 deg (steel, granite, try) square
L/DimMet-3.4.3 90 deg cylinder square
L/DimMet-3.4.4 Cone (taper) gauge
L/DimMet-3.5 Angle prisms
L/DimMet-3.5.1 Optical square (pentaprism)
L/DimMet-3.5.2 Retroreflection (cube-corner, cat-eye) prism
L/DimMet-4 Form
L/DimMet-4.1 Flatness standards
L/DimMet-4.1.1 Optical flat
L/DimMet-4.1.2 Optical parallel or wedge
L/DimMet-4.1.3 Surface plate
L/DimMet-4.2 Roundness standards
L/DimMet-4.2.1 External cylinder
L/DimMet-4.2.2 Internal cylinder
L/DimMet-4.2.3 Sphere (hemisphere)
L/DimMet-4.2.4 Magnification standard (e.g. flick standard)
L/DimMet-4.3 Straightness standards
L/DimMet-4.3.1 Straight edge
L/DimMet-4.3.2 Cylindrical straightness standard
L/DimMet-4.3.3 Straightness of guideway
L/DimMet-4.4 Cylindricity standards
L/DimMet-4.4.1 External cylinder
L/DimMet-4.4.2 Internal cylinder
L/DimMet-4.5 Optical standards
L/DimMet-4.5.1 Lens, radius standards
L/DimMet-5 Complex geometry
L/DimMet-5.1 Surface texture standards
L/DimMet-5.1.1 (Groove) depth (step height) standard
L/DimMet-5.1.2 Tip-condition standard
L/DimMet-5.1.3 Spacing standard
L/DimMet-5.1.4 Roughness standard
L/DimMet-5.1.5 Profile coordinate standard
L/DimMet-5.1.6 Soft gauge standard
L/DimMet-5.2 Screw standards
L/DimMet-5.2.1 Thread plug, plain
L/DimMet-5.2.2 Thread plug, tapered
L/DimMet-5.2.3 Thread ring, plain
L/DimMet-5.2.4 Thread ring, tapered
L/DimMet-5.2.5 Internal API screw thread gauge
L/DimMet-5.2.6 External API screw thread gauge
L/DimMet-5.3 Gear standards
L/DimMet-5.3.1 Involute gear
L/DimMet-5.3.2 Bevel gear
L/DimMet-5.3.3 Gear pitch master
L/DimMet-5.3.4 Gear lead master
L/DimMet-5.3.5 Gear involute master
L/DimMet-5.4 Coordinate Measuring Machine (CMM) artefacts
L/DimMet-5.4.1 Ball (hole, bore) plate
L/DimMet-5.4.2 Ball bar
L/DimMet-5.4.3 Large CMM artefact
L/DimMet-5.4.4 Reference software
L/DimMet-5.4.5 Test circle for imaging probing systems
L/DimMet-5.5 Two-dimension and three-dimension instruments
L/DimMet-5.5.1 Measuring projector
L/DimMet-5.5.2 Measuring microscope
L/DimMet-5.5.3 CMM
L/DimMet-5.5.4 Laser tracking measuring system
L/DimMet-5.5.5 Motion (translation, angle) stage
L/DimMet-5.5.6 Profile instruments
L/DimMet-5.5.7 (Flatness, wavefront) interferometer
L/DimMet-5.5.8 Form measuring machine
L/DimMet-5.6 Hardness
L/DimMet-5.6.1 Hardness indenter (Rockwell, Vickers)
L/DimMet-6 Various dimensional
L/DimMet-6.1 Hand instruments
L/DimMet-6.1.1 External micrometer
L/DimMet-6.1.2 Micrometer head
L/DimMet-6.1.3 Depth micrometer
L/DimMet-6.1.4 Caliper
L/DimMet-6.1.5 Depth gauge
L/DimMet-6.1.6 Internal two-point (bore) micrometer
L/DimMet-6.1.7 Internal three-point (bore) micrometer
L/DimMet-6.1.8 Dial gauge
L/DimMet-6.1.9 Snap gauge (internal, external)
L/DimMet-6.2 Pressure artefacts
L/DimMet-6.2.1 Piston - cylinder assembly
L/DimMet-6.3 Thermal expansivity
L/DimMet-6.3.1 Thermal expansion artefact
L/DimMet-6.4 Long distance
L/DimMet-6.4.1 Geodesic baseline
L/DimMet-6.5 Reference materials
L/DimMet-6.5.1 Standard particle
L/DimMet-6.5.2 Sieve or mesh opening
L/DimMet-6.6 Layer thickness
L/DimMet-6.6.1 Layer thickness standard
L/DimMet-6.7 Not attributed 1
L/DimMet-6.7.1 Not attributed 2
L/DimMet-6.7.2 Not attributed 1
custom

## administrativeData
heading[en] | heading[da] | Description | Value | XPath
Calibration certificate | Kalibreringscertifikat | Certificate-Title |  | /dcc:digitalCalibrationCertificate
This document was created with: | Dette dokument blev genereret ved hjælp af: | software |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:dccSoftware/dcc:software
|  | name | ioDccGuiTool.py | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:dccSoftware/dcc:software/dcc:name
|  | release | v0.0.2 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:dccSoftware/dcc:software/dcc:release
|  | countryCodeISO3166_1 | DK | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:countryCodeISO3166_1
|  | usedLangCodeISO639_1 | da | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:usedLangCodeISO639_1
|  | mandatoryLangCodeISO639_1 | en | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:mandatoryLangCodeISO639_1
Certificate number | Certifikatnummer | uniqueIdentifier |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:uniqueIdentifier
|  | value | K063497 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:uniqueIdentifier/dcc:value
Order number | Ordrenummer | customerIdentification |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:customerIdentification
|  | value | Q0795429 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:customerIdentification/dcc:value
|  | receiptDate | 2023-04-25 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:receiptDate
|  | beginPerformanceDate | 2023-04-25 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:beginPerformanceDate
|  | endPerformanceDate | 2023-04-25 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:endPerformanceDate
|  | performanceLocation | laboratory | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:performanceLocation
|  | issueDate | 2024-04-26 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:issueDate
Calibration laboratory | Kalibreringslaboratorium | calibrationLaboratory |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory
|  | companyName | Dummy Metrology Lab GmBL | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:companyName
Address | Addresse | location |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location
|  | city | Metrology road | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location/dcc:city
|  | countryCode | DK | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location/dcc:countryCode
|  | postCode | 2970 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location/dcc:postCode
|  | street | Horsholm | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location/dcc:street
|  | streetNo | 15A | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:location/dcc:streetNo
Contact info | Kontaktinformation | contactInfo |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contactInfo
|  | eMail | info@dummymet.dk | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contactInfo/dcc:eMail
|  | phone | +45 25459026 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contactInfo/dcc:phone
Main signer | Underskriftsberettiget | respPerson |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:respPersons/dcc:respPerson
|  | name | Walter Traceman | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:respPersons/dcc:respPerson/dcc:name
|  | mainSigner | TRUE | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:respPersons/dcc:respPerson/dcc:mainSigner
Accreditation | Akkreditering | accreditation |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:accreditation
|  | accreditationCountry | DK | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:accreditation/dcc:accreditationCountry
|  | accreditationBody | DANAK | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:accreditation/dcc:accreditationBody
|  | accreditationLabId | 255 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:accreditation/dcc:accreditationLabId
|  | accreditationNorm | 17025 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:accreditation/dcc:accreditationNorm
|  | accreditationApplicability | wholly | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:accreditation/dcc:accreditationApplicability
Customer | Kunde | customer |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer
|  | companyName | Novo Nordisk A/S | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:companyName
Address | Addresse | location |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location
|  | city | Hillerød | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:city
|  | countryCode | DK | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:countryCode
|  | postCode | 3400 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:postCode
|  | street | Brennum Park | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:street
|  | streetNo | - | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:streetNo
Contact person | Kontaktperson | contactInfo |  | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:contactInfo
|  | attPerson | - | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:contactInfo/dcc:attPerson
|  | eMail | - | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:contactInfo/dcc:eMail
|  | phone | - | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:contactInfo/dcc:phone

## statements
heading[da] | Bemærkninger
heading[en] | Statements
in DCC | @id | @category | heading[en] | heading[da] | body[en] | body[da] | externalReference
y | meth2 | method | Uncertainty |  | The reported expanded uncertainty is stated as the standard uncertainty of the measurement multiplied by the coverage factor k=2, hence the coverage probability corresponds to approximately 95%.
y | meth1 | method | Procedure |  | Measurement procedure III-2 |  | III-2
y | s01 | general | Reprint |  | This document is only valid with digital signature from Dummy Metrology Lab GmB. The valid edition (legal original) is stored in Dummy Metrology Lab GmB electronic archive. This calibration certificate may only be reproduced in its entirety, unless Dummy Metrology Lab GmB has approved otherwise in writing. Our terms and conditions are an integrated part of our services.
y | conf1 | traceability | Traceability |  | This calibration certificate is covered by NAB accreditation and the multilateral agreements from EA and ILAC for calibration, which ensures that measurements are metrologically traceable. Calibration results only covers the calibrated items.
y | env1 | method | Environment |  | Temperature 23±2°C, humidity 27±10%RH, barometric pressure 999±5mbar

## equipment
heading[da]
heading[en]
in DCC | @id | @category | heading[da] | heading[en] | manufacturer | productName | productType | customer_id heading[en] | customer_id heading[da] | customer_id value | manufact_id heading[en] | manufact_id heading[da] | manufact_id value | calLab_id heading[en] | calLab_id heading[da] | calLab_id value
y | item1 | item |  | Temperature datalogger |  |  |  | Customer iD | Kundens ID | ID015553 | Serial number | Serienummer | 61169835 | B&B no. |  | 444488881-1623
y | refInst1 | reference |  | Reference Thermometer | [9 empty] | Internal no. |  | 2036

## settings
heading[da] | Indstillinger
heading[en] | Settings
in DCC | @settingId | @equipmentRef | parameter | value | unit | softwareInstruction | heading[en] | heading[da] | body[en] | body[da]
y | ch2 | item1 | Ch | 2 |  |  | Channel | Kanal
y | ch2_type | item1 | type | 0610 1725 |  |  | Type

## measuringSystems
heading[da] | Målesystemer
heading[en] | Measuring Systems Under Calibration
in DCC | @id | heading[en] | heading[da] | equipmentRefs | settingRefs | statementRefs | operationalStatus | body[en] | body[da]
y | ms1 | Data logger measuring system |  | item1 refInst1 | ch2 ch2_type | meth1 | as found | -

## embeddedFiles
heading[da] | Indlejrede filer
heading[en] | Embedded files
in DCC | @id | heading[da] | heading[en] | body[da] | body[en] | fileExtension | write absolute path to the file in this column (outside the table!)
y | Logo_DummyMetrologyLab.png |  | Logo of Calibration Laboratory |  |  | png | files\Logo_DummyMetrologyLab.png
y | Logo_DummyAccreditationBody.png |  | Accreditation Logo |  |  | png | files\Logo_DummyAccreditationBody.png

## cal_1_T1
tableCategory | calibrationResult
@tableId | cal_1_T1
@serviceCategory | T/T-2.2.3 Thermistors and other resistive thermometers
@measuringSystemRef | ms1
@customServiceCategory
statementRef
heading[da] | -
heading[en] | calibrationResult 1_T1
@numRows | 5
@numCols | 7
scope | - | reference | indication | indication | bias | indication | bias
dataCategory | rowTag | value | value | repeatability | value | expandedUncertainty | expandedUncertainty
dataCategoryRef | - | - | - | - | - | value | -
measurand | - | Temperature | Temperature | Temperature | Temperature | Temperature | Temperature
unit | - | \degreeCelcius | \degreeCelcius | \degreeCelcius | \degreeCelcius | \degreeCelcius | \degreeCelcius
heading[da] | Kundens kode
heading[en] | Customer Tags | True mean value (°C) | Object mean value (°C) | Repeatability (°C) | Error (°C) | Uncertainty of reading (°C) | Measurement uncertainty (°C)
idx
1 | T1 | -40.006 | -39.9 | 0 | 0.106 | 0.1 | 0.089
2 | T2 | -20.014 | -19.9 | 0 | 0.114 | 0.1 | 0.089
3 | T3 | -0.007 | 0.1 | 0 | 0.107 | 0.1 | 0.089
4 | T4 | 19.998 | 20 | 0 | 0.002 | 0.1 | 0.089
5 | T5 | 40 | 40 | 0 | 0 | 0.1 | 0.089