## Definitions
Parameter | Value | stringISO3166Type | stringISO639Type | serviceCategoryType | yesno | transactionContentType | statementCategoryType | accreditationApplicabilityType | equipmentCategoryType | issuerType | operationalStatusType | stringPerformanceLocationType | conformityStatusType | scopeType | dataCategoryType | quantityType | tableCategoryType | approachToTargetType | quantityCodeSystemType
version | 0.1 | AD | aa | AUV/A Sound in air | y | digitalCalibrationCertificate | method | partial | item | client | as found | atProvider | pass | reference | - | - | calibrationResult | a | ISO/IEC 80000
dcc-schema-version | 2.0.0 | AE | ab | AUV/A-1 Measurement microphones | n | digitalMeasurementReport | general | wholly | indicating | manufacturer | after adjustment | inField | fail | indication | value | quantityUnitDefRef | measurementSeries | b | si-digital-framework.org
|  | AF | ae | AUV/A-1.1 Pressure sensitivity level (air) |  | digitalExaminationCertificate | exception |  | transfering | serviceProvider | after maintenance |  | conditionalPass | bias | targetValue | 3-1.1¦length¦m |  |  | electropedia.org
|  | AG | af | AUV/A-1.1.1 Modulus |  | digitalConformityCertificate | traceability |  | sensing |  | after maintenance and adjustme |  | conditionalFail | environment | expandedUncertainty | 3-1.2¦width, breadth¦m |  |  | mlayer.org
|  | AI | ak | AUV/A-1.1.2 Phase |  | digitalTestReport | attention |  | reference |  |  |  | noPass | Other | repeatability | 3-1.3¦altitude, depth, height¦m |  |  | qudt.org
|  | AL | am | AUV/A-1.2 Free-field sensitivity level (air) |  | request:DigitalCalibrationCertificate | comment |  | environment |  |  |  | noFail | - | correction | 3-1.4¦thickness¦m |  |  | ucum.org
|  | AM | an | AUV/A-1.2.1 Modulus |  | request:digitalMeasurementReport | accreditation |  | other | [5 empty] | conformity | 3-1.5¦diameter¦m |  |  | ptb.de
|  | AO | ar | AUV/A-1.2.2 Phase |  | request:digitalExaminationCertificate | accreditationException | [7 empty] | correlation | 3-1.6¦radius¦m |  |  | other
|  | AQ | as | AUV/A-1.2.3 Directivity |  | request:digitalConformityCertificate | decisionRule | [7 empty] | rowTag | 3-1.7¦path length, arc length¦m
|  | AR | av | AUV/A-1.3 Diffuse field sensitivity level (air) |  | request:digitalTestReport | norm | [7 empty] | usedReferenceRef | 3-1.8¦distance¦m
|  | AS | ay | AUV/A-1.3.1 Modulus |  | template:DigitalCalibrationCertificate | [8 empty] | methodRef | 3-1.9¦radial distance¦m
|  | AT | az | AUV/A-1.3.2 Phase |  | template:digitalMeasurementReport | [8 empty] | exceptionRef | 3-1.10¦position vector¦m
|  | AU | ba | AUV/A-2 Sound calibrators |  | template:digitalExaminationCertificate | [8 empty] | traceabilityRef | 3-1.11¦displacement¦m
|  | AW | be | AUV/A-2.1 Single frequency sound calibrators |  | template:digitalConformityCertificate | [8 empty] | attentionRef | 3-1.12¦radius of curvature¦m
|  | AX | bg | AUV/A-2.1.1 Sound pressure level |  | template:digitalTestReport | [8 empty] | commentRef | 3-2¦curvature¦m-1
|  | AZ | bi | AUV/A-2.2 Multi-frequency sound calibrators | [10 empty] | decisionRuleRef | 3-3¦area¦m2
|  | BA | bm | AUV/A-2.2.1 Sound pressure level | [10 empty] | accreditationExceptionRef | 3-4¦volume¦m3
|  | BB | bn | AUV/A-3 Sound measuring instruments | [10 empty] | normRef | 3-5¦angular measure¦rad
|  | BD | bo | AUV/A-3.1 Response of sound measuring instruments | [10 empty] | measurementSeriesRef | 3-6¦rotational displacement, angular displacement¦rad
|  | BE | br | AUV/A-3.1.1 Sound pressure response level | [10 empty] | uncertaintyCoverageFactor_k | 3-7¦phase angle¦rad
|  | BF | bs | AUV/A-3.1.2 Free-field response level | [10 empty] | uncertaintyCoverageProbability | 3-8¦solid angular measure¦sr
|  | BG | ca | AUV/A-3.1.3 Diffuse field response level | [10 empty] | toleranceLimitLower | 3-9¦duration, time¦s
|  | BH | ce | AUV/A-3.1.4 Sound intensity response level | [10 empty] | toleranceLimitUpper | 3-10.1¦velocity¦m.s-1
|  | BI | ch | AUV/A-4 Ear simulators | [10 empty] | acceptanceLimitLower | 3-10.2¦speed¦m.s-1
|  | BJ | co | AUV/A-4.1 Reference couplers or artificial ears (air) | [10 empty] | acceptanceLimitUpper | 3-11¦acceleration¦m.s-2
|  | BL | cr | AUV/A-4.1.1 System response level | [10 empty] | approachToTarget | 3-12¦angular velocity¦rad.s-1
|  | BM | cs | AUV/A-4.1.2 Acoustic impedance | [10 empty] | other | 3-13¦angular acceleration¦rad.s-2
|  | BN | cu | AUV/A-4.2 Mechanical couplers (air) | [11 empty] | 3-14¦period duration, period¦s
|  | BO | cv | AUV/A-4.2.1 Force response level | [11 empty] | 3-15¦time constant¦s
|  | BQ | cy | AUV/A-4.2.2 Mechanical impedance | [11 empty] | 3-16¦rotation¦1
|  | BR | da | AUV/A-4.3 Impedance head force transducer | [11 empty] | 3-17.1¦frequency¦Hz
|  | BS | de | AUV/A-4.3.1 Modulus of charge sensitivity | [11 empty] | 3-17.2¦rotational frequency¦s-1
|  | BT | dv | AUV/A-4.3.2 Phase shift of charge sensitivity | [11 empty] | 3-18¦angular frequency¦rad.s-1
|  | BV | dz | AUV/A-4.4 Impedance head force measuring chain | [11 empty] | 3-19¦wavelength¦m
|  | BW | ee | AUV/A-4.4.1 Modulus of voltage sensitivity | [11 empty] | 3-20¦repetency, wavenumber¦m-1
|  | BY | el | AUV/A-4.4.2 Phase shift of voltage sensitivity | [11 empty] | 3-21¦wave vector¦m-1
|  | BZ | en | AUV/A-5 Reference sound sources | [11 empty] | 3-22¦angular repetency, angular wavenumber¦m-1
|  | CA | eo | AUV/A-5.1 Output of reference sound sources | [11 empty] | 3-23.1¦phase velocity, phase speed¦m.s-1
|  | CC | es | AUV/A-5.1.1 Sound power level | [11 empty] | 3-23.2¦group velocity, group speed¦m.s-1
|  | CD | et | AUV/A-5.1.2 Directivity | [11 empty] | 3-24¦damping coefficient¦s-1
|  | CF | eu | AUV/A-6 Audiometers | [11 empty] | 3-25¦logarithmic decrement¦1
|  | CG | fa | AUV/A-6.1 Response of audiometers | [11 empty] | 3-26.1¦attenuation, extinction, attenuation length¦m-1
|  | CH | ff | AUV/A-6.1.1 Air-conduction response level | [11 empty] | 3-26.2¦phase coefficient¦rad.m-1
|  | CI | fi | AUV/A-6.1.2 Bone-conduction response level | [11 empty] | 3-26.3¦propagation coefficient¦m-1
|  | CK | fj | AUV/W Sound in water | [11 empty] | 4-1¦mass¦kg
|  | CL | fo | AUV/W-11 Hydrophones (medical ultrasonic) | [11 empty] | 4-2¦mass density, density¦kg.m-3
|  | CM | fr | AUV/W-11.1 Free-field sensitivity | [11 empty] | 4-3¦specific volume¦kg-1.m-3
|  | CN | fy | AUV/W-11.1.1 Modulus | [11 empty] | 4-4¦relative mass density, relative density¦1
|  | CO | ga | AUV/W-11.1.2 Phase | [11 empty] | 4-5¦surface mass density, surface density¦kg.m-2
|  | CR | gd | AUV/W-11.2 Pressure sensitivity | [11 empty] | 4-6¦linear mass density, linear density¦kg.m-1
|  | CU | gl | AUV/W-11.2.1 Modulus | [11 empty] | 4-7¦moment of inertia¦kg.m2
|  | CV | gn | AUV/W-11.2.2 Phase | [11 empty] | 4-8¦momentum¦kg.m.s-2
|  | CW | gu | AUV/W-12 Hydrophones (underwater acoustics) | [11 empty] | 4-9.1¦force¦N
|  | CX | gv | AUV/W-12.1 Free-field sensitivity | [11 empty] | 4-9.2¦weight¦N
|  | CY | ha | AUV/W-12.1.1 Modulus | [11 empty] | 4-9.3¦static friction force, static friction¦N
|  | CZ | he | AUV/W-12.1.2 Phase | [11 empty] | 4-9.4¦kinetic friction force, dynamic friction force¦N
|  | DE | hi | AUV/W-12.2 Pressure sensitivity | [11 empty] | 4-9.5¦rolling resistance, rolling drag, rolling friction force¦N
|  | DJ | ho | AUV/W-12.2.1 Modulus | [11 empty] | 4-9.6¦drag force¦N
|  | DK | hr | AUV/W-12.2.2 Phase | [11 empty] | 4-10¦impulse¦N.s
|  | DM | ht | AUV/W-13 Ultrasound transducer with generator | [11 empty] | 4-11¦angular momentum¦kg.m2.s-1
|  | DO | hu | AUV/W-13.1 Output from ultrasound transducer with generator | [11 empty] | 4-12.1¦moment of force¦N.m
|  | DZ | hy | AUV/W-13.1.1 Ultrasonic power | [11 empty] | 4-12.2¦torque¦N.m
|  | EC | hz | AUV/W-13.1.2 Directivity | [11 empty] | 4-13¦angular impulse¦N.m.s
|  | EE | ia | AUV/W-13.1.3 Ultrasonic pressure | [11 empty] | 4-14.1¦pressure¦Pa
|  | EG | id | AUV/W-14 Ultrasound transducer | [11 empty] | 4-14.2¦gauge pressure¦Pa
|  | EH | ie | AUV/W-14.1 Output from ultrasound transducer | [11 empty] | 4-15¦stress¦Pa
|  | ER | ig | AUV/W-14.1.1 Electroacoustic radiation conductance | [11 empty] | 4-16.1¦normal stress¦Pa
|  | ES | ii | AUV/W-14.1.2 Directivity | [11 empty] | 4-16.2¦shear stress¦Pa
|  | ET | ik | AUV/W-14.1.3 Ultrasonic power | [11 empty] | 4-17.1¦strain¦1
|  | FI | io | AUV/V Vibration | [11 empty] | 4-17.2¦relative linear strain¦1
|  | FJ | is | AUV/V-21 Linear vibration | [11 empty] | 4-17.3¦shear strain¦1
|  | FK | it | AUV/V-21.1 Acceleration measuring instrument | [11 empty] | 4-17.4¦relative volume strain¦1
|  | FM | iu | AUV/V-21.1.1 Frequency response (modulus or phase) | [11 empty] | 4-18¦Poisson number¦1
|  | FO | ja | AUV/V-21.1.2 Shock response (modulus) | [11 empty] | 4-19.1¦modulus of elasticity, Young modulus¦Pa
|  | FR | jv | AUV/V-21.2 Acceleration calibrator | [11 empty] | 4-19.2¦modulus of rigidity, shear modulus¦Pa
|  | GA | ka | AUV/V-21.2.1 Acceleration output (modulus) | [11 empty] | 4-19.3¦modulus of compression, bulk modulus¦Pa
|  | GB | kg | AUV/V-21.2.2 Shock output (modulus) | [11 empty] | 4-20¦compressibility¦Pa-1
|  | GD | ki | AUV/V-21.3 Acceleration measuring chain / accelerometer | [11 empty] | 4-21.1¦second axial moment of area¦m4
|  | GE | kj | AUV/V-21.3.1 Charge sensitivity (modulus or phase) | [11 empty] | 4-21.2¦second polar moment of area¦m4
|  | GF | kk | AUV/V-21.3.2 Shock charge sensitivity (modulus) | [11 empty] | 4-22¦section modulus¦m3
|  | GG | kl | AUV/V-21.3.3 Voltage sensitivity (modulus or phase) | [11 empty] | 4-23.1¦static friction coefficient, static friction factor, coefficient of static friction¦1
|  | GH | km | AUV/V-21.3.4 Shock voltage sensitivity (modulus or phase) | [11 empty] | 4-23.2¦kinetic friction factor, dynamic friction factor¦1
|  | GI | kn | AUV/V-21.3.5 Current sensitivity (modulus or phase) | [11 empty] | 4-23.3¦rolling resistance factor, RRC¦1
|  | GL | ko | AUV/V-21.4 Acceleration measuring chain | [11 empty] | 4-23.4¦drag coefficient, drag factor¦1
|  | GM | kr | AUV/V-21.4.1 Voltage sensitivity (modulus or phase) | [11 empty] | 4-24¦dynamic viscosity, (viscosity)¦Pa.s
|  | GN | ks | AUV/V-21.4.2 Shock sensitivity (modulus) | [11 empty] | 4-25¦kinematic viscosity¦m2.s-1
|  | GP | ku | AUV/V-22 Angular vibration | [11 empty] | 4-26¦surface tension, surface energy¦N.m-1
|  | GQ | kv | AUV/V-22.1 Angular acceleration measuring instrument | [11 empty] | 4-27¦power [mechanics]¦W
|  | GR | kw | AUV/V-22.1.1 Angular acceleration response (modulus) | [11 empty] | 4-28.1¦potential energy¦J
|  | GS | ky | AUV/V-22.1.2 Shock response (modulus) | [11 empty] | 4-28.2¦kinetic energy¦J
|  | GT | la | AUV/V-22.2 Angular acceleration calibrator | [11 empty] | 4-28.3¦mechanical energy¦J
|  | GU | lb | AUV/V-22.2.1 Angular acceleration output (modulus) | [11 empty] | 4-28.4¦mechanical work, work¦J
|  | GW | lg | AUV/V-22.3 Angular acceleration measuring chain / accelerometer | [11 empty] | 4-29¦efficiency [mechanics]¦1
|  | GY | li | AUV/V-22.3.1 Charge sensitivity (modulus or phase) | [11 empty] | 4-30.1¦mass flow¦kg.m-2.s-1
|  | HK | ln | AUV/V-22.3.3 Voltage sensitivity (modulus or phase) | [11 empty] | 4-30.2¦mass flow rate¦kg.s-1
|  | HM | lo | AUV/V-22.3.5 Current sensitivity (modulus or phase) | [11 empty] | 4-30.3¦mass change rate¦kg.s-1
|  | HN | lt | AUV/V-22.4 Angular acceleration measuring chain | [11 empty] | 4-31¦volume flow rate¦m3.s-1
|  | HR | lu | AUV/V-22.4.1 Voltage sensitivity (modulus or phase) | [11 empty] | 4-32¦action¦J.s
|  | HT | lv | AUV/V-23 Dynamic force | [11 empty] | 5-1¦thermodynamic temperature¦K
|  | HU | mg | AUV/V-23.1 Force measuring instrument for mechanical impedance and mobility measurements or modal testing | [11 empty] | 5-2¦Celsius temperature¦℃
|  | ID | mh | AUV/V-23.1.1 Frequency response (modulus or phase) | [11 empty] | 5-3.1¦linear expansion coefficient¦K-1
|  | IE | mi | AUV/V-23.1.2 Shock response (modulus) | [11 empty] | 5-3.2¦cubic expansion coefficient, volumetric expansion coefficient¦K-1
|  | IL | mk | AUV/V-23.2 Force measuring chain / force transducer for mechanical impedance and mobility measurements or modal testing | [11 empty] | 5-3.3¦relative pressure coefficient¦K-1
|  | IM | ml | AUV/V-23.2.1 Charge sensitivity (modulus or phase) | [11 empty] | 5-4¦pressure coefficient¦Pa.K-1
|  | IN | mn | AUV/V-23.2.2 Shock charge sensitivity (modulus or phase) | [11 empty] | 5-5.1¦isothermal compressibility¦Pa-1
|  | IO | mr | AUV/V-23.2.3 Voltage sensitivity (modulus or phase) | [11 empty] | 5-5.2¦isentropic compressibility¦Pa-1
|  | IQ | ms | AUV/V-23.2.4 Shock voltage sensitivity (modulus or phase) | [11 empty] | 5-6.1¦heat, amount of heat¦J
|  | IR | mt | AUV/V-30 AUV auxilary instruments and/or services | [11 empty] | 5-6.2¦latent heat¦J
|  | IS | my | AUV/V-30.1 Vibration signal conditionner | [11 empty] | 5-7¦heat flow rate¦W
|  | IT | na | AUV/V-30.1.1 Charge sensitivity (modulus or phase) | [11 empty] | 5-8¦density of heat flow rate¦W.m-2
|  | JE | nb | AUV/V-30.1.2 Voltage sensitivity (modulus or phase) | [11 empty] | 5-9¦thermal conductivity¦W.m-1.K-1
|  | JM | nd | AUV/V-30.1.3 Current sensitivity (modulus or phase) | [11 empty] | 5-10.1¦coefficient of heat transfer¦W.m-2.K-1
|  | JO | ne | TF/TSD-1 Time scale difference | [11 empty] | 5-10.2¦surface coefficient of heat transfer¦W.m-2.K-1
|  | JP | ng | TF/TSD-1.1 Local clock | [11 empty] | 5-11¦thermal insulance, coefficient of thermal insulance¦m2.K.W-1
|  | KE | nl | TF/TSD-1.1.1 Local clock vs. UTC(NMI) | [11 empty] | 5-12¦thermal resistance¦K.W-1
|  | KG | nn | TF/TSD-1.1.2 Local clock vs. UTC | [11 empty] | 5-13¦thermal conductance¦W.K-1
|  | KH | no | TF/TSD-1.2 Remote clock | [11 empty] | 5-14¦thermal diffusivity¦m2.s-1
|  | KI | nr | TF/TSD-1.2.1 Remote clock vs. UTC(NMI) | [11 empty] | 5-15¦heat capacity¦J.K-1
|  | KM | nv | TF/TSD-1.2.2 Remote clock vs. UTC | [11 empty] | 5-16.1¦specific heat capacity ¦J.kg-1.K-1
|  | KN | ny | TF/F-2 Frequency | [11 empty] | 5-16.2¦specific heat capacity at constant pressure, specific isobaric heat capacity¦J.kg-1.K-1
|  | KP | oc | TF/F-2.1 Standard frequency source | [11 empty] | 5-16.3¦specific heat capacity at constant volume, specific isochoric heat capacity¦J.kg-1.K-1
|  | KR | oj | TF/F-2.1.1 Local frequency standard | [11 empty] | 5-16.4¦specific heat capacity at saturated vapour pressure¦J.kg-1.K-1
|  | KW | om | TF/F-2.1.2 Remote frequency standard | [11 empty] | 5-17.1¦ratio of the specific heat capacities¦1
|  | KY | or | TF/F-2.2 General frequency source | [11 empty] | 5-17.2¦isentropic exponent¦1
|  | KZ | os | TF/F-2.2.1 General frequency source | [11 empty] | 5-18¦entropy¦J.K-1
|  | LA | pa | TF/F-2.3 Frequency meter | [11 empty] | 5-19¦specific entropy¦J.kg-1.K-1
|  | LB | pi | TF/F-2.3.1 Frequency meter | [11 empty] | 5-20.1¦energy [thermodynamics]¦J
|  | LC | pl | TF/TI-3 Time interval | [11 empty] | 5-20.2¦internal energy, thermodynamic energy¦J
|  | LI | ps | TF/TI-3.1 Period source | [11 empty] | 5-20.3¦enthalpy¦J
|  | LK | pt | TF/TI-3.1.1 Period source | [11 empty] | 5-20.4¦Helmholtz energy, Helmholtz function¦J
|  | LR | qu | TF/TI-3.2 Time interval source | [11 empty] | 5-20.5¦Gibbs energy, Gibbs function¦J
|  | LS | rm | TF/TI-3.2.1 Rise - fall time source | [11 empty] | 5-21.1¦specific energy¦J.kg-1
|  | LT | rn | TF/TI-3.2.2 Pulse width source | [11 empty] | 5-21.2¦specific internal energy, specific thermodynamic energy¦J.kg-1
|  | LU | ro | TF/TI-3.2.3 Time difference source | [11 empty] | 5-21.3¦specific enthalpy¦J.kg-1
|  | LV | ru | TF/TI-3.2.4 Delay source | [11 empty] | 5-21.4¦specific Helmholtz energy, specific Helmholtz function¦J.kg-1
|  | LY | rw | TF/TI-3.3 Period meter | [11 empty] | 5-21.5¦specific Gibbs energy, specific Gibbs function¦J.kg-1
|  | MA | sa | TF/TI-3.3.1 Period meter | [11 empty] | 5-22¦Massieu function¦J.K-1
|  | MC | sc | TF/TI-3.4 Time interval meter | [11 empty] | 5-23¦Planck function¦J.K-1
|  | MD | sd | TF/TI-3.4.1 Rise - fall time meter | [11 empty] | 5-24¦Joule-Thomson coefficient¦K.Pa-1
|  | ME | se | TF/TI-3.4.2 Pulse width meter | [11 empty] | 5-25.1¦efficiency [thermodynamics]¦1
|  | MF | sg | TF/TI-3.4.3 Time difference meter | [11 empty] | 5-25.2¦maximum efficiency¦1
|  | MG | si | TF/TI-3.4.4 Delay meter | [11 empty] | 5-26¦specific gas constant¦J.kg-1.K-1
|  | MH | sk | EM/DC DC voltage, current and resistance | [11 empty] | 5-27¦mass concentration of water¦kg.m-3
|  | MK | sl | EM/DC-1 DC voltage (up to 1100 V) | [11 empty] | 5-28¦mass concentration of water vapour, absolute humidity¦kg.m-3
|  | ML | sm | EM/DC-1.1 DC voltage sources | [11 empty] | 5-29¦mass ratio of water to dry matter¦1
|  | MM | sn | EM/DC-1.1.1 Single values | [11 empty] | 5-30¦mass ratio of water vapour to dry gas¦1
|  | MN | so | EM/DC-1.1.2 Low values (below or equal to 10 V) | [11 empty] | 5-31¦mass fraction of water¦1
|  | MO | sq | EM/DC-1.1.3 Intermediate values (from above 10 V up to 1100 V) | [11 empty] | 5-32¦mass fraction of dry matter¦1
|  | MP | sr | EM/DC-1.1.4 Noise voltages | [11 empty] | 5-33¦relative humidity, (RH)¦1
|  | MQ | ss | EM/DC-1.2 DC voltage meters | [11 empty] | 5-34¦relative mass concentration of vapour¦1
|  | MR | st | EM/DC-1.2.1 Very low values (below or equal to 1 mV) | [11 empty] | 5-35¦relative mass ratio of vapour¦1
|  | MS | su | EM/DC-1.2.2 Intermediate values (from above 1 mV up to 1100 V) | [11 empty] | 5-36¦dew-point temperature¦K
|  | MT | sv | EM/DC-1.3 DC voltage ratios | [11 empty] | 6-1¦electric current¦A
|  | MU | sw | EM/DC-1.3.1 Up to 1100 V | [11 empty] | 6-2.1¦electric charge¦C
|  | MV | ta | EM/DC-1.3.2 Attenuation | [11 empty] | 6-2.2¦elementary charge¦C
|  | MW | te | EM/DC-2 DC resistance | [11 empty] | 6-3¦electric charge density, volumic (electric) charge¦C.m-3
|  | MX | tg | EM/DC-2.1 DC resistance standards and sources | [11 empty] | 6-4¦surface density of electric charge, areic (electric) charge¦C.m-2
|  | MY | th | EM/DC-2.1.1 Low values (below or equal to 1 ohm) | [11 empty] | 6-5¦linear density of electric charge, lineic (electric) charge¦C.m-1
|  | MZ | ti | EM/DC-2.1.2 Intermediate values (from above 1 ohm up to 1 megaohm) | [11 empty] | 6-6¦electric dipole moment¦C.m
|  | NA | tk | EM/DC-2.1.3 High values (above 1 megaohm) | [11 empty] | 6-7¦electric polarization¦C.m-2
|  | NC | tl | EM/DC-2.1.4 Standards for high current | [11 empty] | 6-8¦electric current density¦A.m-2
|  | NE | tn | EM/DC-2.1.5 Multiple ranges | [11 empty] | 6-9¦linear electric current density¦A.m-1
|  | NF | to | EM/DC-2.1.6 Temperature, power and pressure coefficients | [11 empty] | 6-10¦electric field strength¦V.m-1
|  | NG | tr | EM/DC-2.2 DC resistance meters | [11 empty] | 6-11.1¦electric potential¦V
|  | NI | ts | EM/DC-2.2.1 Low values (less or equal than 1 ohm) | [11 empty] | 6-11.2¦electric potential difference¦V
|  | NL | tt | EM/DC-2.2.2 Intermediate values (from above 1 ohm up to 1 gigaohm) | [11 empty] | 6-11.3¦voltage, electric tension¦V
|  | NO | tw | EM/DC-2.2.3 High values (above 1 gigaohm) | [11 empty] | 6-11.4¦induced voltage, induced electric tension¦V
|  | NP | ty | EM/DC-2.3 DC resistance ratios | [11 empty] | 6-12¦electric flux density, electric displacement¦C.m-2
|  | NR | ug | EM/DC-2.3.1 DC resistance ratios | [11 empty] | 6-13¦capacitance¦F
|  | NU | uk | EM/DC-3 DC current (up to 100 A) | [11 empty] | 6-14.1¦electric constant, permittivity of vacuum¦F.m-1
|  | NZ | ur | EM/DC-3.1 DC current sources | [11 empty] | 6-14.2¦permittivity¦F.m-1
|  | OM | uz | EM/DC-3.1.1 Low values (below 0.1 mA) | [11 empty] | 6-15¦relative permittivity¦1
|  | PA | ve | EM/DC-3.1.2 Intermediate values (from above 0.1 mA to 20 A) | [11 empty] | 6-16¦electric susceptibility¦1
|  | PE | vi | EM/DC-3.1.3 High values (from above 20 A up to 100 A) | [11 empty] | 6-17¦electric flux¦C
|  | PF | vo | EM/DC-3.1.4 Transconductance ratio | [11 empty] | 6-18¦displacement current density¦A.m-2
|  | PG | wa | EM/DC-3.1.5 Noise currents | [11 empty] | 6-19.1¦displacement current¦A
|  | PH | wo | EM/DC-3.2 DC current meters | [11 empty] | 6-19.2¦total current¦A
|  | PK | xh | EM/DC-3.2.1 Low values (below or equal to 0.1 mA) | [11 empty] | 6-20¦total current density¦A.m-2
|  | PL | yi | EM/DC-3.2.2 Intermediate values (from above 0.1 mA to 20 A) | [11 empty] | 6-21¦magnetic flux density¦T
|  | PM | yo | EM/DC-3.2.3 High values (from above 20 A up to 100 A) | [11 empty] | 6-22.1¦magnetic flux¦Wb
|  | PN | za | EM/DC-3.3 DC current ratios | [11 empty] | 6-22.2¦protoflux¦Wb
|  | PR | zh | EM/DC-3.3.1 Ratios up to 100 A | [11 empty] | 6-22.3¦linked magnetic flux¦Wb
|  | PS | zu | EM/Imped Impedance up to the MegaHertz range | [11 empty] | 6-22.4¦total magnetic flux¦Wb
|  | PT |  | EM/Imped-4 Impedance (up to the MHz range) | [11 empty] | 6-23¦magnetic moment, magnetic area moment¦A.m2
|  | PW |  | EM/Imped-4.1 AC resistance | [11 empty] | 6-24¦magnetization¦A.m-1
|  | PY |  | EM/Imped-4.1.1 Real component and imaginary component | [11 empty] | 6-25¦magnetic field strength, magnetizing field¦A.m-1
|  | QA |  | EM/Imped-4.1.2 AC-DC difference | [11 empty] | 6-26.1¦magnetic constant, permeability of vacuum¦H.m-1
|  | RE |  | EM/Imped-4.1.3 Resistors for high current | [11 empty] | 6-26.2¦permeability¦H.m-1
|  | RO |  | EM/Imped-4.1.4 Meters | [11 empty] | 6-27¦relative permeability¦1
|  | RS |  | EM/Imped-4.1.5 AC resistance ratios | [11 empty] | 6-28¦magnetic susceptibility¦1
|  | RU |  | EM/Imped-4.2 Capacitance | [11 empty] | 6-29¦magnetic polarization¦T
|  | RW |  | EM/Imped-4.2.1 Capacitance and dissipation factor for low loss capacitors | [11 empty] | 6-30¦magnetic dipole moment¦Wb.m
|  | SA |  | EM/Imped-4.2.2 Capacitance and dissipation factor for dielectric capacitors | [11 empty] | 6-31¦coercivity, coercive field strength¦A.m-1
|  | SB |  | EM/Imped-4.2.3 Capacitance and dissipation factor for transformed capacitors | [11 empty] | 6-32¦magnetic vector potential¦J.A-1.m-1
|  | SC |  | EM/Imped-4.2.4 Meters | [11 empty] | 6-33¦electromagnetic energy density¦J.m-3
|  | SD |  | EM/Imped-4.3 Inductance | [11 empty] | 6-34¦Poynting vector¦W.m-2
|  | SE |  | EM/Imped-4.3.1 Self inductance, low values (below 1 mH) | [11 empty] | 6-35.1¦phase speed of electromagnetic waves¦m.s-1
|  | SG |  | EM/Imped-4.3.2 Self inductance, intermediate values (from 1 mH up to 1 H) | [11 empty] | 6-35.2¦speed of light in vacuum, light speed in vacuum, luminal speed¦m.s-1
|  | SH |  | EM/Imped-4.3.3 Self inductance, high values (above 1 H) | [11 empty] | 6-36¦source voltage, source tension¦V
|  | SI |  | EM/Imped-4.3.4 Mutual inductance | [11 empty] | 6-37.1¦magnetic potential¦A
|  | SJ |  | EM/Imped-4.3.5 Meters | [11 empty] | 6-37.2¦magnetic tension¦A
|  | SK |  | EM/Imped-4.3.6 Quality factor | [11 empty] | 6-37.3¦magnetomotive force¦A
|  | SL |  | EM/AC AC voltage, current and power | [11 empty] | 6-38¦number of turns in a winding¦1
|  | SM |  | EM/AC-5 AC voltage (up to the MHz range) | [11 empty] | 6-39¦reluctance¦H-1
|  | SN |  | EM/AC-5.1 AC-DC voltage transfer | [11 empty] | 6-40¦permeance¦H
|  | SO |  | EM/AC-5.1.1 AC-DC transfer difference at low voltages (less or equal to 0.5 V) | [11 empty] | 6-41.1¦inductance, self-inductance¦H
|  | SR |  | EM/AC-5.1.2 AC-DC transfer difference at medium voltages (0.5 V to 5 V) | [11 empty] | 6-41.2¦mutual inductance¦H
|  | SS |  | EM/AC-5.1.3 AC-DC transfer difference at higher voltages (greater than 5 V) | [11 empty] | 6-42.1¦coupling factor¦1
|  | ST |  | EM/AC-5.2 AC voltage up to 1100 V | [11 empty] | 6-42.2¦leakage factor¦1
|  | SV |  | EM/AC-5.2.1 Sources | [11 empty] | 6-43¦conductivity¦S.m-1
|  | SX |  | EM/AC-5.2.2 Meters | [11 empty] | 6-44¦resistivity¦Ω.m
|  | SY |  | EM/AC-5.3 AC voltage ratio up to 1100 V, atten and gain | [11 empty] | 6-45¦power, instantaneous power¦W
|  | SZ |  | EM/AC-5.3.1 Real component and imaginary component | [11 empty] | 6-46¦resistance¦Ω
|  | TC |  | EM/AC-5.3.2 Attenuation and gain | [11 empty] | 6-47¦conductance¦S
|  | TD |  | EM/AC-6 AC current | [11 empty] | 6-48¦phase difference¦rad
|  | TF |  | EM/AC-6.1 AC-DC current transfer | [11 empty] | 6-49¦electric current phasor¦A
|  | TG |  | EM/AC-6.1.1 AC-DC transfer difference | [11 empty] | 6-50¦voltage phasor, electric tension phasor¦V
|  | TH |  | EM/AC-6.2 AC current up to 100 A | [11 empty] | 6-51.1¦impedance, complex impedance¦Ω
|  | TJ |  | EM/AC-6.2.1 Sources | [11 empty] | 6-51.2¦impedance of vacuum, wave impedance of vacuum¦V.A-1
|  | TK |  | EM/AC-6.2.2 Meters | [11 empty] | 6-51.3¦resistance¦Ω
|  | TL |  | EM/AC-6.3 AC current ratio up to 100 A | [11 empty] | 6-51.4¦reactance¦Ω
|  | TM |  | EM/AC-6.3.1 Real component and imaginary component | [11 empty] | 6-51.5¦apparent impedance, (modulus of impedance)¦Ω
|  | TN |  | EM/AC-7 AC power | [11 empty] | 6-52.1¦admittance, complex admittance¦S
|  | TO |  | EM/AC-7.1 AC power and energy | [11 empty] | 6-52.2¦admittance of vacuum¦A.V-1
|  | TR |  | EM/AC-7.1.1 Single phase power at frequencies less or equal to 400 Hz | [11 empty] | 6-52.3¦conductance (for complex impedance)¦S
|  | TT |  | EM/AC-7.1.2 Single phase power at frequencies great than 400 Hz | [11 empty] | 6-52.4¦susceptance¦S
|  | TV |  | EM/AC-7.1.3 Three phase | [11 empty] | 6-52.5¦apparent admittance, modulus of admittance¦S
|  | TW |  | EM/HV High voltage and current | [11 empty] | 6-53¦quality factor¦1
|  | TZ |  | EM/HV-8 High voltage and current | [11 empty] | 6-54¦loss factor, dissipation factor¦1
|  | UA |  | EM/HV-8.1 High DC voltage | [11 empty] | 6-55¦loss angle¦rad
|  | UG |  | EM/HV-8.1.1 High voltage sources | [11 empty] | 6-56¦active power¦W
|  | UM |  | EM/HV-8.1.2 High voltage meters | [11 empty] | 6-57¦apparent power¦V.A
|  | US |  | EM/HV-8.1.3 Ratios | [11 empty] | 6-58¦power factor¦1
|  | UY |  | EM/HV-8.1.4 Average value of DC voltage | [11 empty] | 6-59¦complex power¦V.A
|  | UZ |  | EM/HV-8.1.5 RMS value of DC voltage ripple | [11 empty] | 6-60¦reactive power¦V.A
|  | VA |  | EM/HV-8.2 High voltage impedance | [11 empty] | 6-61¦non-active power¦V.A
|  | VC |  | EM/HV-8.2.1 Capacitance and dissipation factor | [11 empty] | 6-62¦active energy¦J
|  | VE |  | EM/HV-8.2.2 Inductance and loss angle | [11 empty] | 7-1.1¦speed of light in a medium¦m.s-1
|  | VG |  | EM/HV-8.2.3 Burden: real and imaginary component (real component/imaginary component/modulus/argument) | [11 empty] | 7-1.2¦refractive index¦1
|  | VI |  | EM/HV-8.2.4 Resistance | [11 empty] | 7-2.1¦radiant energy [electromagnetism]¦J
|  | VN |  | EM/HV-8.3 AC high voltage and voltage transformers | [11 empty] | 7-2.2¦spectral radiant energy¦J.m-1
|  | VU |  | EM/HV-8.3.1 Sources | [11 empty] | 7-3.1¦radiant energy density¦J.m-3
|  | WF |  | EM/HV-8.3.2 Meters | [11 empty] | 7-3.2¦spectral radiant energy density in terms of wavelength¦J.m-4
|  | WS |  | EM/HV-8.3.3 Peak values | [11 empty] | 7-3.3¦spectral radiant energy density in terms of wavenumber¦J.m-2
|  | YE |  | EM/HV-8.3.4 Voltage transformers: ratio error and phase displacement | [11 empty] | 7-4.1¦radiant flux, radiant power¦W
|  | YT |  | EM/HV-8.3.5 RMS value for high AC voltage | [11 empty] | 7-4.2¦spectral radiant flux, spectral radiant power¦W.m-1
|  | ZA |  | EM/HV-8.3.6 Rectified average value of high AC voltage | [11 empty] | 7-5.1¦radiant intensity¦W.sr-1
|  | ZM |  | EM/HV-8.4 Pulsed high voltage and current | [11 empty] | 7-5.2¦spectral radiant intensity¦W.sr-1.m-1
|  | ZW |  | EM/HV-8.4.1 Parameters for lightning impulse voltage (see list in the bottom of KCDB home page) | [11 empty] | 7-6.1¦radiance¦W.sr-1.m-2
|  |  |  | EM/HV-8.4.3 Parameters for switching impulse voltage (see list in the bottom of KCDB home page) | [11 empty] | 7-6.2¦spectral radiance¦W.sr-1.m-3
|  |  |  | EM/HV-8.4.5 Impulse current parameters | [11 empty] | 7-7.1¦irradiance¦W.m-2
|  |  |  | EM/HV-8.4.9 Parameters for other impulse voltage types (see list in the bottom of KCDB home page) | [11 empty] | 7-7.2¦spectral irradiance¦W.m-3
|  |  |  | EM/HV-8.5 Electric discharge | [11 empty] | 7-8.1¦radiant exitance, (radiant emittance DEPRICATED)¦W.m-2
|  |  |  | EM/HV-8.5.1 Apparent charge | [11 empty] | 7-8.2¦spectral radiant exitance¦W.m-3
|  |  |  | EM/HV-8.5.2 Response | [11 empty] | 7-9.1¦radiant exposure¦J.m-2
|  |  |  | EM/HV-8.5.3 Rise time of partial discharge pulse | [11 empty] | 7-9.2¦spectral radiant exposure¦J.m-3
|  |  |  | EM/HV-8.6 High AC current and current transformers | [11 empty] | 7-10.1¦luminous efficiency [specified photometric condition]¦1
|  |  |  | EM/HV-8.6.3 Current transformers: ratio error and phase displacement | [11 empty] | 7-10.2¦spectral luminous efficiency [specified photometric condition]¦1
|  |  |  | EM/HV-8.6.5 High AC current RMS value | [11 empty] | 7-11.1¦luminous efficacy of radiation [specified photometric condition]¦lm.W-1
|  |  |  | EM/HV-8.6.6 Other AC current parameters (see list in the bottom of KCDB home page) | [11 empty] | 7-11.2¦spectral luminous efficacy [specified photometric condition]¦lm.W-1
|  |  |  | EM/HV-8.7 High DC current | [11 empty] | 7-11.3¦maximum luminous efficacy [specified photometric condition]¦lm.W-1
|  |  |  | EM/HV-8.7.3 Ratios | [11 empty] | 7-11.4¦luminous efficacy of a source¦lm.W-1
|  |  |  | EM/HV-8.7.4 High DC current average value | [11 empty] | 7-12¦luminous energy, (DEPRECATED: quantity of light)¦lm.s
|  |  |  | EM/OtherDC Other DC and low frequency measurements | [11 empty] | 7-13¦luminous flux¦lm
|  |  |  | EM/OtherDC-9 Other DC and low frequency measurements | [11 empty] | 7-14¦luminous intensity¦cd
|  |  |  | EM/OtherDC-9.1 Electric charge | [11 empty] | 7-15¦luminance¦cd.m-2
|  |  |  | EM/OtherDC-9.1.1 Sources | [11 empty] | 7-16¦illuminance¦lx
|  |  |  | EM/OtherDC-9.1.2 Meters | [11 empty] | 7-17¦luminous exitance¦lm.m-2
|  |  |  | EM/OtherDC-9.2 Phase angle | [11 empty] | 7-18¦luminous exposure, (DEPRECATED: quantity of illumination, light exposure)¦lx.s
|  |  |  | EM/OtherDC-9.2.1 Sources | [11 empty] | 7-19.1¦photon number, number of photons¦1
|  |  |  | EM/OtherDC-9.2.2 Meters | [11 empty] | 7-19.2¦photon energy¦J
|  |  |  | EM/OtherDC-9.2.3 Phase shift | [11 empty] | 7-20¦photon flux¦s-1
|  |  |  | EM/OtherDC-9.3 Current and voltage waveform | [11 empty] | 7-21¦photon intensity¦s-1.sr-1
|  |  |  | EM/OtherDC-9.3.1 Main frequency current harmonics | [11 empty] | 7-22¦photon radiance¦m-2.s-1.sr-1
|  |  |  | EM/OtherDC-9.3.2 Voltage harmonic distorsion | [11 empty] | 7-23¦photon irradiance¦m-2.s-1
|  |  |  | EM/OtherDC-9.3.4 Mains frequency fluctuating harmonics (see list in the bottom of KCDB home page) | [11 empty] | 7-24¦photon exitance¦m-2.s-1
|  |  |  | EM/OtherDC-9.3.5 Mains frequency voltage fluctuations (see list in the bottom of KCDB home page) | [11 empty] | 7-25¦photon exposure¦m-2
|  |  |  | EM/OtherDC-9.3.7 Mains frequency interharmonics | [11 empty] | 7-26.1¦tristimulus values for the CIE 1931 standard colorimetric observer¦-
|  |  |  | EM/Field Electric and magnetic fields | [11 empty] | 7-26.2¦tristimulus values for the CIE 1964 standard colorimetric observer¦-
|  |  |  | EM/Field-10 Electric and magnetic fields | [11 empty] | 7-27.1¦CIE colour-matching functions for the CIE 1931 standard colorimetric observer¦1
|  |  |  | EM/Field-10.1 Electric fields at freq. below 50 kHz | [11 empty] | 7-27.2¦CIE colour-matching functions for the CIE 1964 standard colorimetric observer¦1
|  |  |  | EM/Field-10.1.1 Electrostatic field strength | [11 empty] | 7-28.1¦chromaticity coordinates in the CIE 1931 standard¦1
|  |  |  | EM/Field-10.1.2 Electric field strength | [11 empty] | 7-28.2¦chromaticity coordinates in the CIE 1964 standard¦1
|  |  |  | EM/Field-10.2 Magnetic fields at freq. below 50 kHz | [11 empty] | 7-29.1¦colour temperature¦K
|  |  |  | EM/Field-10.2.1 Magnetic flux | [11 empty] | 7-29.2¦correlated colour temperature¦K
|  |  |  | EM/Field-10.2.2 DC magnetic flux density and applied magnetic field strength | [11 empty] | 7-30.1¦emissivity¦1
|  |  |  | EM/Field-10.2.3 AC magnetic flux density and applied magnetic field strength | [11 empty] | 7-30.2¦emissivity at a specified wavelength¦1
|  |  |  | EM/Field-10.2.4 DC shielding factor (ratio of DC magnetic flux density) | [11 empty] | 7-31.1¦absorptance¦1
|  |  |  | EM/Field-10.2.5 AC shielding factor (ratio of AC magnetic flux density) | [11 empty] | 7-31.2¦luminous absorptance¦1
|  |  |  | EM/Field-10.2.6 Turn area (ratio of magnetic flux and magnetic flux density) | [11 empty] | 7-31.3¦reflectance, spectral reflectance¦1
|  |  |  | EM/Field-10.2.7 Magnetic flux density or magnetic field strength per unit current | [11 empty] | 7-31.4¦luminous reflectance¦1
|  |  |  | EM/Field-10.2.8 Magnetic field gradient | [11 empty] | 7-31.5¦transmittance¦1
|  |  |  | EM/Field-10.3 Electromagnetic fields at freq. above 50 kHz | [11 empty] | 7-31.6¦luminous transmittance¦1
|  |  |  | EM/Field-10.3.1 Electric field strength | [11 empty] | 7-32.1¦transmittance optical density, optical density, decadic absorbance¦1
|  |  |  | EM/Field-10.3.2 Magnetic field strength | [11 empty] | 7-32.2¦Napierian absorbance¦1
|  |  |  | EM/Field-10.3.3 Power flux density | [11 empty] | 7-33.1¦radiance factor, (vs perfect diffuser) ¦1
|  |  |  | EM/Field-10.3.4 Magnetic flux density | [11 empty] | 7-33.2¦luminance factor, spectral luminance factor ¦1
|  |  |  | EM/Field-10.3.5 Magnetic field strength per unit current | [11 empty] | 7-34¦reflectance factor, (vs perfect diffuser)¦1
|  |  |  | EM/Field-10.3.6 Turn area (ratio of magnetic flux and magnetic flux density) | [11 empty] | 7-35.1¦linear attenuation coefficient, linear extinction coefficient [radiometry]¦m-1
|  |  |  | EM/RF Radio frequency measurements | [11 empty] | 7-35.2¦linear absorption coefficient [radiometry]¦m-1
|  |  |  | EM/RF-11 Radio frequency measurements | [11 empty] | 7-36.1¦mass attenuation coefficient [radiometry]¦kg-1.m2
|  |  |  | EM/RF-11.1 RF power | [11 empty] | 7-36.2¦mass absorption coefficient [radiometry]¦kg-1.m2
|  |  |  | EM/RF-11.1.1 Absolute power in coaxial line | [11 empty] | 7-37¦molar absorption coefficient [radiometry]¦m2.mol-1
|  |  |  | EM/RF-11.1.2 Absolute power in waveguide | [11 empty] | 8-1¦frequency range, logarithmic¦1
|  |  |  | EM/RF-11.1.3 Calibration factor and effective efficiency in coaxial line | [11 empty] | 8-2.1¦static pressure¦Pa
|  |  |  | EM/RF-11.1.4 Calibration factor and effective efficiency in waveguide | [11 empty] | 8-2.2¦sound pressure¦Pa
|  |  |  | EM/RF-11.1.5 Non-CW power (absolute or relative) | [11 empty] | 8-3¦sound particle displacement¦m
|  |  |  | EM/RF-11.1.6 Power measurements in balanced lines | [11 empty] | 8-4¦sound particle velocity¦m.s-1
|  |  |  | EM/RF-11.2 Scalar RF reflection coef. and attenuation | [11 empty] | 8-5¦sound particle acceleration¦m.s-2
|  |  |  | EM/RF-11.2.1 Reflection coefficient in coaxial line (values in linear terms) | [11 empty] | 8-6¦volume velocity, volume flow rate¦m3.s-1
|  |  |  | EM/RF-11.2.2 Reflection coefficient in waveguide (values in linear terms) | [11 empty] | 8-7¦sound energy density¦J.m-3
|  |  |  | EM/RF-11.2.3 Attenuation in coaxial line (values in dB) | [11 empty] | 8-8¦sound energy¦J
|  |  |  | EM/RF-11.2.4 Attenuation in waveguide (values in dB) | [11 empty] | 8-9¦sound power¦W
|  |  |  | EM/RF-11.2.5 Directivity, effective source match | [11 empty] | 8-10¦sound intensity¦W.m-2
|  |  |  | EM/RF-11.2.6 Reflection and attenuation measurements in balanced lines | [11 empty] | 8-11¦sound exposure¦Pa2.s
|  |  |  | EM/RF-11.3 Scattering parameters (vectors) | [11 empty] | 8-12¦characteristic impedance for longitudinal waves¦Pa.s.m-1
|  |  |  | EM/RF-11.3.1 Reflection coefficient in coaxial line (real and imaginary) | [11 empty] | 8-13¦acoustic impedance¦Pa.s.m-3
|  |  |  | EM/RF-11.3.2 Reflection coefficient in waveguide (real and imaginary) | [11 empty] | 8-14¦sound pressure level¦dB
|  |  |  | EM/RF-11.3.3 Transmission coefficient in coaxial line (real and imaginary) | [11 empty] | 8-15¦sound power level¦dB
|  |  |  | EM/RF-11.3.4 Transmission coefficient in waveguide (real and imaginary) | [11 empty] | 8-16¦sound exposure level¦dB
|  |  |  | EM/RF-11.3.5 Directivity, effective source match | [11 empty] | 8-17¦reverberation time¦s
|  |  |  | EM/RF-11.3.6 Reflection coefficient for common mode systems | [11 empty] | 9-1¦number of entities¦1
|  |  |  | EM/RF-11.3.7 Transmission coefficient for common mode systems | [11 empty] | 9-2¦amount of substance, (DEPRECATED: number of moles)¦mol
|  |  |  | EM/RF-11.3.8 Reflection coefficient (Sii) in planar line systems | [11 empty] | 9-3¦relative atomic mass¦1
|  |  |  | EM/RF-11.3.9 Transmission coefficient (Sij) in planar line systems | [11 empty] | 9-4¦molar mass¦kg.mol-1
|  |  |  | EM/RF-11.4 Noise | [11 empty] | 9-5¦molar volume¦m3.mol-1
|  |  |  | EM/RF-11.4.1 Noise temperature or excess noise ratio in coaxial line | [11 empty] | 9-6.1¦molar internal energy¦J.mol-1
|  |  |  | EM/RF-11.4.2 Noise temperature or excess noise ratio in waveguide | [11 empty] | 9-6.2¦molar enthalpy¦J.mol-1
|  |  |  | EM/RF-11.4.3 Amplifier noise parameters | [11 empty] | 9-6.3¦molar Helmholtz energy¦J.mol-1
|  |  |  | EM/RF-11.4.4 Phase noise | [11 empty] | 9-6.4¦molar Gibbs energy¦J.mol-1
|  |  |  | EM/RF-11.4.5 Radio brightness temperature, spectral radiance in free space | [11 empty] | 9-7¦molar heat capacity¦J.mol-1.K-1
|  |  |  | EM/RF-11.5 Antenna properties | [11 empty] | 9-8¦molar entropy¦J.mol-1.K-1
|  |  |  | EM/RF-11.5.1 Antenna factor | [11 empty] | 9-9.1¦particle concentration¦m-3
|  |  |  | EM/RF-11.5.2 Antenna gain | [11 empty] | 9-9.2¦molecular concentration¦m-3
|  |  |  | EM/RF-11.5.3 Other properties (pattern, beam width, . . .) | [11 empty] | 9-10¦mass concentration¦kg.m-3
|  |  |  | EM/RF-11.6 Signal and pulse characteristics | [11 empty] | 9-11¦mass fraction¦1
|  |  |  | EM/RF-11.6.1 Pulse amplitude | [11 empty] | 9-12.1¦amount-of-substance concentration¦mol.m-3
|  |  |  | EM/RF-11.6.2 Pulse time parameters | [11 empty] | 9-12.2¦standard amount-of-substance concentration¦mol.m-3
|  |  |  | EM/RF-11.6.3 Modulation, AM and FM | [11 empty] | 9-13¦amount-of-substance fraction¦1
|  |  |  | EM/RF-11.6.4 Distorsion and harmonic content | [11 empty] | 9-14¦volume fraction¦1
|  |  |  | EM/RF-11.7 RF voltage and current | [11 empty] | 9-15¦molality¦mol.kg-1
|  |  |  | EM/RF-11.7.1 RF-DC difference | [11 empty] | 9-16¦latent heat of phase transition, enthalpy of phase transition¦J
|  |  |  | EM/RF-11.7.2 RF voltage sources | [11 empty] | 9-17¦chemical potential [chemistry]¦J.mol-1
|  |  |  | EM/RF-11.7.3 RF voltage meters | [11 empty] | 9-18¦absolute activity¦1
|  |  |  | EM/RF-11.7.4 RF current | [11 empty] | 9-19¦partial pressure¦Pa
|  |  |  | EM/RF-11.7.5 RF transfer impedance | [11 empty] | 9-20¦fugacity¦Pa
|  |  |  | EM/RF-11.7.6 RF voltage division factor | [11 empty] | 9-21¦standard chemical potential¦J.mol-1
|  |  |  | EM/RF-11.7.7 RF coupling factor | [11 empty] | 9-22¦activity factor¦1
|  |  |  | EM/RF-11.7.8 Flatness of RF voltage sources | [11 empty] | 9-23¦standard absolute activity (in a mixture)¦1
|  |  |  | EM/RF-11.7.9 Flatness of RF voltage meters | [11 empty] | 9-24¦activity of solute, relative activity of solute¦1
|  |  |  | EM/RF-11.8 Lumped impedance - admittance | [11 empty] | 9-25¦activity coefficient¦1
|  |  |  | EM/RF-11.8.1 Resistance or conductance | [11 empty] | 9-26¦standard absolute activity (in a solution)¦1
|  |  |  | EM/RF-11.8.2 Inductance | [11 empty] | 9-27.1¦activity of solvent, relative activity of solvent¦1
|  |  |  | EM/RF-11.8.3 Capacitance | [11 empty] | 9-27.2¦osmotic factor of solvent, osmotic coefficient of solvent A¦-
|  |  |  | EM/RF-11.8.4 Quality factor | [11 empty] | 9-27.3¦standard absolute activity of solvent (in a dilute solution)¦-
|  |  |  | EM/RF-11.9 RF characteristic impedance | [11 empty] | 9-28¦osmotic pressure¦Pa
|  |  |  | EM/RF-11.9.1 Mechanical dimensions | [11 empty] | 9-29¦stoichiometric number of substance¦1
|  |  |  | EM/RF-11.9.2 Electrical parameters | [11 empty] | 9-30¦affinity of a chemical reaction¦J.mol-1
|  |  |  | EM/Mater Materials | [11 empty] | 9-31¦extent of reaction¦mol
|  |  |  | EM/Mater-12 Measurements on materials | [11 empty] | 9-32¦standard equilibrium constant, thermodynamic equilibrium constant¦1
|  |  |  | EM/Mater-12.1 Electrical conductivity | [11 empty] | 9-33¦equilibrium constant (pressure basis)¦-
|  |  |  | EM/Mater-12.1.1 Metallic materials | [11 empty] | 9-34¦equilibrium constant (concentration basis)¦-
|  |  |  | EM/Mater-12.1.2 Liquids | [11 empty] | 9-35.1¦microcanonical partition function¦1
|  |  |  | EM/Mater-12.1.3 Semiconducting and similar materials | [11 empty] | 9-35.2¦canonical partition function¦1
|  |  |  | EM/Mater-12.2 Dielectric properties | [11 empty] | 9-35.3¦grand canonical partition function, grand partition function¦1
|  |  |  | EM/Mater-12.2.1 Relative permittivity: real and - or imaginary part | [11 empty] | 9-35.4¦molecular partition function, partition function of a molecule¦1
|  |  |  | EM/Mater-12.2.2 Dielectric loss tangent | [11 empty] | 9-36.1¦statistical weight of subsystem¦1
|  |  |  | EM/Mater-12.3 Soft magnetic sheet and powder materials | [11 empty] | 9-36.2¦degeneracy, multiplicity¦1
|  |  |  | EM/Mater-12.3.1 Specific total power loss | [11 empty] | 9-37.1¦molar gas constant¦J.mol-1.K-1
|  |  |  | EM/Mater-12.3.2 Peak value of DC magnetic polarisation | [11 empty] | 9-37.2¦specific gas constant¦J.kg-1.K-1
|  |  |  | EM/Mater-12.3.3 Peak value of AC magnetic polarisation | [11 empty] | 9-38¦mean free path [chemistry]¦m
|  |  |  | EM/Mater-12.3.4 Peak value of magnetic field strength | [11 empty] | 9-39¦diffusion coefficient [chemistry]¦m2.s-1
|  |  |  | EM/Mater-12.3.5 RMS value of magnetic field strength | [11 empty] | 9-40.1¦thermal diffusion ratio¦1
|  |  |  | EM/Mater-12.3.6 Specific apparent power | [11 empty] | 9-40.2¦thermal diffusion factor¦1
|  |  |  | EM/Mater-12.3.7 Relative peak permeability | [11 empty] | 9-41¦thermal diffusion coefficient¦m2.s-1
|  |  |  | EM/Mater-12.3.8 Complex relative permeability | [11 empty] | 9-42¦ionic strength¦mol.kg-1
|  |  |  | EM/Mater-12.3.9 Density | [11 empty] | 9-43¦degree of dissociation, dissociation fraction¦1
|  |  |  | EM/Mater-12.3.10 Resistivity | [11 empty] | 9-44¦electrolytic conductivity¦S.m-1
|  |  |  | EM/Mater-12.4 Soft magnetic bulk material | [11 empty] | 9-45¦molar conductivity ¦S.m2.mol-1
|  |  |  | EM/Mater-12.4.1 Magnetic polarisation | [11 empty] | 9-46¦transport number of the ion B, current fraction of the ion B¦1
|  |  |  | EM/Mater-12.4.2 Magnetic field strength | [11 empty] | 9-47¦angle of optical rotation¦rad
|  |  |  | EM/Mater-12.4.3 Remanent magnetic flux density | [11 empty] | 9-48¦molar optical rotary power¦rad.m2.mol-1
|  |  |  | EM/Mater-12.4.4 Coercive magnetic field strength | [11 empty] | 9-49¦specific optical rotary power¦rad.m2.kg-1
|  |  |  | EM/Mater-12.4.5 Magnetic saturation polarisation | [11 empty] | 10-1.1¦atomic number, proton number¦1
|  |  |  | EM/Mater-12.4.6 Relative permeability | [11 empty] | 10-1.2¦neutron number¦1
|  |  |  | EM/Mater-12.5 Feebly magnetic, paramagnetic and diamagnetic material | [11 empty] | 10-1.3¦nucleon number, mass number¦1
|  |  |  | EM/Mater-12.5.1 DC magnetic susceptibility or relative magnetic permeability | [11 empty] | 10-2¦rest mass, proper mass¦kg
|  |  |  | EM/Mater-12.6 Hard magnetic material | [11 empty] | 10-3¦rest energy¦J
|  |  |  | EM/Mater-12.6.1 Remanent magnetic flux density | [11 empty] | 10-4.1¦atomic mass¦kg
|  |  |  | EM/Mater-12.6.2 Coercive field strength | [11 empty] | 10-4.2¦nuclidic mass¦kg
|  |  |  | EM/Mater-12.6.3 Maximum energy product | [11 empty] | 10-4.3¦unified atomic mass constant¦kg
|  |  |  | EM/Mater-12.6.4 Magnetic moment | [11 empty] | 10-5.1¦elementary charge¦C
|  |  |  | EM/Mater-12.6.5 Magnetic flux density | [11 empty] | 10-5.2¦charge number, ionization number¦1
|  |  |  | EM/Mater-12.6.6 Magnetic polarisation | [11 empty] | 10-6¦Bohr radius¦m
|  |  |  | EM/Mater-12.6.7 Relative recoil permeability | [11 empty] | 10-7¦Rydberg constant¦m-1
|  |  |  | EM/Mater-12.7 Magnetic data storage media | [11 empty] | 10-8¦Hartree energy¦J
|  |  |  | EM/Mater-12.7.1 Signal amplitude of magnetic stripes | [11 empty] | 10-9.1¦magnetic dipole moment [atomic physics]¦m2.A
|  |  |  | EM/Mater-12.7.2 Surface profile of magnetic stripes | [11 empty] | 10-9.2¦Bohr magneton¦m2.A
|  |  |  | EM/Mater-12.7.3 Reference field of diskettes | [11 empty] | 10-9.3¦nuclear magneton¦m2.A
|  |  |  | EM/Mater-12.7.4 Signal amplitude of diskettes | [11 empty] | 10-10¦spin¦kg.m2.s-1
|  |  |  | EM/Mater-12.7.5 Resolution of diskettes | [11 empty] | 10-11¦total angular momentum¦J.s
|  |  |  | EM/Mater-12.7.6 Peak shift of diskettes | [11 empty] | 10-12.1¦gyromagnetic ratio, magnetogyric ratio, gyromagnetic coefficient¦T-1.s-1
|  |  |  | EM/Mater-12.7.7 Overwrite of diskettes | [11 empty] | 10-12.2¦gyromagnetic ratio (coefficient) of the electron, magnetogyric ratio of the electron¦T-1.s-1
|  |  |  | EM/Mater-12.7.8 Video and audio tapes | [11 empty] | 10-13.1¦quantum number¦1
|  |  |  | M/Mass Mass | [11 empty] | 10-13.2¦principal quantum number¦1
|  |  |  | M/Mass-1 Mass | [11 empty] | 10-13.3¦orbital angular momentum quantum number¦1
|  |  |  | M/Mass-1.1 Mass standard | [11 empty] | 10-13.4¦magnetic quantum number¦1
|  |  |  | M/Mass-1.1.1 Mass standard | [11 empty] | 10-13.5¦spin quantum number¦1
|  |  |  | M/Dens Density | [11 empty] | 10-13.6¦total angular momentum quantum number¦1
|  |  |  | M/Dens-2 Density | [11 empty] | 10-13.7¦nuclear spin quantum number¦1
|  |  |  | M/Dens-2.1 Density of solid | [11 empty] | 10-13.8¦hyperfine structure quantum number¦1
|  |  |  | M/Dens-2.1.1 Density of solid | [11 empty] | 10-14.1¦Landé factor, g factor of atom¦1
|  |  |  | M/Dens-2.1.2 Volume of solid | [11 empty] | 10-14.2¦g factor of nucleus or nuclear particle¦1
|  |  |  | M/Dens-2.2 Density of liquid | [11 empty] | 10-15.1¦Larmor angular frequency¦rad.s-1
|  |  |  | M/Dens-2.2.1 Density measuring device | [11 empty] | 10-15.2¦Lamor frequency¦s-1
|  |  |  | M/Dens-2.2.2 Density of liquid | [11 empty] | 10-15.3¦nuclear precession angular frequency¦rad.s-1
|  |  |  | M/Dens-2.3 Refractive index of liquid | [11 empty] | 10-16¦cyclotron angular frequency¦rad.s-1
|  |  |  | M/Dens-2.3.3 Refractive indix of liquid | [11 empty] | 10-17¦gyroradius, Larmor radius¦m
|  |  |  | M/Pres Pressure | [11 empty] | 10-18¦nuclear quadrupole moment¦m2
|  |  |  | M/Pres-3 Pressure | [11 empty] | 10-19.1¦nuclear radius¦m
|  |  |  | M/Pres-3.1 Absolute pressure | [11 empty] | 10-19.2¦electron radius¦m
|  |  |  | M/Pres-3.1.1 Gas medium | [11 empty] | 10-20¦Compton wavelength¦m
|  |  |  | M/Pres-3.1.2 Liquid medium | [11 empty] | 10-21.1¦mass excess¦kg
|  |  |  | M/Pres-3.2 Gauge pressure | [11 empty] | 10-21.2¦mass defect¦kg
|  |  |  | M/Pres-3.2.1 Gas medium | [11 empty] | 10-22.1¦relative mass excess¦1
|  |  |  | M/Pres-3.2.2 Liquid medium | [11 empty] | 10-22.2¦relative mass defect¦1
|  |  |  | M/Pres-3.3 Differential pressure | [11 empty] | 10-23.1¦packing fraction¦1
|  |  |  | M/Pres-3.3.1 Gas medium | [11 empty] | 10-23.2¦binding fraction¦1
|  |  |  | M/Pres-3.3.2 Liquid medium | [11 empty] | 10-24¦decay constant, disintegration constant¦s-1
|  |  |  | M/Pres-3.4 Dynamic pressure | [11 empty] | 10-25¦mean duration of life, mean life time [atomic and nuclear physics]¦s
|  |  |  | M/Pres-3.4.1 Gas medium | [11 empty] | 10-26¦level width¦J
|  |  |  | M/Pres-3.4.2 Liquid medium | [11 empty] | 10-27¦activity¦Bq
|  |  |  | M/Force Force | [11 empty] | 10-28¦specific activity, massic activity¦Bq.kg-1
|  |  |  | M/Force-4 Force | [11 empty] | 10-29¦activity density, volumic activity, activity concentration¦Bq.m-3
|  |  |  | M/Force-4.1 Tension | [11 empty] | 10-30¦surface-activity density¦Bq.m-2
|  |  |  | M/Force-4.1.1 Tension | [11 empty] | 10-31¦half life¦s
|  |  |  | M/Force-4.2 Compression | [11 empty] | 10-32¦alpha disintegration energy¦J
|  |  |  | M/Force-4.2.1 Compression | [11 empty] | 10-33¦maximum beta-particle energy¦J
|  |  |  | M/Force-4.3 Tension and compression | [11 empty] | 10-34¦beta disintegration energy¦J
|  |  |  | M/Force-4.3.1 Tension and compression | [11 empty] | 10-35¦internal conversion factor¦1
|  |  |  | M/Tor Torque | [11 empty] | 10-36¦particle emission rate¦1
|  |  |  | M/Tor-5 Torque | [11 empty] | 10-37.1¦reaction energy¦J
|  |  |  | M/Tor-5.1 Torque | [11 empty] | 10-37.2¦resonance energy¦J
|  |  |  | M/Tor-5.1.1 Torque | [11 empty] | 10-38.1¦cross section [atomic physics]¦m2
|  |  |  | M/Vis Viscosity | [11 empty] | 10-38.2¦total cross section [atomic physics]¦m2
|  |  |  | M/Vis-6 Viscosity | [11 empty] | 10-39¦direction distribution of cross section [atomic physics]¦m2.sr-1
|  |  |  | M/Vis-6.1 Certified Newtonian reference liquids | [11 empty] | 10-40¦energy distribution of cross section [atomic physics]¦m2.J
|  |  |  | M/Vis-6.1.1 Certified Newtonian reference liquids | [11 empty] | 10-41¦direction and energy distribution of cross section [atomic physics]¦m2.J-1.sr-1
|  |  |  | M/Vis-6.2 Capillary viscometers | [11 empty] | 10-42.1¦volumic cross section, macroscopic cross section [atomic physics]¦m-1
|  |  |  | M/Vis-6.2.1 Capillary viscometers | [11 empty] | 10-42.2¦volumic total cross section, macroscopic total cross section [atomic physics]¦m-1
|  |  |  | M/Vis-6.3 Viscosity measurement of Newtonian liquids | [11 empty] | 10-43¦particle fluence¦m-2
|  |  |  | M/Vis-6.3.1 Viscosity measurement of Newtonian liquids | [11 empty] | 10-44¦particle fluence rate¦m-2.s-1
|  |  |  | M/Har Hardness | [11 empty] | 10-45¦radiant energy [ionizing radiation]¦J
|  |  |  | M/Har-7 Hardness | [11 empty] | 10-46¦energy fluence¦J.m-2
|  |  |  | M/Har-7.1 Hardness | [11 empty] | 10-47¦energy fluence rate¦W.m-2
|  |  |  | M/Har-7.1.1 Hardness | [11 empty] | 10-48¦particle current density, particle radiance¦m-2.s-1
|  |  |  | M/Gra Gravity | [11 empty] | 10-49¦linear attenuation coefficient [ionizing radiation]¦m-1
|  |  |  | M/Gra-8 Gravity | [11 empty] | 10-50¦mass attenuation coefficient [ionizing radiation]¦kg-1.m2
|  |  |  | M/Gra-8.1 Gravity | [11 empty] | 10-51¦molar attenuation coefficient¦m2.mol-1
|  |  |  | M/Gra-8.1.1 Gravity | [11 empty] | 10-52¦atomic attenuation coefficient¦m2
|  |  |  | M/FF Fluid Flow | [11 empty] | 10-53¦half-value thickness¦m
|  |  |  | M/FF-9 Fluid flow | [11 empty] | 10-54¦total linear stopping power, linear stopping power¦J.m-1
|  |  |  | M/FF-9.10 Fluid flow | [11 empty] | 10-55¦total mass stopping power, mass stopping power¦J.m2.kg-1
|  |  |  | M/FF-9.10.1 Liquid flow | [11 empty] | 10-56¦mean linear range¦m
|  |  |  | M/FF-9.10.2 Gas flow | [11 empty] | 10-57¦mean mass range¦kg.m-2
|  |  |  | M/FF-9.10.3 Quantity of fluid | [11 empty] | 10-58¦linear ionization¦m-1
|  |  |  | M/FF-9.10.4 Flow speed | [11 empty] | 10-59¦total ionization¦1
|  |  |  | M/FF-9.10.5 Multiphase flow | [11 empty] | 10-60¦average energy loss per elementary charge produced¦J
|  |  |  | M/FF-9.10.6 Heat flow | [11 empty] | 10-61¦mobility¦m2.V-1.s-1
|  |  |  | PR/Detector Properties of detectors and sources | [11 empty] | 10-62.1¦particle number density¦m-3
|  |  |  | PR/Detector-1 Photometry | [11 empty] | 10-62.2¦ion number density, ion density¦m-3
|  |  |  | PR/Detector-1.1 Luminous intensity | [11 empty] | 10-63¦recombination coefficient, (recombination factor)¦m3.s-1
|  |  |  | PR/Detector-1.1.1 Tungsten lamp | [11 empty] | 10-64¦diffusion coefficient, diffusion coefficient for particle number density¦m2.s-1
|  |  |  | PR/Detector-1.2 Illuminance responsivity | [11 empty] | 10-65¦diffusion coefficient for fluence rate¦m
|  |  |  | PR/Detector-1.2.1 Tungsten source | [11 empty] | 10-66¦particle source density¦m-3.s-1
|  |  |  | PR/Detector-1.3 Luminous flux | [11 empty] | 10-67¦slowing-down density¦m-3.s-1
|  |  |  | PR/Detector-1.3.1 Tungsten lamp | [11 empty] | 10-68¦resonance escape probability¦1
|  |  |  | PR/Detector-1.3.2 LED | [11 empty] | 10-69¦lethargy, (logarithmic energy decrement)¦1
|  |  |  | PR/Detector-1.4 Illuminance | [11 empty] | 10-70¦average logarithmic energy decrement¦1
|  |  |  | PR/Detector-1.4.1 Tungsten lamp | [11 empty] | 10-71¦mean free path [atomic physics]¦m
|  |  |  | PR/Detector-1.5 Luminance | [11 empty] | 10-72.1¦slowing-down area¦m2
|  |  |  | PR/Detector-1.5.1 Tungsten-based source | [11 empty] | 10-72.2¦diffusion area¦m2
|  |  |  | PR/Detector-1.6 Luminance responsivity | [11 empty] | 10-72.3¦migration area¦m2
|  |  |  | PR/Detector-1.6.0 Luminance meter | [11 empty] | 10-73.1¦slowing-down length¦m
|  |  |  | PR/Detector-1.7 Averaged luminous intensity | [11 empty] | 10-73.2¦diffusion length [atomic physics]¦m
|  |  |  | PR/Detector-1.7.1 LED | [11 empty] | 10-73.3¦migration length¦m
|  |  |  | PR/Detector-1.8 Luminous exposure | [11 empty] | 10-74.1¦neutron yield per fission¦1
|  |  |  | PR/Detector-1.8.0 General source | [11 empty] | 10-74.2¦neutron yield per absorption¦1
|  |  |  | PR/Detector-1.8.1 Flash photometer | [11 empty] | 10-75¦fast fission factor¦1
|  |  |  | PR/Detector-2 Properties of detectors | [11 empty] | 10-76¦thermal utilization factor¦1
|  |  |  | PR/Detector-2.1 Responsivity, spectral, power | [11 empty] | 10-77¦non-leakage probability¦1
|  |  |  | PR/Detector-2.1.1 Broad band detector | [11 empty] | 10-78.1¦multiplication factor¦1
|  |  |  | PR/Detector-2.2 Responsivity, spectral, irradiance | [11 empty] | 10-78.2¦infinite multiplication factor¦1
|  |  |  | PR/Detector-2.2.2 Broad band detector | [11 empty] | 10-79¦reactor time constant¦s
|  |  |  | PR/Detector-2.2.3 Spectroradiometer | [11 empty] | 10-80.1¦energy imparted¦J
|  |  |  | PR/Detector-2.3 Responsivity, spectral, radiance | [11 empty] | 10-80.2¦mean energy imparted¦J
|  |  |  | PR/Detector-2.3.0 Spectroradiometer | [11 empty] | 10-81.1¦absorbed dose¦Gy
|  |  |  | PR/Detector-2.4 Responsivity, laser, power | [11 empty] | 10-81.2¦specific energy imparted¦Gy
|  |  |  | PR/Detector-2.4.0 General detector | [11 empty] | 10-82¦quality factor [ionizing radiation]¦1
|  |  |  | PR/Detector-2.5 Responsivity, laser, energy | [11 empty] | 10-83.1¦dose equivalent¦Sv
|  |  |  | PR/Detector-2.5.0 General detector | [11 empty] | 10-83.2¦dose equivalent rate¦Sv.s-1
|  |  |  | PR/Detector-2.6 Responsivity, solar, power | [11 empty] | 10-84¦absorbed-dose rate¦Gy.s-1
|  |  |  | PR/Detector-2.6.0 General detector | [11 empty] | 10-85¦linear energy transfer¦J.m-1
|  |  |  | PR/Detector-2.7 Responsivity, solar, irradiance | [11 empty] | 10-86.1¦kerma¦Gy
|  |  |  | PR/Detector-2.7.0 General detector | [11 empty] | 10-86.2¦kerma rate¦Gy.s-1
|  |  |  | PR/Detector-2.7.1 Broadband detector | [11 empty] | 10-87¦mass energy-transfer coefficient¦kg-1.m2
|  |  |  | PR/Detector-2.8 Responsivity, blackbody, total irradiance | [11 empty] | 10-88¦exposure [ionizing radiation]¦C.kg-1
|  |  |  | PR/Detector-2.8.0 Broadband detector | [11 empty] | 10-89¦exposure rate¦C.kg-1.s-1
|  |  |  | PR/Detector-2.9 Responsivity, UV, broadband irradiance | [11 empty] | 12-1.1¦lattice vector¦m
|  |  |  | PR/Detector-2.9.0 UV radiometer | [11 empty] | 12-1.2¦fundamental lattice vectors¦m
|  |  |  | PR/Detector-2.10 Responsivity, UV, broadband radiant exposure | [11 empty] | 12-2.1¦angular reciprocal lattice vector¦m-1
|  |  |  | PR/Detector-2.10.0 UV radiometer | [11 empty] | 12-2.2¦fundamental reciprocal lattice vectors¦m-1
|  |  |  | PR/Detector-2.11 Responsitivity, solar, spectral, irradiance | [11 empty] | 12-3¦lattice plane spacing¦m
|  |  |  | PR/Detector-2.11.0 Solar spectroradiometer | [11 empty] | 12-4¦Bragg angle¦°
|  |  |  | PR/Detector-3 Spectral emission properties of sources | [11 empty] | 12-5.1¦short-range order parameter¦1
|  |  |  | PR/Detector-3.1 Irradiance, spectral | [11 empty] | 12-5.2¦long-range order parameter¦1
|  |  |  | PR/Detector-3.1.1 Tungsten lamp | [11 empty] | 12-5.3¦atomic scattering factor¦1
|  |  |  | PR/Detector-3.1.2 Deuterium lamp | [11 empty] | 12-5.4¦structure factor¦1
|  |  |  | PR/Detector-3.2 Radiance, spectral | [11 empty] | 12-6¦Burgers vector¦m
|  |  |  | PR/Detector-3.2.1 Tungsten lamp | [11 empty] | 12-7.1¦particle position vector¦m
|  |  |  | PR/Detector-3.2.2 Deuterium lamp | [11 empty] | 12-7.2¦equilibrium position vector [condensed matter physics]¦m
|  |  |  | PR/Detector-3.2.3 General source | [11 empty] | 12-7.3¦displacement vector [condensed matter physics]¦m
|  |  |  | PR/Detector-3.3 Power, spectral total radiant | [11 empty] | 12-8¦Debye-Waller factor¦1
|  |  |  | PR/Detector-3.3.1 Laser | [11 empty] | 12-9.1¦angular wavenumber, angular repetency, wave vector [condensed matter physics]¦m-1
|  |  |  | PR/Detector-3.4 Radiant intensity, spectral | [11 empty] | 12-9.2¦Fermi angular wavenumber, Fermi angular repetency¦m-1
|  |  |  | PR/Detector-3.4.1 Tungsten lamp | [11 empty] | 12-9.3¦Debye angular wavenumber, Debye angular repetency¦m-1
|  |  |  | PR/Detector-3.4.2 Deuterium lamp | [11 empty] | 12-10¦Debye angular frequency¦s-1
|  |  |  | PR/Detector-3.5 Radiant flux, spectral | [11 empty] | 12-11¦Debye temperature¦K
|  |  |  | PR/Detector-3.5.0 General source | [11 empty] | 12-12¦density of vibrational states [angular frequency]¦m-3.s
|  |  |  | PR/Detector-3.5.1 Tungsten lamp | [11 empty] | 12-13¦thermodynamic Grüneisen parameter¦1
|  |  |  | PR/Detector-5 Spectral.-int. meas. for sources and detectors | [11 empty] | 12-14¦Grüneisen parameter¦1
|  |  |  | PR/Detector-5.1 Distribution temperature | [11 empty] | 12-15.1¦mean free path of phonons¦m
|  |  |  | PR/Detector-5.1.0 Tungsten lamp | [11 empty] | 12-15.2¦mean free path of electrons¦m
|  |  |  | PR/Detector-5.2 Correlated colour temperature | [11 empty] | 12-16¦energy density of states¦J-1.m-3
|  |  |  | PR/Detector-5.2.1 Tungsten lamp | [11 empty] | 12-17¦residual resistivity¦Ω.m
|  |  |  | PR/Detector-5.3 Correlated colour temperature response | [11 empty] | 12-18¦Lorenz coefficient¦V2.K-2
|  |  |  | PR/Detector-5.3.0 Colour temperature meter | [11 empty] | 12-19¦Hall coefficient¦m3.C-1
|  |  |  | PR/Detector-5.4 Colour, emitted | [11 empty] | 12-20¦thermoelectric voltage¦V
|  |  |  | PR/Detector-5.4.0 General source, colour space: x, y | [11 empty] | 12-21¦Seebeck coefficient (for substances a and b, thermoelectric power)¦V.K-1
|  |  |  | PR/Detector-5.4.1 General source, colour space: u, v | [11 empty] | 12-22¦Peltier coefficient¦V
|  |  |  | PR/Detector-5.4.2 General source, colour space: u-prime, v-prime | [11 empty] | 12-23¦Thomson coefficient¦V.K-1
|  |  |  | PR/Detector-5.4.3 Display, colour space: L*a*b | [11 empty] | 12-24.1¦work function¦J
|  |  |  | PR/Detector-5.5 Chromaticity response | [11 empty] | 12-24.2¦ionization energy¦J
|  |  |  | PR/Detector-5.5.0 Colorimeter | [11 empty] | 12-25¦electron affinity [condensed matter physics]¦J
|  |  |  | PR/Detector-5.6 Colour rendering, Ra | [11 empty] | 12-26¦Richardson constant¦A.m-2.K-2
|  |  |  | PR/Detector-5.6.0 General source | [11 empty] | 12-27.1¦Fermi energy¦J
|  |  |  | PR/Detector-5.7 Radiance, total | [11 empty] | 12-27.2¦gap energy¦J
|  |  |  | PR/Detector-5.7.0 Blackbody | [11 empty] | 12-28¦Fermi temperature¦K
|  |  |  | PR/Detector-5.8 Radiant flux, total | [11 empty] | 12-29.1¦electron density¦m-3
|  |  |  | PR/Detector-5.8.0 General source | [11 empty] | 12-29.2¦hole density¦m-3
|  |  |  | PR/Detector-5.8.1 LED | [11 empty] | 12-29.3¦intrinsic carrier density¦m-3
|  |  |  | PR/Mater Properties of materials | [11 empty] | 12-29.4¦donor density¦m-3
|  |  |  | PR/Mater-4 Spectral properties of materials | [11 empty] | 12-29.5¦acceptor density¦m-3
|  |  |  | PR/Mater-4.1 Transmittance, regular, spectral | [11 empty] | 12-30¦effective mass¦kg
|  |  |  | PR/Mater-4.1.1 Spectrally-neutral material | [11 empty] | 12-31¦mobility ratio¦1
|  |  |  | PR/Mater-4.2 Transmittance, diffuse, spectral | [11 empty] | 12-32.1¦relaxation time [condensed matter]¦s
|  |  |  | PR/Mater-4.2.1 Spectrally-neutral material | [11 empty] | 12-32.2¦carrier lifetime [semiconductors]¦s
|  |  |  | PR/Mater-4.3 Absorbance, regular, spectral | [11 empty] | 12-33¦diffusion length [condensed matter physics]¦m
|  |  |  | PR/Mater-4.3.1 Spectrally-neutral material | [11 empty] | 12-34¦exchange integral¦J
|  |  |  | PR/Mater-4.4 Absorbance, diffuse, spectral | [11 empty] | 12-35.1¦Curie temperature¦K
|  |  |  | PR/Mater-4.4.1 Spectrally-neutral material | [11 empty] | 12-35.2¦Néel temperature¦K
|  |  |  | PR/Mater-4.5 Reflectance, diffuse, spectral | [11 empty] | 12-35.3¦superconduction transition temperature¦K
|  |  |  | PR/Mater-4.5.1 Spectrally-neutral material | [11 empty] | 12-36.1¦thermodynamic critical magnetic flux density¦T
|  |  |  | PR/Mater-4.6 Reflectance, regular, spectral | [11 empty] | 12-36.2¦lower critical magnetic flux density¦T
|  |  |  | PR/Mater-4.6.1 Spectrally-neutral material | [11 empty] | 12-36.3¦upper critical magnetic flux density¦T
|  |  |  | PR/Mater-4.7 Reflectance, hemispherical, spectral | [11 empty] | 12-37¦superconductor energy gap¦J
|  |  |  | PR/Mater-4.7.1 Spectrally-neutral material | [11 empty] | 12-38.1¦London penetration depth¦m
|  |  |  | PR/Mater-4.9 Emissivity | [11 empty] | 12-38.2¦coherence length¦m
PR/Mater-4.9.0 General material
PR/Mater-4.10 Emittance, spectral
PR/Mater-4.10.0 General material
PR/Mater-4.11 BRDF
PR/Mater-4.11.0 General material
PR/Mater-4.12 Reflectance factor
PR/Mater-4.12.0 General material
PR/Mater-4.13 Radiance factor
PR/Mater-4.13.0 General material
PR/Mater-4.13.1 Fluorescent material
PR/Mater-4.14 Luminescent radiance factor
PR/Mater-4.14.0 Fluorescent material
PR/Mater-4.15 Wavelength
PR/Mater-4.15.0 Spectrally-selective transmitting material
PR/Mater-4.15.1 Spectrally-selective reflecting material
PR/Mater-4.16 Refractive index, spectral
PR/Mater-4.16.0 Solid material
PR/Mater-4.17 Angle of rotation of polarization plane, spectral
PR/Mater-4.17.0 Solid material
PR/Mater-4.17.1 Liquid material
PR/Mater-4.18 Ellipsometric angles phi, delta, spectral
PR/Mater-4.18.0 General material
PR/Mater-6 Colour and other spectral.-int. meas. of materials
PR/Mater-6.1 Colour, surface, x, y, Y
PR/Mater-6.1.0 General material
PR/Mater-6.1.1 Fluorescent material
PR/Mater-6.1.2 Diffusely reflecting material
PR/Mater-6.2 Colour, surface, Lab
PR/Mater-6.2.0 General material
PR/Mater-6.2.1 Fluorescent material
PR/Mater-6.2.2 Diffusely reflecting material
PR/Mater-6.3 Colour, transmitted, x, y, Y
PR/Mater-6.3.0 General material
PR/Mater-6.4 Colour, transmitted, Lab
PR/Mater-6.4.0 General material
PR/Mater-6.5 Retroreflectance
PR/Mater-6.5.0 General material
PR/Mater-6.6 Gloss
PR/Mater-6.6.0 General material
PR/Mater-6.7 Haze
PR/Mater-6.7.0 General material
PR/Mater-6.9 Luminance factor
PR/Mater-6.9.0 General material
PR/Mater-6.10 Luminance coefficient
PR/Mater-6.10.0 General material
PR/Mater-6.12 Whiteness
PR/Mater-6.12.0 General material
PR/Fibre Fibre optics
PR/Fibre-7 Fibre optics
PR/Fibre-7.1 Fibre responsivity
PR/Fibre-7.1.0 Fibre optic power meter
PR/Fibre-7.2 Fibre wavelength
PR/Fibre-7.2.0 Fibre optic source
PR/Fibre-7.2.1 Optical spectrum analyser
PR/Fibre-7.2.2 Wavelength meter
PR/Fibre-7.5 Fibre attenuation
PR/Fibre-7.5.0 Optical fibre
PR/Fibre-7.5.1 Optical fibre component
PR/Fibre-7.7 Fibre chromatic dispersion
PR/Fibre-7.7.0 Chromatic dispersion, optical fibre
PR/Fibre-7.7.1 Zero wavelength, optical fibre
PR/Fibre-7.7.2 Slope, optical fibre
PR/Fibre-7.10 Fibre length
PR/Fibre-7.10.0 Optical fibre
PR/Fibre-7.10.1 OTDR
PR/Fibre-7.11 Fibre polarization mode dispersion
PR/Fibre-7.11.0 Optical fibre
PR/Fibre-7.11.1 Polarization mode dispersion analyzer
T/T Temperature
T/T-1 Items for defining ITS-90
T/T-1.1 Primary fixed-point cells
T/T-1.1.1 Cells for contact thermometry
T/T-1.1.2 Cells for radiation thermometry
T/T-1.2 Complete apparatus realizing fixed-points
T/T-1.2.1 Apparatus for contact thermometry
T/T-1.2.2 Apparatus for radiation thermometry
T/T-1.3 Standard platinum resistance therm. (SPRTs)
T/T-1.3.1 Capsule-type SPRTs
T/T-1.3.2 Long-stem SPRTs including HTSPRTs
T/T-1.4 Standard radiation thermometers
T/T-1.4.1 Standard radiation thermometers
T/T-2 Items for disseminating ITS-90 and PLTS 2000
T/T-2.1 Secondary fixed-point cells and apparatus
T/T-2.1.1 Secondary fixed-points and apparatus for contact thermometry
T/T-2.2 Resistance thermometers
T/T-2.2.1 Rhodium-iron resistance thermometers
T/T-2.2.2 Platinum resistance thermometers (PRTs)
T/T-2.2.3 Thermistors and other resistive thermometers
T/T-2.3 Thermocouples
T/T-2.3.1 Noble-metal thermocouples
T/T-2.3.2 Base-metal thermocouples
T/T-2.3.3 Pure-metal thermocouples
T/T-2.4 Liquid-in-glass thermometers
T/T-2.4.1 Liquid-in-glass thermometers
T/T-2.5 Radiation thermometry
T/T-2.5.1 Secondary fixed-point blackbody cells and complete instruments
T/T-2.5.2 Variable temperature blackbody radiation sources
T/T-2.5.3 Strip lamps
T/T-2.5.4 Radiation thermometers and visual optical pyrometers
T/T-2.6 Other thermometers
T/T-2.6.1 Air temperature sensors
T/T-2.6.2 Other thermometers
T/T-2.7 Temperature sensors with display unit
T/T-2.7.1 Temperature sensors with display unit
T/T-2.8 Other measurement services
T/T-2.8.1 Bridge linearity
T/T-2.8.2 Compensation wires for cold junction
T/T-2.8.3 Wires for melting-point measurements for thermocouples
T/T-2.8.4 Temperature indicators
T/T-2.8.5 Phase-transition temperature of reference materials
T/T-2.8.6 Dry-well block calibrators
T/H Humidity
T/H-3 Hygrometers
T/H-3.1 Dew-point hygrometers
T/H-3.1.1 Dew-point hygrometers
T/H-3.2 Psychrometers
T/H-3.2.1 Psychrometers
T/H-3.3 Relative humidity sensors
T/H-3.3.1 Relative humidity sensors
T/H-3.4 Other hygrometers
T/H-3.4.1 Other hygrometers
T/H-4 Dynamic generators
T/H-4.1 Dew-point generators
T/H-4.1.1 Dew-point generators
T/H-4.2 Relative humidity generators
T/H-4.2.1 Relative humidity generators
T/H-4.3 Flow mixing
T/H-4.3.1 Flow mixing
T/H-4.4 Permeation tube, diffusion tube
T/H-4.4.1 Permeation tube, diffusion tube
T/H-5 Static generators
T/H-5.1 Salt solutions (saturated, unsaturated)
T/H-5.1.1 Salt solutions (saturated, unsaturated)
T/H-5.2 Reference gases
T/H-5.2.1 Reference gases
T/TQ Thermophysical quantities
T/TQ-6 Thermophysical quantities
T/TQ-6.1 Thermal transport property
T/TQ-6.1.1 Thermal conductivity
T/TQ-6.1.2 Thermal diffusivity
T/TQ-6.2 Caloric property
T/TQ-6.2.1 Specific heat capacity
T/TQ-6.2.2 Heat of fusion
T/TQ-6.2.3 Calorific value
T/TQ-6.3 Radiative property
T/TQ-6.3.1 Spectral emissivity
T/TQ-6.3.2 Total emissivity
T/TQ-6.4 Thermo-mechanical property
T/TQ-6.4.1 Thermal expansion coefficient
L/Laser Laser frequencies
L/Laser-1 Radiations of the mise en pratique
L/Laser-1.1 Laser radiations
L/Laser-1.1.1 Frequency stabilized laser
L/Laser-1.2 Lamp radiations
L/Laser-1.2.1 Spectral lamp
L/DimMet Dimensional metrology
L/DimMet-2 Linear dimensions
L/DimMet-2.1 Length instruments
L/DimMet-2.1.1 (Laser, length) interferometer (system, optics, refractometer)
L/DimMet-2.1.2 EDM instrument
L/DimMet-2.1.3 One-dimension measuring machine
L/DimMet-2.1.4 Height measuring instrument
L/DimMet-2.1.5 One-dimension displacement transducer or actuator (LVDT, PZT, etc.)
L/DimMet-2.1.6 Gauge block comparators
L/DimMet-2.1.7 Dial-indicator tester
L/DimMet-2.2 End standards
L/DimMet-2.2.1 Gauge block
L/DimMet-2.2.2 Length bar (long gauge block)
L/DimMet-2.2.3 Plane or thread micrometer setting rod
L/DimMet-2.2.4 Step gauge
L/DimMet-2.2.5 Gap gauge
L/DimMet-2.2.6 Feeler (thickness) gauge
L/DimMet-2.3 Line standards
L/DimMet-2.3.1 Precision line scale
L/DimMet-2.3.2 Stage micrometer
L/DimMet-2.3.3 Grid plate
L/DimMet-2.3.4 One-dimension grating
L/DimMet-2.3.5 Two-dimension grating
L/DimMet-2.3.6 Linewidth standard
L/DimMet-2.3.7 (Surveyor, engineer, pi) tape, (geodetic) wire
L/DimMet-2.3.8 Surveyor levelling rod
L/DimMet-2.3.9 Engineer or machinist scale, steel
L/DimMet-2.4 Diameter standards
L/DimMet-2.4.1 External cylinder (plug, piston, pin, wire)
L/DimMet-2.4.2 Internal cylinder (ring)
L/DimMet-2.4.3 Sphere (ball)
L/DimMet-2.5 Standards of 1D Dimensions
L/DimMet-2.5.1 Standard of 1D point-to-point dimensions
L/DimMet-3 Angle
L/DimMet-3.1 Angle by circle dividers
L/DimMet-3.1.1 Optical polygon
L/DimMet-3.1.2 Index table
L/DimMet-3.1.3 Rotary table, rotary encoder scale
L/DimMet-3.2 Small-angle generators
L/DimMet-3.2.1 Sine bar or table
L/DimMet-3.3 Angle instruments
L/DimMet-3.3.1 Autocollimator
L/DimMet-3.3.2 Electronic level
L/DimMet-3.3.3 Clinometer
L/DimMet-3.3.4 Spirit (bubble) level
L/DimMet-3.3.5 Theodolite
L/DimMet-3.3.6 (Bevel) protractor
L/DimMet-3.3.7 Squareness tester
L/DimMet-3.4 Angle artefacts
L/DimMet-3.4.1 Angle block
L/DimMet-3.4.2 90 deg (steel, granite, try) square
L/DimMet-3.4.3 90 deg cylinder square
L/DimMet-3.4.4 Cone (taper) gauge
L/DimMet-3.5 Angle prisms
L/DimMet-3.5.1 Optical square (pentaprism)
L/DimMet-3.5.2 Retroreflection (cube-corner, cat-eye) prism
L/DimMet-4 Form
L/DimMet-4.1 Flatness standards
L/DimMet-4.1.1 Optical flat
L/DimMet-4.1.2 Optical parallel or wedge
L/DimMet-4.1.3 Surface plate
L/DimMet-4.2 Roundness standards
L/DimMet-4.2.1 External cylinder
L/DimMet-4.2.2 Internal cylinder
L/DimMet-4.2.3 Sphere (hemisphere)
L/DimMet-4.2.4 Magnification standard (e.g. flick standard)
L/DimMet-4.3 Straightness standards
L/DimMet-4.3.1 Straight edge
L/DimMet-4.3.2 Cylindrical straightness standard
L/DimMet-4.3.3 Straightness of guideway
L/DimMet-4.4 Cylindricity standards
L/DimMet-4.4.1 External cylinder
L/DimMet-4.4.2 Internal cylinder
L/DimMet-4.5 Optical standards
L/DimMet-4.5.1 Lens, radius standards
L/DimMet-5 Complex geometry
L/DimMet-5.1 Surface texture standards
L/DimMet-5.1.1 (Groove) depth (step height) standard
L/DimMet-5.1.2 Tip-condition standard
L/DimMet-5.1.3 Spacing standard
L/DimMet-5.1.4 Roughness standard
L/DimMet-5.1.5 Profile coordinate standard
L/DimMet-5.1.6 Soft gauge standard
L/DimMet-5.2 Screw standards
L/DimMet-5.2.1 Thread plug, plain
L/DimMet-5.2.2 Thread plug, tapered
L/DimMet-5.2.3 Thread ring, plain
L/DimMet-5.2.4 Thread ring, tapered
L/DimMet-5.2.5 Internal API screw thread gauge
L/DimMet-5.2.6 External API screw thread gauge
L/DimMet-5.3 Gear standards
L/DimMet-5.3.1 Involute gear
L/DimMet-5.3.2 Bevel gear
L/DimMet-5.3.3 Gear pitch master
L/DimMet-5.3.4 Gear lead master
L/DimMet-5.3.5 Gear involute master
L/DimMet-5.4 Coordinate Measuring Machine (CMM) artefacts
L/DimMet-5.4.1 Ball (hole, bore) plate
L/DimMet-5.4.2 Ball bar
L/DimMet-5.4.3 Large CMM artefact
L/DimMet-5.4.4 Reference software
L/DimMet-5.4.5 Test circle for imaging probing systems
L/DimMet-5.5 Two-dimension and three-dimension instruments
L/DimMet-5.5.1 Measuring projector
L/DimMet-5.5.2 Measuring microscope
L/DimMet-5.5.3 CMM
L/DimMet-5.5.4 Laser tracking measuring system
L/DimMet-5.5.5 Motion (translation, angle) stage
L/DimMet-5.5.6 Profile instruments
L/DimMet-5.5.7 (Flatness, wavefront) interferometer
L/DimMet-5.5.8 Form measuring machine
L/DimMet-5.6 Hardness
L/DimMet-5.6.1 Hardness indenter (Rockwell, Vickers)
L/DimMet-6 Various dimensional
L/DimMet-6.1 Hand instruments
L/DimMet-6.1.1 External micrometer
L/DimMet-6.1.2 Micrometer head
L/DimMet-6.1.3 Depth micrometer
L/DimMet-6.1.4 Caliper
L/DimMet-6.1.5 Depth gauge
L/DimMet-6.1.6 Internal two-point (bore) micrometer
L/DimMet-6.1.7 Internal three-point (bore) micrometer
L/DimMet-6.1.8 Dial gauge
L/DimMet-6.1.9 Snap gauge (internal, external)
L/DimMet-6.2 Pressure artefacts
L/DimMet-6.2.1 Piston - cylinder assembly
L/DimMet-6.3 Thermal expansivity
L/DimMet-6.3.1 Thermal expansion artefact
L/DimMet-6.4 Long distance
L/DimMet-6.4.1 Geodesic baseline
L/DimMet-6.5 Reference materials
L/DimMet-6.5.1 Standard particle
L/DimMet-6.5.2 Sieve or mesh opening
L/DimMet-6.6 Layer thickness
L/DimMet-6.6.1 Layer thickness standard
L/DimMet-6.7 Not attributed 1
L/DimMet-6.7.1 Not attributed 2
L/DimMet-6.7.2 Not attributed 1
custom