## Definitions
scopeTypes | dataCategoryType | measurandType | unit | equipmentClass | Statement categories | Equipment Categories | metaDataType
- | - | - | - |  | general | Item | Data
reference | Value | Measure.Conductance | \metre |  | norm | Reference | UsedReferenceId
itemIndication | TargetValue | Measure.Conductivity | \kilogram |  | method |  | UsedMethodId
itemBias | ToleranceLimitUpper | Measure.Current.AC | \second |  | exception |  | UsedEquipmentId
| ToleranceLimitUpper | Measure.Current.AC.Sinewave | \ampere |  | attention |  | customerTag
| AcceptanceLimitUpper | Measure.Current.AC.Squarewave | \kelvin |  | traceability |  | laboratoryTag
| AcceptanceLimitUpper | Measure.Current.AC.Trianglewave | \mole |  | comment |  | accreditationException
| Conformity | Measure.Current.DC | \candela |  | accreditation |  | TimeStamp
| repeatability | Measure.Density.Mass.Gas | \one |  | accreditationException |  | Exception
| Other | Measure.Density.Mass.Liquid | \day |  |  |  | Statement
| accreditationApplies | Measure.Density.Mass.Solid | \hour
| ExpandedUncertainty | Measure.Force | \minute
| UncertaintyCoverageFactor_k | Measure.Frequency | \degree
| UncertaintyCoverageProbability | Measure.Frequency.AmplitudeModulation.Rate | \arcminute
|  | Measure.Frequency.FrequencyModulation.Deviation | \arcsecond
|  | Measure.Frequency.FrequencyModulation.Rate | \gram
|  | Measure.Frequency.PhaseModulation.Rate | \radian
|  | Measure.Humidity.Absolute | \steradian
|  | Measure.Impedance | \hertz
|  | Measure.Inductance | \newton
|  | Measure.Length | \pascal
|  | Measure.Length.Circumference | \joule
|  | Measure.Length.Diameter | \watt
|  | Measure.Length.Form.Flatness | \coulomb
|  | Measure.Length.Form.Parallelism | \volt
|  | Measure.Length.Form.Perpendicularity | \farad
|  | Measure.Length.Form.Roughness | \ohm
|  | Measure.Length.Form.Roundness | \siemens
|  | Measure.Length.Form.Sphericity | \weber
|  | Measure.Length.Form.Straightness.Axis | \tesla
|  | Measure.Length.Form.Straightness.Surface | \henry
|  | Measure.Length.Radius | \degreecelsius
|  | Measure.Mass.Apparent | \lumen
|  | Measure.Mass.Conventional | \lux
|  | Measure.Mass.True | \becquerel
|  | Measure.Phase.PhaseModulation | \sievert
|  | Measure.Phase.ReflectionFactor.RF | \gray
|  | Measure.Phase.TransmissionFactor | \katal
|  | Measure.PhaseNoise.SideBand | \hectare
|  | Measure.Power.RF.Sinewave | \litre
|  | Measure.Pressure.Hydraulic.Static | \tonne
|  | Measure.Pressure.Pneumatic.Absolute.Static | \electronvolt
|  | Measure.Pressure.Pneumatic.Differential.Static | \dalton
|  | Measure.Pressure.Pneumatic.Gage.Static | \astronomicalunit
|  | Measure.Ratio.AmplitudeModulation | \neper
|  | Measure.Ratio.Density.Mass | \bel
|  | Measure.Ratio.Humidity.Relative | \decibel
|  | Measure.Ratio.Humidity.Specific | \deca
|  | Measure.Ratio.Power.ReflectionFactor.RF | \hecto
|  | Measure.Ratio.Power.RF.Sinewave.Delta.Frequency | \kilo
|  | Measure.Ratio.Power.RF.Sinewave.Delta.Power | \mega
|  | Measure.Ratio.Power.TransmissionFactor | \giga
|  | Measure.Ratio.Torque | \tera
|  | Measure.Ratio.Voltage.AC.Ripple.OnDC | \peta
|  | Measure.Ratio.Voltage.AC.Sinewave.Delta.Frequency | \exa
|  | Measure.Ratio.Voltage.AC.Sinewave.Delta.Voltage | \zetta
|  | Measure.Resistance | \yotta
|  | Measure.Temperature | \deci
|  | Measure.Temperature.Radiometric | \centi
|  | Measure.Temperature.Simulated.PRT | \milli
|  | Measure.Temperature.Simulated.RTD | \micro
|  | Measure.Temperature.Simulated.Thermocouple | \nano
|  | Measure.Time.Transition | \pico
|  | Measure.Time.UTC | \femto
|  | Measure.Torque | \atto
|  | Measure.Torque.HydraulicPressure | \zepto
Measure.Voltage.AC
Measure.Voltage.AC.Ripple.OnDC
Measure.Voltage.AC.Sinewave
Measure.Voltage.AC.Squarewave
Measure.Voltage.AC.Trianglewave
Measure.Voltage.DC
Measure.Weight
Source.Capacitance
Source.Conductance
Source.Conductivity
Source.Current.AC.Sinewave
Source.Current.AC.Squarewave
Source.Current.AC.Trianglewave
Source.Current.DC
Source.Density.Mass.Gas
Source.Density.Mass.Liquid
Source.Density.Mass.Solid
Source.Force
Source.Frequency.AC.Squarewave
Source.Frequency.Arbitrary.Cardiograph
Source.Humidity.Absolute
Source.Impedance
Source.Inductance
Source.Length
Source.Length.Circumference
Source.Length.Diameter
Source.Length.Form.Perpendicularity
Source.Length.Form.Roundness
Source.Length.Form.Sphericity
Source.Length.Form.Straightness.Surrface
Source.Length.Radius
Source.Mass.Apparent
Source.Mass.Conventional
Source.Mass.True
Source.Period.Marker
Source.Period.Squarewave
Source.Power.AC.Sinewave
Source.Power.AC.Sinewave.Simulated
Source.Power.DC.Simulated
Source.Power.Noise.Terminated
Source.Power.RF.Sinewave
Source.Pressure.Hydraulic.Static
Source.Pressure.Pneumatic.Absolute.Static
Source.Pressure.Pneumatic.Differential.Static
Source.Pressure.Pneumatic.Gage.Static
Source.Ratio.AmplitudeModulation
Source.Ratio.Humidity.Relative
Source.Ratio.Humidity.Specific
Source.Ratio.Power.RF.Sinewave.Delta.Frequency
Source.Ratio.Voltage.AC.Sinewave.Delta.Frequency
Source.Ratio.Voltage.AC.Sinewave.Delta.Voltage
Source.Resistance
Source.Temperature
Source.Temperature.FixedPoint
Source.Temperature.Radiometric
Source.Temperature.Simulated.PRT
Source.Temperature.Simulated.RTD
Source.Temperature.Simulated.Thermocouple
Source.Time.Marker
Source.Torque
Source.Voltage.AC.Sinewave
Source.Voltage.DC
Source.Voltage.DC.Delta.Voltage
Source.Voltage.Noise.Terminated
Source.Voltage.Shorted
Source.Weight
miscelaneous01
miscelaneous02
miscelaneous03
miscelaneous04
miscelaneous05
geometryLength
geometryDiameter
geometryFormError
geometryXcoord
geometryYcoord
geometryZcoord
volumeAbsolute
volumeRelative
diameter
roundness
power
resistance
customisedMesurand
metaData
location.Street
location.ZIPcode
location.Country
location.GPS.longitude
location.GPS.lattitude

## AdministrativeData
UserLabel | Template Label | Value | XPATH
| DFM_Software_Name | DFM substituter | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:dccSoftware/dcc:software/dcc:name/dcc:content
| DFM_Software_Version | v0.0.1 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:dccSoftware/dcc:software/dcc:release
Certificate_no | DFM_Unique_ID | DFM-T220000 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:uniqueIdentifier
| DFM_OrderNo | 8000650430 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:customerIdentification/dcc:value
| DFM_ArrivalDate | 2022-02-18 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:receiptDate
| DFM_StartDate | 2022-02-21 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:beginPerformanceDate
Calibr_date | DFM_EndDate | 2022-02-22 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:endPerformanceDate
| Performance location | laboratory | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:performanceLocation
| Issue Date | 2022-02-23 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:coreData/dcc:issueDate
Supplier_Name | DFM_CalLab_CompanyName | DFM A/S | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contact/dcc:name/dcc:content
| DFM_CalLab_Email | Administration@dfm.dk | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contact/dcc:eMail
| DFM_CalLab_Phone | +45 7730 5800 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contact/dcc:phone
| DFM_CalLab_City | Hørsholm | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contact/dcc:location/dcc:city
| DFM_CalLab_Country | DK | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contact/dcc:location/dcc:countryCode
| DFM_CalLab_PostalCode | 2970 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contact/dcc:location/dcc:postCode
| DFM_CalLab_Street1 | Kogle Alle | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contact/dcc:location/dcc:street
| DFM_CalLab_Street_No | 5 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contact/dcc:location/dcc:streetNo
| DFM_CalLab_Webpage | www.dfm.dk | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:calibrationLaboratory/dcc:contact/dcc:location/dcc:further/dcc:content
| DFM_SignedBy | J. S. Nielsen | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:respPersons/dcc:respPerson/dcc:person/dcc:name/dcc:content
| DFM_Customer_CompanyName | Danish Measurement Company Ltd. | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:name/dcc:content
| DFM_Customer_Att | Mads Målermand | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:attPerson
| DFM_Customer_Email | mm@dmc.dk | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:eMail
| DFM_Customer_City | Måløv | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:city
DFM_Customer_Phone
| DFM_Customer_Country | DK | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:countryCode
| DFM_Customer_PostalCode | 9899 | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:postCode
| DFM_Customer_CompanyStreet1 | Målervej | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:street
| DFM_Customer_CompanyStreet_No | 16, 1. sal | /dcc:digitalCalibrationCertificate/dcc:administrativeData/dcc:customer/dcc:location/dcc:streetNo
DFM_Customer_Webpage
255
DANAK

## Statements
| category | id | heading lang1 | body lang1 | heading lang2 | body lang2
statement | method | meth01 | Method | Unless otherwise stated, the measurements were caried out at full moon. I.e. $M>=0.95M_{max}$. | Metode | Med mindre andet er oplyst er alle målinger udført ved fuldmåne. Dvs: $M>=0.95M_{max}$.
statement | general | statement01 | Reprint | Excerpts of this report may only be reproduced with the written permission of the calibration laboratory. | Gengivelse af rapport i uddrag | Denne rapport må ikke gengives i uddrag undtaget med laboratoriets skriftlige tilladelse.
statement | general | statement02 | CIPM MRA | This certificate is consistent with the capabilities that are included in Appendix C of the MRA drawn up by the CIPM. Under the MRA, all participating institutes recognize the validity of each other’s calibration and measurement certificates for the quantities, ranges and measurement uncertainties specified in Appendix C (for details see http://www.bipm.org). | CIPM MRA | Dette certifikat er i overensstemmelse med måleevnerne angivet i MRA’ens Appendiks C, som er redigeret af CIPM. I henhold til MRA’en anerkender alle deltagende institutter gyldigheden af hinandens kalibrerings- og målecertifikater for de målestørrelser, måleområder og måleusikkerheder som er specificeret i Appendiks C (for detaljer se www.bipm.org).
statement | exception | e01 |  | Measurements marked in exception column refering to this exception were carried out at half moon.
statement | exception | e02 |  | Measurements marked in exception column refering to this exception were carried out at new moon.
statement | exception | e03 |  | Data marked with reference to this exception has increased uncertainty relative to the laboratory's best measurement capability due to ill condition of the calibrated item.
statement | general | None
statement | accreditation | acc1 | Accreditation | The calibration is caried out under DANAK accreditation no..255 unless clearly statet in the tabel of results. DANAK is the national accreditation body in Denmark in compliance with Regulation (EC) No. 765/2008 of the European Parliament and of the Council. DANAK is covered by the multilateral agreements for testing, medical examination, calibration, proficiency testing providers and reference material producers under European co-operation for Accreditation (EA) and under International Laboratory Accreditation Cooperation (ILAC) based on peer-evaluation. This implies that accredited reports and certificates issued by companies accredited by DANAK are recognized across borders by members of EA and ILAC equal to reports and certificates issued by companies accredited by these members | Akkreditering | Kalibreringen er udført under DANAK akkreditering nr. 255 med mindre det tydeligt fremgår i resultattabellerne. DANAK er det nationale akkrediteringsorgan i Danmark i overensstemmelse med Europa-Parlamentet og Rådetsforordning (EF) Nr. 765/2008. DANAK er omfattet af de multilaterale aftaler for prøvning, medicinsk undersøgelse, kalibrering, udbud af præstationsprøvning og produktion af referencematerialer i European co-operation for Accreditation (EA) og i International Laboratory Accreditation Cooperation (ILAC) baseret på peer-evaluering. Dette indebærer, at akkrediterede rapporter og certifikater udstedt af virksomheder akkrediteret af DANAK anerkendes på tværs af landegrænser af medlemmer i EA og ILAC på linje med rapporter og certifikater udstedt af disse medlemmers akkrediterede virksomheder.
statement | accreditationException | accex1 | Measurements not under accreditation | Measurement of recistance between 1.5 and 3 \ohm is outside the scope of the laboratorys accreditation. | Ikke akkrediterede målinger | Måling af modstand i området fra 1.5 til 3 \ohm falder uden for laboratoriets kalibreringsområde.

## Items
Column1 | id | customerId | description | swRef | manufacturer | productName | productNumber | serialNumber
item | itemID1 | NN32 | Temperature sensor | nan | Amitek | Platinum Super | 12 | X34hwk4579
item | itemID2 | NN14 | display unit |  | Amitek | Gold edition | 13 | afl234jfeee
item | itemID3 | NN15 | another display unit |  | Amitek | silver edition | L45 | lqmdu2498710

## Settings
| id | heading lang1 | body lang1 | heading lang2 | body lang2 | parameter | value | unit | softwareInstruction
setting | setting1 | channel | pipette channel used | kanal | anvendt pipttekanal |  | 1
setting | setting2 | channel | pipette channel used | kanal | anvendt pipttekanal |  | 2
setting | setting3 | range | current range upper limit | område | øvre grænse for anvendelsesområde for strømstyrkemåling |  | 9.9 | \ampere
setting | setting4 | range | current range upper limit | område | øvre grænse for anvendelsesområde for strømstyrkemåling |  | 0.99 | \ampere
setting | setting5 | range | current range upper limit | område | øvre grænse for anvendelsesområde for strømstyrkemåling |  | 9.9 | \mili\ampere
setting | setting6 | switch | blue switch set to "on" | kontakt | Den blå kontakt var sat i positionen "on"

## Accreditation
| id | accreditationCountry | accreditationBody | accreditationLabId | accreditationNorm | accreditationApplicability
accreditation | DFM255 | DK | DANAK | 255 | 17025 | 2

## Table2
DCCTable | [5 empty] | LABORATORY
tableId | TempCal
itemRef | itemID1 itemID2
settingRef | setting6
numRows | 5
numColumns | 15
scope | - | reference | reference | reference | itemIndication | itemBias | itemBias | itemBias | itemBias | itemBias | itemIndication | - | - | - | -
dataCategory | - | TargetValue | Value | Value | Value | Value | ExpandedUncertainty | UncertaintyCoverageFactor_k | AcceptanceLimitUpper | Conformity | repeatability | - | ExpandedUncertainty | Conformity | Value
measurand | - | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Resistance | Measure.Resistance | Measure.Temperature | - | -
unit | - | \degreecelsius | \kelvin | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \ohm | - | - | - | -
metaDataType | customerTag | Data | Data | Data | Data | Data | Data | Data | Data | Data | Data | accreditationException | Exception | Statement | UsedReferenceId
humanHeading | Customer Tags | Calibration Point | Reference Temperature | Reference Temperature in instrument units | Instrument indication | Instrument Error | Uncertainty | k | Upper acceptance limit for item bias | Conformaty statement | Indicated resistance of the calibration item | Accreditation exception | Exception applies | Basis of conformity statement | Reference Used
data_row1 | T0_0_degC | 0 | 273.15 |  | -0.1 | -0.1 | 0.05 | 2 | 0.2 | pass | 1 | None | e03 | s01 | equipID4
data_row2 | T1_15_degC | 15 | 273.15 |  | 15.1 | 15.1 | 0.05 | 2 | 0.2 | pass | 2 | None | None | s01 | equipID4
data_row3 | T2_25_degC | 25 | 273.15 |  | 25.2 | 25.2 | 0.05 | 2 | 0.2 | pass | 3 | accex1 | None | s01 | equipID4
data_row4 | T3_15_degC | 15 | 273.15 |  | 15.3 | 15.3 | 0.05 | 2 | 0.2 | fail | 4 | None | e01 | s01 | equipID4
data_row5 | T4_0_degC | 0 | 273.15 |  | 0 | 0 | 0.05 | 2 | 0.2 | pass | 5 | None | e02 | s01 | equipID4
DCCTable
tableId | TempCal
itemRef | itemID1 itemID3
settingRef | setting6
numRows | 5
numColumns | 14
scope | - | reference | reference | reference | itemIndication | itemBias | itemBias | itemBias | itemBias | itemBias | itemIndication | - | - | -
dataCategory | - | TargetValue | Value | Value | Value | Value | ExpandedUncertainty | UncertaintyCoverageFactor_k | AcceptanceLimitUpper | Conformity | repeatability | - | ExpandedUncertainty | Conformity
measurand | - | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Temperature | Measure.Resistance | Measure.Resistance | Measure.Temperature | -
unit | - | \degreecelsius | \kelvin | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \degreecelsius | \ohm | - | - | -
metaDataType | customerTag | Data | Data | Data | Data | Data | Data | Data | Data | Data | Data | accreditationException | Exception | Statement
humanHeading | Customer Tags | Calibration Point | Reference Temperature | Reference Temperature in instrument units | Instrument indication | Instrument Error | Uncertainty | k | Upper acceptance limit for item bias | Conformaty statement | Indicated resistance of the calibration item | Accreditation exception | Exception applies | Basis of conformity statement
data_row1 | T0_0_degC | 0 | 273.16 | 0.01 | -0.1 | -0.1 | 0.05 | 2 | 0.2 | pass | 1 | None | e03 | s01
data_row2 | T1_15_degC | 15 | 288.16 | 15.01 | 15.1 | 0.1 | 0.05 | 2 | 0.2 | pass | 2 | None | None | s01
data_row3 | T2_25_degC | 25 | 298.17 | 25.02 | 25.2 | 0.2 | 0.05 | 2 | 0.2 | pass | 3 | None | None | s01
data_row4 | T3_15_degC | 15 | 288.16 | 15.01 | 15.3 | 0.3 | 0.05 | 2 | 0.2 | fail | 4 | None | e01 | s01
data_row5 | T4_0_degC | 0 | 273.16 | 0.01 | 0 | 0 | 0.05 | 2 | 0.2 | pass | 5 | None | e02 | s01

## Software
swID | name | release | type | description | content | file | formula

## Locations
Category | id | Name1 | Name2 | Street1 | StreetNo | Column1 | City | PostCode | PO-BOX | CountryCode | further | p
location | cust | Danish Professional Company |  | Målervej | 16, 1. tv |  | Måløv | 9218 |  | DK
location | lab | DFM |  | kogle alle | 5 |  | Hørsholm | 2970 |  | DK
location | field1
location | field2 | [10 empty] | 1

## OldStatements
| id | exceptionRef | name en | description | name da | description da | traceable | norm | reference | declaration | valid | date | preiod | respAuthority | data | nonSIDefinition | nonSIUnits | location
statement | statement01 | exception01 exception02 | Moonphase | Unless otherwise stated, the measurements were caried out at full moon. I.e. $M>=0.95M_{max}$. | Månefase | Med mindre andet er oplyst er alle målinger udført ved fuldmåne. Dvs: $M>=0.95M_{max}$.
statement | statement02 |  | Reprint | Excerpts of this report may only be reproduced with the written permission of the calibration laboratory. | Gengivelse af rapport i uddrag | Denne rapport må ikke gengives i uddrag undtaget med laboratoriets skriftlige tilladelse.
statement | statement03
exception | e01 | statement01 |  | Measurements marked in exception column refering to this exception were carried out at half moon.
exception | e02 | statement01 |  | Measurements marked in exception column refering to this exception were carried out at new moon.
exception | e03 | method01 |  | Data marked with reference to this exception has increased uncertainty relative to the laboratory's best measurement capability due to ill condition of the calibrated item.
CATEGOR

## Equipment
| Category | id | customerId | description | swRef | manufacturer | productName | productNumber | serialNumber
equipment | item | itemID1 | NN32 | Temperature sensor | nan | Amitek | Platinum Super | 12 | X34hwk4579
equipment | item | itemID2 | NN14 | display unit |  | Amitek | Gold edition | 13 | afl234jfeee
equipment | item | itemID3 | NN15 | another display unit |  | Amitek | silver edition | L45 | lqmdu2498710
equipment | Reference | equipID4 | DFM 1542 | Acetylene stabilised Laser at 1542 nm |  | DFM | stabilaser | JPX001 | 1