## Definitions
Parameter | Value | stringISO3166Type | stringISO639Type | yesno | transactionContentType | statementCategoryType | accreditationApplicabilityType | accreditationNormType | equipmentCategoryType | operationalStatusType | performanceLocationType | conformityStatusType | scopeType | dataCategoryType | quantityType | tableCategoryType | approachToTargetRestrictType | quantityCodeSystemType | geoPositionSystemType | contactAndLocationColumnHeadingNamesType | statementColumnHeadingNamesType | equipmentColumnHeadingNamesType | settingColumnHeadingNamesType | measurementConfigColumnHeadingNamesType | quantityUnitDefColumnHeadingNamesType
Program File | ioDccGuiTool.py | AD | aa | y | digitalCalibrationCertificate | general | partial | ISO 17025 | deviceForMeasurement | as found | atProvider | pass | reference | - | - | calibrationResult | a | ISO/IEC 80000 | WGS84 | @id | @id | @id | @id | @id | @id
Program Version | v0.0.3 | AE | ab | n | digitalTestReport | attention | wholly | ISO 17034 | transferDevice | after adjustment | inField | fail | indication | value | quantityUnitDefRef | calibrationCurve | b | si-digital-framework.org |  | @imageRefs | @category | @category | @equipmentRef | heading | @idRef
SchemaFile | dcx.xsd | AF | ae |  | digitalReportOfSampling | method |  |  | referenceStandard | after maintenance |  | conditionalPass | bias | targetValue | 3-1.1¦length¦m | dataFittingResult |  | electropedia.org |  | name | @imageRefs | heading | heading | deviceForMeasurementRefs | @quantityCodeSystem
SchemaVersion | 1.0.0 | AG | af |  | digitalMeasurementReport | equipment |  |  | referenceMaterial | after maintenance and adjustment |  | conditionalFail | environment | expandedUncertainty | 3-1.2¦width, breadth¦m | measurementSeries |  | mlayer.org |  | VATIN | heading | manufacturer | body | settingRefs | @statementRefs
xml file name | DCX_set_of_weights.xml | AI | ak |  | digitalExaminationCertificate | exception | [5 empty] | noPass | modelIn | statStd | 3-1.3¦altitude, depth, height¦m |  |  | qudt.org |  | url | body | modelName | parameter | referenceRefs | heading
xml file path | I:/MS/4006-03 AI metrologi/Software/DCCtables/master/Examples/M01 Set of weights/DCX_set_of_weights.xml | AL | am |  | digitalCertificateOfConformity | comment | [5 empty] | noFail | modelOut | statMax | 3-1.4¦thickness¦m |  |  | ucum.org |  | address | externalReference | modelNumber | value | statementRefs | quantityCode
xml languages | da en | AM | an |  | request:digitalCalibrationCertificate | accreditation | [6 empty] | Other | statMin | 3-1.5¦diameter¦m |  |  | ptb.de |  | address/street |  | serialNumber | unit | operationalStatus | unitUsed
selected Languages | en | AO | ar |  | request:digitalTestReport | accreditationException | [6 empty] | - | correction | 3-1.6¦radius¦m |  |  | other |  | address/streetNo |  | lotNumber | softwareInstruction | body | functionToSIunit
|  | AQ | as |  | request:digitalReportOfSampling | decisionRule | [7 empty] | conformity | 3-1.7¦path length, arc length¦m |  |  |  |  | address/postOfficeBox |  | productClass | statementRefs |  | unitSI
|  | AR | av |  | request:digitalMeasurementReport | norm | [7 empty] | correlation | 3-1.8¦distance¦m |  |  |  |  | address/city |  | clientId |  |  | externalRefs
|  | AS | ay |  | request:digitalExaminationCertificate | traceability | [7 empty] | rowTag | 3-1.9¦radial distance¦m |  |  |  |  | address/district |  | serviceProviderId
|  | AT | az |  | request:digitalCertificateOfConformity | clientRequirement | [7 empty] | usedReferenceRef | 3-1.10¦position vector¦m |  |  |  |  | address/state |  | prevCalibDate
|  | AU | ba |  | template:digitalCalibrationCertificate | [8 empty] | methodRef | 3-1.11¦displacement¦m |  |  |  |  | address/postalCode |  | calDueDate
|  | AW | be |  | template:digitalTestReport | [8 empty] | exceptionRef | 3-1.12¦radius of curvature¦m |  |  |  |  | address/country |  | prevCertId
|  | AX | bg |  | template:digitalReportOfSampling | [8 empty] | traceabilityRef | 3-2¦curvature¦m-1 |  |  |  |  | contactInfo |  | prevCertProviderName
|  | AZ | bi |  | template:digitalMeasurementReport | [8 empty] | attentionRef | 3-3¦area¦m2 |  |  |  |  | contactInfo/attPerson
|  | BA | bm |  | template:digitalExaminationCertificate | [8 empty] | commentRef | 3-4¦volume¦m3 |  |  |  |  | contactInfo/email
|  | BB | bn |  | template:digitalCertificateOfConformity | [8 empty] | decisionRuleRef | 3-5¦angular measure¦rad |  |  |  |  | contactInfo/mobile
|  | BD | bo | [10 empty] | accreditationExceptionRef | 3-6¦rotational displacement, angular displacement¦rad |  |  |  |  | contactInfo/phone
|  | BE | br | [10 empty] | normRef | 3-7¦phase angle¦rad |  |  |  |  | contactInfo/fax
|  | BF | bs | [10 empty] | measurementSeriesRef | 3-8¦solid angular measure¦sr |  |  |  |  | geoPosition
|  | BG | ca | [10 empty] | uncertaintyCoverageFactor_k | 3-9¦duration, time¦s |  |  |  |  | geoPosition/@geoPositionSystem
|  | BH | ce | [10 empty] | uncertaintyCoverageProbability | 3-10.1¦velocity¦m.s-1 |  |  |  |  | geoPosition/longitude
|  | BI | ch | [10 empty] | toleranceLimitLower | 3-10.2¦speed¦m.s-1 |  |  |  |  | geoPosition/latitude
|  | BJ | co | [10 empty] | toleranceLimitUpper | 3-11¦acceleration¦m.s-2 |  |  |  |  | geoPosition/altitude
|  | BL | cr | [10 empty] | acceptanceLimitLower | 3-12¦angular velocity¦rad.s-1 |  |  |  |  | body
|  | BM | cs | [10 empty] | acceptanceLimitUpper | 3-13¦angular acceleration¦rad.s-2
|  | BN | cu | [10 empty] | approachToTarget | 3-14¦period duration, period¦s
|  | BO | cv | [10 empty] | other | 3-15¦time constant¦s
|  | BQ | cy | [11 empty] | 3-16¦rotation¦1
|  | BR | da | [11 empty] | 3-17.1¦frequency¦Hz
|  | BS | de | [11 empty] | 3-17.2¦rotational frequency¦s-1
|  | BT | dv | [11 empty] | 3-18¦angular frequency¦rad.s-1
|  | BV | dz | [11 empty] | 3-19¦wavelength¦m
|  | BW | ee | [11 empty] | 3-20¦repetency, wavenumber¦m-1
|  | BY | el | [11 empty] | 3-21¦wave vector¦m-1
|  | BZ | en | [11 empty] | 3-22¦angular repetency, angular wavenumber¦m-1
|  | CA | eo | [11 empty] | 3-23.1¦phase velocity, phase speed¦m.s-1
|  | CC | es | [11 empty] | 3-23.2¦group velocity, group speed¦m.s-1
|  | CD | et | [11 empty] | 3-24¦damping coefficient¦s-1
|  | CF | eu | [11 empty] | 3-25¦logarithmic decrement¦1
|  | CG | fa | [11 empty] | 3-26.1¦attenuation, extinction, attenuation length¦m-1
|  | CH | ff | [11 empty] | 3-26.2¦phase coefficient¦rad.m-1
|  | CI | fi | [11 empty] | 3-26.3¦propagation coefficient¦m-1
|  | CK | fj | [11 empty] | 4-1¦mass¦kg
|  | CL | fo | [11 empty] | 4-2¦mass density, density¦kg.m-3
|  | CM | fr | [11 empty] | 4-3¦specific volume¦kg-1.m-3
|  | CN | fy | [11 empty] | 4-4¦relative mass density, relative density¦1
|  | CO | ga | [11 empty] | 4-5¦surface mass density, surface density¦kg.m-2
|  | CR | gd | [11 empty] | 4-6¦linear mass density, linear density¦kg.m-1
|  | CU | gl | [11 empty] | 4-7¦moment of inertia¦kg.m2
|  | CV | gn | [11 empty] | 4-8¦momentum¦kg.m.s-2
|  | CW | gu | [11 empty] | 4-9.1¦force¦N
|  | CX | gv | [11 empty] | 4-9.2¦weight¦N
|  | CY | ha | [11 empty] | 4-9.3¦static friction force, static friction¦N
|  | CZ | he | [11 empty] | 4-9.4¦kinetic friction force, dynamic friction force¦N
|  | DE | hi | [11 empty] | 4-9.5¦rolling resistance, rolling drag, rolling friction force¦N
|  | DJ | ho | [11 empty] | 4-9.6¦drag force¦N
|  | DK | hr | [11 empty] | 4-10¦impulse¦N.s
|  | DM | ht | [11 empty] | 4-11¦angular momentum¦kg.m2.s-1
|  | DO | hu | [11 empty] | 4-12.1¦moment of force¦N.m
|  | DZ | hy | [11 empty] | 4-12.2¦torque¦N.m
|  | EC | hz | [11 empty] | 4-13¦angular impulse¦N.m.s
|  | EE | ia | [11 empty] | 4-14.1¦pressure¦Pa
|  | EG | id | [11 empty] | 4-14.2¦gauge pressure¦Pa
|  | EH | ie | [11 empty] | 4-15¦stress¦Pa
|  | ER | ig | [11 empty] | 4-16.1¦normal stress¦Pa
|  | ES | ii | [11 empty] | 4-16.2¦shear stress¦Pa
|  | ET | ik | [11 empty] | 4-17.1¦strain¦1
|  | FI | io | [11 empty] | 4-17.2¦relative linear strain¦1
|  | FJ | is | [11 empty] | 4-17.3¦shear strain¦1
|  | FK | it | [11 empty] | 4-17.4¦relative volume strain¦1
|  | FM | iu | [11 empty] | 4-18¦Poisson number¦1
|  | FO | ja | [11 empty] | 4-19.1¦modulus of elasticity, Young modulus¦Pa
|  | FR | jv | [11 empty] | 4-19.2¦modulus of rigidity, shear modulus¦Pa
|  | GA | ka | [11 empty] | 4-19.3¦modulus of compression, bulk modulus¦Pa
|  | GB | kg | [11 empty] | 4-20¦compressibility¦Pa-1
|  | GD | ki | [11 empty] | 4-21.1¦second axial moment of area¦m4
|  | GE | kj | [11 empty] | 4-21.2¦second polar moment of area¦m4
|  | GF | kk | [11 empty] | 4-22¦section modulus¦m3
|  | GG | kl | [11 empty] | 4-23.1¦static friction coefficient, static friction factor, coefficient of static friction¦1
|  | GH | km | [11 empty] | 4-23.2¦kinetic friction factor, dynamic friction factor¦1
|  | GI | kn | [11 empty] | 4-23.3¦rolling resistance factor, RRC¦1
|  | GL | ko | [11 empty] | 4-23.4¦drag coefficient, drag factor¦1
|  | GM | kr | [11 empty] | 4-24¦dynamic viscosity, (viscosity)¦Pa.s
|  | GN | ks | [11 empty] | 4-25¦kinematic viscosity¦m2.s-1
|  | GP | ku | [11 empty] | 4-26¦surface tension, surface energy¦N.m-1
|  | GQ | kv | [11 empty] | 4-27¦power [mechanics]¦W
|  | GR | kw | [11 empty] | 4-28.1¦potential energy¦J
|  | GS | ky | [11 empty] | 4-28.2¦kinetic energy¦J
|  | GT | la | [11 empty] | 4-28.3¦mechanical energy¦J
|  | GU | lb | [11 empty] | 4-28.4¦mechanical work, work¦J
|  | GW | lg | [11 empty] | 4-29¦efficiency [mechanics]¦1
|  | GY | li | [11 empty] | 4-30.1¦mass flow¦kg.m-2.s-1
|  | HK | ln | [11 empty] | 4-30.2¦mass flow rate¦kg.s-1
|  | HM | lo | [11 empty] | 4-30.3¦mass change rate¦kg.s-1
|  | HN | lt | [11 empty] | 4-31¦volume flow rate¦m3.s-1
|  | HR | lu | [11 empty] | 4-32¦action¦J.s
|  | HT | lv | [11 empty] | 5-1¦thermodynamic temperature¦K
|  | HU | mg | [11 empty] | 5-2¦Celsius temperature¦℃
|  | ID | mh | [11 empty] | 5-3.1¦linear expansion coefficient¦K-1
|  | IE | mi | [11 empty] | 5-3.2¦cubic expansion coefficient, volumetric expansion coefficient¦K-1
|  | IL | mk | [11 empty] | 5-3.3¦relative pressure coefficient¦K-1
|  | IM | ml | [11 empty] | 5-4¦pressure coefficient¦Pa.K-1
|  | IN | mn | [11 empty] | 5-5.1¦isothermal compressibility¦Pa-1
|  | IO | mr | [11 empty] | 5-5.2¦isentropic compressibility¦Pa-1
|  | IQ | ms | [11 empty] | 5-6.1¦heat, amount of heat¦J
|  | IR | mt | [11 empty] | 5-6.2¦latent heat¦J
|  | IS | my | [11 empty] | 5-7¦heat flow rate¦W
|  | IT | na | [11 empty] | 5-8¦density of heat flow rate¦W.m-2
|  | JE | nb | [11 empty] | 5-9¦thermal conductivity¦W.m-1.K-1
|  | JM | nd | [11 empty] | 5-10.1¦coefficient of heat transfer¦W.m-2.K-1
|  | JO | ne | [11 empty] | 5-10.2¦surface coefficient of heat transfer¦W.m-2.K-1
|  | JP | ng | [11 empty] | 5-11¦thermal insulance, coefficient of thermal insulance¦m2.K.W-1
|  | KE | nl | [11 empty] | 5-12¦thermal resistance¦K.W-1
|  | KG | nn | [11 empty] | 5-13¦thermal conductance¦W.K-1
|  | KH | no | [11 empty] | 5-14¦thermal diffusivity¦m2.s-1
|  | KI | nr | [11 empty] | 5-15¦heat capacity¦J.K-1
|  | KM | nv | [11 empty] | 5-16.1¦specific heat capacity ¦J.kg-1.K-1
|  | KN | ny | [11 empty] | 5-16.2¦specific heat capacity at constant pressure, specific isobaric heat capacity¦J.kg-1.K-1
|  | KP | oc | [11 empty] | 5-16.3¦specific heat capacity at constant volume, specific isochoric heat capacity¦J.kg-1.K-1
|  | KR | oj | [11 empty] | 5-16.4¦specific heat capacity at saturated vapour pressure¦J.kg-1.K-1
|  | KW | om | [11 empty] | 5-17.1¦ratio of the specific heat capacities¦1
|  | KY | or | [11 empty] | 5-17.2¦isentropic exponent¦1
|  | KZ | os | [11 empty] | 5-18¦entropy¦J.K-1
|  | LA | pa | [11 empty] | 5-19¦specific entropy¦J.kg-1.K-1
|  | LB | pi | [11 empty] | 5-20.1¦energy [thermodynamics]¦J
|  | LC | pl | [11 empty] | 5-20.2¦internal energy, thermodynamic energy¦J
|  | LI | ps | [11 empty] | 5-20.3¦enthalpy¦J
|  | LK | pt | [11 empty] | 5-20.4¦Helmholtz energy, Helmholtz function¦J
|  | LR | qu | [11 empty] | 5-20.5¦Gibbs energy, Gibbs function¦J
|  | LS | rm | [11 empty] | 5-21.1¦specific energy¦J.kg-1
|  | LT | rn | [11 empty] | 5-21.2¦specific internal energy, specific thermodynamic energy¦J.kg-1
|  | LU | ro | [11 empty] | 5-21.3¦specific enthalpy¦J.kg-1
|  | LV | ru | [11 empty] | 5-21.4¦specific Helmholtz energy, specific Helmholtz function¦J.kg-1
|  | LY | rw | [11 empty] | 5-21.5¦specific Gibbs energy, specific Gibbs function¦J.kg-1
|  | MA | sa | [11 empty] | 5-22¦Massieu function¦J.K-1
|  | MC | sc | [11 empty] | 5-23¦Planck function¦J.K-1
|  | MD | sd | [11 empty] | 5-24¦Joule-Thomson coefficient¦K.Pa-1
|  | ME | se | [11 empty] | 5-25.1¦efficiency [thermodynamics]¦1
|  | MF | sg | [11 empty] | 5-25.2¦maximum efficiency¦1
|  | MG | si | [11 empty] | 5-26¦specific gas constant¦J.kg-1.K-1
|  | MH | sk | [11 empty] | 5-27¦mass concentration of water¦kg.m-3
|  | MK | sl | [11 empty] | 5-28¦mass concentration of water vapour, absolute humidity¦kg.m-3
|  | ML | sm | [11 empty] | 5-29¦mass ratio of water to dry matter¦1
|  | MM | sn | [11 empty] | 5-30¦mass ratio of water vapour to dry gas¦1
|  | MN | so | [11 empty] | 5-31¦mass fraction of water¦1
|  | MO | sq | [11 empty] | 5-32¦mass fraction of dry matter¦1
|  | MP | sr | [11 empty] | 5-33¦relative humidity, (RH)¦1
|  | MQ | ss | [11 empty] | 5-34¦relative mass concentration of vapour¦1
|  | MR | st | [11 empty] | 5-35¦relative mass ratio of vapour¦1
|  | MS | su | [11 empty] | 5-36¦dew-point temperature¦K
|  | MT | sv | [11 empty] | 6-1¦electric current¦A
|  | MU | sw | [11 empty] | 6-2.1¦electric charge¦C
|  | MV | ta | [11 empty] | 6-2.2¦elementary charge¦C
|  | MW | te | [11 empty] | 6-3¦electric charge density, volumic (electric) charge¦C.m-3
|  | MX | tg | [11 empty] | 6-4¦surface density of electric charge, areic (electric) charge¦C.m-2
|  | MY | th | [11 empty] | 6-5¦linear density of electric charge, lineic (electric) charge¦C.m-1
|  | MZ | ti | [11 empty] | 6-6¦electric dipole moment¦C.m
|  | NA | tk | [11 empty] | 6-7¦electric polarization¦C.m-2
|  | NC | tl | [11 empty] | 6-8¦electric current density¦A.m-2
|  | NE | tn | [11 empty] | 6-9¦linear electric current density¦A.m-1
|  | NF | to | [11 empty] | 6-10¦electric field strength¦V.m-1
|  | NG | tr | [11 empty] | 6-11.1¦electric potential¦V
|  | NI | ts | [11 empty] | 6-11.2¦electric potential difference¦V
|  | NL | tt | [11 empty] | 6-11.3¦voltage, electric tension¦V
|  | NO | tw | [11 empty] | 6-11.4¦induced voltage, induced electric tension¦V
|  | NP | ty | [11 empty] | 6-12¦electric flux density, electric displacement¦C.m-2
|  | NR | ug | [11 empty] | 6-13¦capacitance¦F
|  | NU | uk | [11 empty] | 6-14.1¦electric constant, permittivity of vacuum¦F.m-1
|  | NZ | ur | [11 empty] | 6-14.2¦permittivity¦F.m-1
|  | OM | uz | [11 empty] | 6-15¦relative permittivity¦1
|  | PA | ve | [11 empty] | 6-16¦electric susceptibility¦1
|  | PE | vi | [11 empty] | 6-17¦electric flux¦C
|  | PF | vo | [11 empty] | 6-18¦displacement current density¦A.m-2
|  | PG | wa | [11 empty] | 6-19.1¦displacement current¦A
|  | PH | wo | [11 empty] | 6-19.2¦total current¦A
|  | PK | xh | [11 empty] | 6-20¦total current density¦A.m-2
|  | PL | yi | [11 empty] | 6-21¦magnetic flux density¦T
|  | PM | yo | [11 empty] | 6-22.1¦magnetic flux¦Wb
|  | PN | za | [11 empty] | 6-22.2¦protoflux¦Wb
|  | PR | zh | [11 empty] | 6-22.3¦linked magnetic flux¦Wb
|  | PS | zu | [11 empty] | 6-22.4¦total magnetic flux¦Wb
|  | PT | [12 empty] | 6-23¦magnetic moment, magnetic area moment¦A.m2
|  | PW | [12 empty] | 6-24¦magnetization¦A.m-1
|  | PY | [12 empty] | 6-25¦magnetic field strength, magnetizing field¦A.m-1
|  | QA | [12 empty] | 6-26.1¦magnetic constant, permeability of vacuum¦H.m-1
|  | RE | [12 empty] | 6-26.2¦permeability¦H.m-1
|  | RO | [12 empty] | 6-27¦relative permeability¦1
|  | RS | [12 empty] | 6-28¦magnetic susceptibility¦1
|  | RU | [12 empty] | 6-29¦magnetic polarization¦T
|  | RW | [12 empty] | 6-30¦magnetic dipole moment¦Wb.m
|  | SA | [12 empty] | 6-31¦coercivity, coercive field strength¦A.m-1
|  | SB | [12 empty] | 6-32¦magnetic vector potential¦J.A-1.m-1
|  | SC | [12 empty] | 6-33¦electromagnetic energy density¦J.m-3
|  | SD | [12 empty] | 6-34¦Poynting vector¦W.m-2
|  | SE | [12 empty] | 6-35.1¦phase speed of electromagnetic waves¦m.s-1
|  | SG | [12 empty] | 6-35.2¦speed of light in vacuum, light speed in vacuum, luminal speed¦m.s-1
|  | SH | [12 empty] | 6-36¦source voltage, source tension¦V
|  | SI | [12 empty] | 6-37.1¦magnetic potential¦A
|  | SJ | [12 empty] | 6-37.2¦magnetic tension¦A
|  | SK | [12 empty] | 6-37.3¦magnetomotive force¦A
|  | SL | [12 empty] | 6-38¦number of turns in a winding¦1
|  | SM | [12 empty] | 6-39¦reluctance¦H-1
|  | SN | [12 empty] | 6-40¦permeance¦H
|  | SO | [12 empty] | 6-41.1¦inductance, self-inductance¦H
|  | SR | [12 empty] | 6-41.2¦mutual inductance¦H
|  | SS | [12 empty] | 6-42.1¦coupling factor¦1
|  | ST | [12 empty] | 6-42.2¦leakage factor¦1
|  | SV | [12 empty] | 6-43¦conductivity¦S.m-1
|  | SX | [12 empty] | 6-44¦resistivity¦Ω.m
|  | SY | [12 empty] | 6-45¦power, instantaneous power¦W
|  | SZ | [12 empty] | 6-46¦resistance¦Ω
|  | TC | [12 empty] | 6-47¦conductance¦S
|  | TD | [12 empty] | 6-48¦phase difference¦rad
|  | TF | [12 empty] | 6-49¦electric current phasor¦A
|  | TG | [12 empty] | 6-50¦voltage phasor, electric tension phasor¦V
|  | TH | [12 empty] | 6-51.1¦impedance, complex impedance¦Ω
|  | TJ | [12 empty] | 6-51.2¦impedance of vacuum, wave impedance of vacuum¦V.A-1
|  | TK | [12 empty] | 6-51.3¦resistance¦Ω
|  | TL | [12 empty] | 6-51.4¦reactance¦Ω
|  | TM | [12 empty] | 6-51.5¦apparent impedance, (modulus of impedance)¦Ω
|  | TN | [12 empty] | 6-52.1¦admittance, complex admittance¦S
|  | TO | [12 empty] | 6-52.2¦admittance of vacuum¦A.V-1
|  | TR | [12 empty] | 6-52.3¦conductance (for complex impedance)¦S
|  | TT | [12 empty] | 6-52.4¦susceptance¦S
|  | TV | [12 empty] | 6-52.5¦apparent admittance, modulus of admittance¦S
|  | TW | [12 empty] | 6-53¦quality factor¦1
|  | TZ | [12 empty] | 6-54¦loss factor, dissipation factor¦1
|  | UA | [12 empty] | 6-55¦loss angle¦rad
|  | UG | [12 empty] | 6-56¦active power¦W
|  | UM | [12 empty] | 6-57¦apparent power¦V.A
|  | US | [12 empty] | 6-58¦power factor¦1
|  | UY | [12 empty] | 6-59¦complex power¦V.A
|  | UZ | [12 empty] | 6-60¦reactive power¦V.A
|  | VA | [12 empty] | 6-61¦non-active power¦V.A
|  | VC | [12 empty] | 6-62¦active energy¦J
|  | VE | [12 empty] | 7-1.1¦speed of light in a medium¦m.s-1
|  | VG | [12 empty] | 7-1.2¦refractive index¦1
|  | VI | [12 empty] | 7-2.1¦radiant energy [electromagnetism]¦J
|  | VN | [12 empty] | 7-2.2¦spectral radiant energy¦J.m-1
|  | VU | [12 empty] | 7-3.1¦radiant energy density¦J.m-3
|  | WF | [12 empty] | 7-3.2¦spectral radiant energy density in terms of wavelength¦J.m-4
|  | WS | [12 empty] | 7-3.3¦spectral radiant energy density in terms of wavenumber¦J.m-2
|  | YE | [12 empty] | 7-4.1¦radiant flux, radiant power¦W
|  | YT | [12 empty] | 7-4.2¦spectral radiant flux, spectral radiant power¦W.m-1
|  | ZA | [12 empty] | 7-5.1¦radiant intensity¦W.sr-1
|  | ZM | [12 empty] | 7-5.2¦spectral radiant intensity¦W.sr-1.m-1
|  | ZW | [12 empty] | 7-6.1¦radiance¦W.sr-1.m-2
7-6.2¦spectral radiance¦W.sr-1.m-3
7-7.1¦irradiance¦W.m-2
7-7.2¦spectral irradiance¦W.m-3
7-8.1¦radiant exitance, (radiant emittance DEPRICATED)¦W.m-2
7-8.2¦spectral radiant exitance¦W.m-3
7-9.1¦radiant exposure¦J.m-2
7-9.2¦spectral radiant exposure¦J.m-3
7-10.1¦luminous efficiency [specified photometric condition]¦1
7-10.2¦spectral luminous efficiency [specified photometric condition]¦1
7-11.1¦luminous efficacy of radiation [specified photometric condition]¦lm.W-1
7-11.2¦spectral luminous efficacy [specified photometric condition]¦lm.W-1
7-11.3¦maximum luminous efficacy [specified photometric condition]¦lm.W-1
7-11.4¦luminous efficacy of a source¦lm.W-1
7-12¦luminous energy, (DEPRECATED: quantity of light)¦lm.s
7-13¦luminous flux¦lm
7-14¦luminous intensity¦cd
7-15¦luminance¦cd.m-2
7-16¦illuminance¦lx
7-17¦luminous exitance¦lm.m-2
7-18¦luminous exposure, (DEPRECATED: quantity of illumination, light exposure)¦lx.s
7-19.1¦photon number, number of photons¦1
7-19.2¦photon energy¦J
7-20¦photon flux¦s-1
7-21¦photon intensity¦s-1.sr-1
7-22¦photon radiance¦m-2.s-1.sr-1
7-23¦photon irradiance¦m-2.s-1
7-24¦photon exitance¦m-2.s-1
7-25¦photon exposure¦m-2
7-26.1¦tristimulus values for the CIE 1931 standard colorimetric observer¦-
7-26.2¦tristimulus values for the CIE 1964 standard colorimetric observer¦-
7-27.1¦CIE colour-matching functions for the CIE 1931 standard colorimetric observer¦1
7-27.2¦CIE colour-matching functions for the CIE 1964 standard colorimetric observer¦1
7-28.1¦chromaticity coordinates in the CIE 1931 standard¦1
7-28.2¦chromaticity coordinates in the CIE 1964 standard¦1
7-29.1¦colour temperature¦K
7-29.2¦correlated colour temperature¦K
7-30.1¦emissivity¦1
7-30.2¦emissivity at a specified wavelength¦1
7-31.1¦absorptance¦1
7-31.2¦luminous absorptance¦1
7-31.3¦reflectance, spectral reflectance¦1
7-31.4¦luminous reflectance¦1
7-31.5¦transmittance¦1
7-31.6¦luminous transmittance¦1
7-32.1¦transmittance optical density, optical density, decadic absorbance¦1
7-32.2¦Napierian absorbance¦1
7-33.1¦radiance factor, (vs perfect diffuser) ¦1
7-33.2¦luminance factor, spectral luminance factor ¦1
7-34¦reflectance factor, (vs perfect diffuser)¦1
7-35.1¦linear attenuation coefficient, linear extinction coefficient [radiometry]¦m-1
7-35.2¦linear absorption coefficient [radiometry]¦m-1
7-36.1¦mass attenuation coefficient [radiometry]¦kg-1.m2
7-36.2¦mass absorption coefficient [radiometry]¦kg-1.m2
7-37¦molar absorption coefficient [radiometry]¦m2.mol-1
8-1¦frequency range, logarithmic¦1
8-2.1¦static pressure¦Pa
8-2.2¦sound pressure¦Pa
8-3¦sound particle displacement¦m
8-4¦sound particle velocity¦m.s-1
8-5¦sound particle acceleration¦m.s-2
8-6¦volume velocity, volume flow rate¦m3.s-1
8-7¦sound energy density¦J.m-3
8-8¦sound energy¦J
8-9¦sound power¦W
8-10¦sound intensity¦W.m-2
8-11¦sound exposure¦Pa2.s
8-12¦characteristic impedance for longitudinal waves¦Pa.s.m-1
8-13¦acoustic impedance¦Pa.s.m-3
8-14¦sound pressure level¦dB
8-15¦sound power level¦dB
8-16¦sound exposure level¦dB
8-17¦reverberation time¦s
9-1¦number of entities¦1
9-2¦amount of substance, (DEPRECATED: number of moles)¦mol
9-3¦relative atomic mass¦1
9-4¦molar mass¦kg.mol-1
9-5¦molar volume¦m3.mol-1
9-6.1¦molar internal energy¦J.mol-1
9-6.2¦molar enthalpy¦J.mol-1
9-6.3¦molar Helmholtz energy¦J.mol-1
9-6.4¦molar Gibbs energy¦J.mol-1
9-7¦molar heat capacity¦J.mol-1.K-1
9-8¦molar entropy¦J.mol-1.K-1
9-9.1¦particle concentration¦m-3
9-9.2¦molecular concentration¦m-3
9-10¦mass concentration¦kg.m-3
9-11¦mass fraction¦1
9-12.1¦amount-of-substance concentration¦mol.m-3
9-12.2¦standard amount-of-substance concentration¦mol.m-3
9-13¦amount-of-substance fraction¦1
9-14¦volume fraction¦1
9-15¦molality¦mol.kg-1
9-16¦latent heat of phase transition, enthalpy of phase transition¦J
9-17¦chemical potential [chemistry]¦J.mol-1
9-18¦absolute activity¦1
9-19¦partial pressure¦Pa
9-20¦fugacity¦Pa
9-21¦standard chemical potential¦J.mol-1
9-22¦activity factor¦1
9-23¦standard absolute activity (in a mixture)¦1
9-24¦activity of solute, relative activity of solute¦1
9-25¦activity coefficient¦1
9-26¦standard absolute activity (in a solution)¦1
9-27.1¦activity of solvent, relative activity of solvent¦1
9-27.2¦osmotic factor of solvent, osmotic coefficient of solvent A¦-
9-27.3¦standard absolute activity of solvent (in a dilute solution)¦-
9-28¦osmotic pressure¦Pa
9-29¦stoichiometric number of substance¦1
9-30¦affinity of a chemical reaction¦J.mol-1
9-31¦extent of reaction¦mol
9-32¦standard equilibrium constant, thermodynamic equilibrium constant¦1
9-33¦equilibrium constant (pressure basis)¦-
9-34¦equilibrium constant (concentration basis)¦-
9-35.1¦microcanonical partition function¦1
9-35.2¦canonical partition function¦1
9-35.3¦grand canonical partition function, grand partition function¦1
9-35.4¦molecular partition function, partition function of a molecule¦1
9-36.1¦statistical weight of subsystem¦1
9-36.2¦degeneracy, multiplicity¦1
9-37.1¦molar gas constant¦J.mol-1.K-1
9-37.2¦specific gas constant¦J.kg-1.K-1
9-38¦mean free path [chemistry]¦m
9-39¦diffusion coefficient [chemistry]¦m2.s-1
9-40.1¦thermal diffusion ratio¦1
9-40.2¦thermal diffusion factor¦1
9-41¦thermal diffusion coefficient¦m2.s-1
9-42¦ionic strength¦mol.kg-1
9-43¦degree of dissociation, dissociation fraction¦1
9-44¦electrolytic conductivity¦S.m-1
9-45¦molar conductivity ¦S.m2.mol-1
9-46¦transport number of the ion B, current fraction of the ion B¦1
9-47¦angle of optical rotation¦rad
9-48¦molar optical rotary power¦rad.m2.mol-1
9-49¦specific optical rotary power¦rad.m2.kg-1
10-1.1¦atomic number, proton number¦1
10-1.2¦neutron number¦1
10-1.3¦nucleon number, mass number¦1
10-2¦rest mass, proper mass¦kg
10-3¦rest energy¦J
10-4.1¦atomic mass¦kg
10-4.2¦nuclidic mass¦kg
10-4.3¦unified atomic mass constant¦kg
10-5.1¦elementary charge¦C
10-5.2¦charge number, ionization number¦1
10-6¦Bohr radius¦m
10-7¦Rydberg constant¦m-1
10-8¦Hartree energy¦J
10-9.1¦magnetic dipole moment [atomic physics]¦m2.A
10-9.2¦Bohr magneton¦m2.A
10-9.3¦nuclear magneton¦m2.A
10-10¦spin¦kg.m2.s-1
10-11¦total angular momentum¦J.s
10-12.1¦gyromagnetic ratio, magnetogyric ratio, gyromagnetic coefficient¦T-1.s-1
10-12.2¦gyromagnetic ratio (coefficient) of the electron, magnetogyric ratio of the electron¦T-1.s-1
10-13.1¦quantum number¦1
10-13.2¦principal quantum number¦1
10-13.3¦orbital angular momentum quantum number¦1
10-13.4¦magnetic quantum number¦1
10-13.5¦spin quantum number¦1
10-13.6¦total angular momentum quantum number¦1
10-13.7¦nuclear spin quantum number¦1
10-13.8¦hyperfine structure quantum number¦1
10-14.1¦Landé factor, g factor of atom¦1
10-14.2¦g factor of nucleus or nuclear particle¦1
10-15.1¦Larmor angular frequency¦rad.s-1
10-15.2¦Lamor frequency¦s-1
10-15.3¦nuclear precession angular frequency¦rad.s-1
10-16¦cyclotron angular frequency¦rad.s-1
10-17¦gyroradius, Larmor radius¦m
10-18¦nuclear quadrupole moment¦m2
10-19.1¦nuclear radius¦m
10-19.2¦electron radius¦m
10-20¦Compton wavelength¦m
10-21.1¦mass excess¦kg
10-21.2¦mass defect¦kg
10-22.1¦relative mass excess¦1
10-22.2¦relative mass defect¦1
10-23.1¦packing fraction¦1
10-23.2¦binding fraction¦1
10-24¦decay constant, disintegration constant¦s-1
10-25¦mean duration of life, mean life time [atomic and nuclear physics]¦s
10-26¦level width¦J
10-27¦activity¦Bq
10-28¦specific activity, massic activity¦Bq.kg-1
10-29¦activity density, volumic activity, activity concentration¦Bq.m-3
10-30¦surface-activity density¦Bq.m-2
10-31¦half life¦s
10-32¦alpha disintegration energy¦J
10-33¦maximum beta-particle energy¦J
10-34¦beta disintegration energy¦J
10-35¦internal conversion factor¦1
10-36¦particle emission rate¦1
10-37.1¦reaction energy¦J
10-37.2¦resonance energy¦J
10-38.1¦cross section [atomic physics]¦m2
10-38.2¦total cross section [atomic physics]¦m2
10-39¦direction distribution of cross section [atomic physics]¦m2.sr-1
10-40¦energy distribution of cross section [atomic physics]¦m2.J
10-41¦direction and energy distribution of cross section [atomic physics]¦m2.J-1.sr-1
10-42.1¦volumic cross section, macroscopic cross section [atomic physics]¦m-1
10-42.2¦volumic total cross section, macroscopic total cross section [atomic physics]¦m-1
10-43¦particle fluence¦m-2
10-44¦particle fluence rate¦m-2.s-1
10-45¦radiant energy [ionizing radiation]¦J
10-46¦energy fluence¦J.m-2
10-47¦energy fluence rate¦W.m-2
10-48¦particle current density, particle radiance¦m-2.s-1
10-49¦linear attenuation coefficient [ionizing radiation]¦m-1
10-50¦mass attenuation coefficient [ionizing radiation]¦kg-1.m2
10-51¦molar attenuation coefficient¦m2.mol-1
10-52¦atomic attenuation coefficient¦m2
10-53¦half-value thickness¦m
10-54¦total linear stopping power, linear stopping power¦J.m-1
10-55¦total mass stopping power, mass stopping power¦J.m2.kg-1
10-56¦mean linear range¦m
10-57¦mean mass range¦kg.m-2
10-58¦linear ionization¦m-1
10-59¦total ionization¦1
10-60¦average energy loss per elementary charge produced¦J
10-61¦mobility¦m2.V-1.s-1
10-62.1¦particle number density¦m-3
10-62.2¦ion number density, ion density¦m-3
10-63¦recombination coefficient, (recombination factor)¦m3.s-1
10-64¦diffusion coefficient, diffusion coefficient for particle number density¦m2.s-1
10-65¦diffusion coefficient for fluence rate¦m
10-66¦particle source density¦m-3.s-1
10-67¦slowing-down density¦m-3.s-1
10-68¦resonance escape probability¦1
10-69¦lethargy, (logarithmic energy decrement)¦1
10-70¦average logarithmic energy decrement¦1
10-71¦mean free path [atomic physics]¦m
10-72.1¦slowing-down area¦m2
10-72.2¦diffusion area¦m2
10-72.3¦migration area¦m2
10-73.1¦slowing-down length¦m
10-73.2¦diffusion length [atomic physics]¦m
10-73.3¦migration length¦m
10-74.1¦neutron yield per fission¦1
10-74.2¦neutron yield per absorption¦1
10-75¦fast fission factor¦1
10-76¦thermal utilization factor¦1
10-77¦non-leakage probability¦1
10-78.1¦multiplication factor¦1
10-78.2¦infinite multiplication factor¦1
10-79¦reactor time constant¦s
10-80.1¦energy imparted¦J
10-80.2¦mean energy imparted¦J
10-81.1¦absorbed dose¦Gy
10-81.2¦specific energy imparted¦Gy
10-82¦quality factor [ionizing radiation]¦1
10-83.1¦dose equivalent¦Sv
10-83.2¦dose equivalent rate¦Sv.s-1
10-84¦absorbed-dose rate¦Gy.s-1
10-85¦linear energy transfer¦J.m-1
10-86.1¦kerma¦Gy
10-86.2¦kerma rate¦Gy.s-1
10-87¦mass energy-transfer coefficient¦kg-1.m2
10-88¦exposure [ionizing radiation]¦C.kg-1
10-89¦exposure rate¦C.kg-1.s-1
12-1.1¦lattice vector¦m
12-1.2¦fundamental lattice vectors¦m
12-2.1¦angular reciprocal lattice vector¦m-1
12-2.2¦fundamental reciprocal lattice vectors¦m-1
12-3¦lattice plane spacing¦m
12-4¦Bragg angle¦°
12-5.1¦short-range order parameter¦1
12-5.2¦long-range order parameter¦1
12-5.3¦atomic scattering factor¦1
12-5.4¦structure factor¦1
12-6¦Burgers vector¦m
12-7.1¦particle position vector¦m
12-7.2¦equilibrium position vector [condensed matter physics]¦m
12-7.3¦displacement vector [condensed matter physics]¦m
12-8¦Debye-Waller factor¦1
12-9.1¦angular wavenumber, angular repetency, wave vector [condensed matter physics]¦m-1
12-9.2¦Fermi angular wavenumber, Fermi angular repetency¦m-1
12-9.3¦Debye angular wavenumber, Debye angular repetency¦m-1
12-10¦Debye angular frequency¦s-1
12-11¦Debye temperature¦K
12-12¦density of vibrational states [angular frequency]¦m-3.s
12-13¦thermodynamic Grüneisen parameter¦1
12-14¦Grüneisen parameter¦1
12-15.1¦mean free path of phonons¦m
12-15.2¦mean free path of electrons¦m
12-16¦energy density of states¦J-1.m-3
12-17¦residual resistivity¦Ω.m
12-18¦Lorenz coefficient¦V2.K-2
12-19¦Hall coefficient¦m3.C-1
12-20¦thermoelectric voltage¦V
12-21¦Seebeck coefficient (for substances a and b, thermoelectric power)¦V.K-1
12-22¦Peltier coefficient¦V
12-23¦Thomson coefficient¦V.K-1
12-24.1¦work function¦J
12-24.2¦ionization energy¦J
12-25¦electron affinity [condensed matter physics]¦J
12-26¦Richardson constant¦A.m-2.K-2
12-27.1¦Fermi energy¦J
12-27.2¦gap energy¦J
12-28¦Fermi temperature¦K
12-29.1¦electron density¦m-3
12-29.2¦hole density¦m-3
12-29.3¦intrinsic carrier density¦m-3
12-29.4¦donor density¦m-3
12-29.5¦acceptor density¦m-3
12-30¦effective mass¦kg
12-31¦mobility ratio¦1
12-32.1¦relaxation time [condensed matter]¦s
12-32.2¦carrier lifetime [semiconductors]¦s
12-33¦diffusion length [condensed matter physics]¦m
12-34¦exchange integral¦J
12-35.1¦Curie temperature¦K
12-35.2¦Néel temperature¦K
12-35.3¦superconduction transition temperature¦K
12-36.1¦thermodynamic critical magnetic flux density¦T
12-36.2¦lower critical magnetic flux density¦T
12-36.3¦upper critical magnetic flux density¦T
12-37¦superconductor energy gap¦J
12-38.1¦London penetration depth¦m
12-38.2¦coherence length¦m

## administrativeData
level | description | @value | heading[en] | xsdType | xPath
0 | title | digitalCalibrationCertificate | Calibration Certificate | dcx:transactionContentFieldType | /dcx:digitalCalibrationExchange/dcx:title
0 | subtitle |  |  | dcx:stringWithLangType | /dcx:digitalCalibrationExchange/dcx:subtitle
0 | administrativeData |  |  | dcx:administrativeDataType | /dcx:digitalCalibrationExchange/dcx:administrativeData
1 | coreData |  |  | dcx:coreDataType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData
2 | uniqueDocumentIdentifier | M2318 | Certificate number | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData/dcx:uniqueDocumentIdentifier
2 | clientTaskIdentifier |  |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData/dcx:clientTaskIdentifier
2 | uniqueTemplateIdentifier |  |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData/dcx:uniqueTemplateIdentifier
2 | devicesForMeasurement | item1 item2 |  | dcx:idrefsFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData/dcx:devicesForMeasurement
2 | issueDate | 2023-08-19 |  | dcx:dateFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData/dcx:issueDate
2 | beginPerformanceDate | 2023-08-18 |  | dcx:dateFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData/dcx:beginPerformanceDate
2 | endPerformanceDate | 2023-08-24 |  | dcx:dateFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData/dcx:endPerformanceDate
2 | equipmentReceiptDate | 2023-08-14 |  | dcx:dateFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData/dcx:equipmentReceiptDate
2 | equipmentReturnDate |  |  | dcx:dateFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData/dcx:equipmentReturnDate
2 | performanceLocation | atProvider |  | dcx:performanceLocationFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData/dcx:performanceLocation
2 | requestedLanguages | en |  | dcx:stringISO639FieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:coreData/dcx:requestedLanguages
1 | dcxSoftware |  |  | dcx:dcxSoftwareType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:dcxSoftware
2 | manufacturer |  |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:dcxSoftware/dcx:manufacturer
2 | productName |  |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:dcxSoftware/dcx:productName
2 | version |  |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:dcxSoftware/dcx:version
1 | accreditation |  | Accreditation | dcx:accreditationType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:accreditation
2 | @statementRef |  |  | xs:IDREF | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:accreditation/@statementRef
2 | @imageRefs |  |  | xs:IDREFS | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:accreditation/@imageRefs
2 | accreditationNorm | ISO 17025 |  | dcx:accreditationNormFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:accreditation/dcx:accreditationNorm
2 | accreditationLabId | 255 |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:accreditation/dcx:accreditationLabId
2 | accreditationBody | DANAK |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:accreditation/dcx:accreditationBody
2 | accreditationCountry | DK |  | dcx:stringISO3166FieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:accreditation/dcx:accreditationCountry
2 | accreditationApplicability | wholly |  | dcx:accreditationApplicabilityFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:accreditation/dcx:accreditationApplicability
1 | conformitySummary |  |  | dcx:conformitySummaryType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:conformitySummary
2 | conformityResult |  |  | dcx:conformityResultFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:conformitySummary/dcx:conformityResult
2 | decisionRuleRef |  |  | dcx:idrefFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:conformitySummary/dcx:decisionRuleRef
1 | documentAuthorization |  | Approved by: | dcx:documentAuthorizationType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization
2 | authorizingPerson |  | Area manager, Ph.D. | dcx:responsiblePersonType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:authorizingPerson
3 | name | Lars Nielsen |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:authorizingPerson/dcx:name
3 | email | ln@dfm.dk |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:authorizingPerson/dcx:email
2 | coSigner |  |  | dcx:responsiblePersonType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:coSigner
3 | name |  |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:coSigner/dcx:name
3 | email |  |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:coSigner/dcx:email
2 | coSigner2 |  |  | dcx:responsiblePersonType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:coSigner2
3 | name |  |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:coSigner2/dcx:name
3 | email |  |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:coSigner2/dcx:email
2 | coSigner3 |  |  | dcx:responsiblePersonType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:coSigner3
3 | name |  |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:coSigner3/dcx:name
3 | email |  |  | dcx:stringFieldType | /dcx:digitalCalibrationExchange/dcx:administrativeData/dcx:documentAuthorization/dcx:coSigner3/dcx:email
Contacts & Locations
level | schemaType | description | heading[en] | client | serviceProvider | clientBillingInfo | equipmentReturnInfo | certificateReturnInfo | location
| dcx:stringWithLangType | heading[en] |  | Customer | Calibration laboratory
| xs:ID | @id
| xs:IDREFS | @imageRefs
| xs:string | name |  | VWR International A/S | DFM A/S
| xs:string | VATIN
| xs:string | url
| dcx:addressType | address | Address
address | xs:string | street |  | Tobaksvejen | Horsholm
address | xs:string | streetNo |  | 17 | 5
address | xs:string | postOfficeBox
address | xs:string | city |  | Søborg | Kogle Allé
address | xs:string | district
address | xs:string | state
address | xs:string | postalCode |  | 2860 | 2970
address | dcx:stringISO3166Type | country |  | DK | DK
| dcx:contactInfoType | contactInfo | Contact info
contactInfo | xs:ID | @id
contactInfo | xs:IDREF | @idRef
contactInfo | xs:string | attPerson |  | Dario Muga
contactInfo | xs:string | email |  | -
contactInfo | xs:string | mobile
contactInfo | xs:string | phone |  | -
contactInfo | xs:string | fax
| dcx:geoPositionType | geoPosition
geoPosition | dcx:geoPositionSystemType | @geoPositionSystem
geoPosition | dcx:decimalType | longitude
geoPosition | dcx:decimalType | latitude
geoPosition | dcx:decimalType | altitude
| xs:string | body
| dcx:stringWithLangType | body[en]

## statementList
heading[en] | Statements
colHead[en]
in xml | @id | @category | @imageRefs | heading[en] | body[en] | externalReference
y | s01 | general |  | Reproduction | This certificate shall not be reproduced except in full without the written approval of DFM
y | s02 | general |  | Uncertainty | The Uncertainty is multiplicated by a coverage factor = 2, providing a level of confidence of approximately 95% (EA-4/02) | III-2
y | meth01 | method |  | Method | The masses of the weights have been determined by weighing in air. The weighing in air including data analysis is performed according to DFM's internal method[1]. In this method, one or more weights of known masses are added to the weight set to be calibrated, and the mass differences between selected weight combinations are established by weighing according to Borda's substitution principle. Each mass difference observed is corrected for air buoyancy and differences in the vertical positions of the centres of gravity of the weights being compared. The air buoyancy correction is calculated from weight volumes known with a specified uncertainty and air densities calculated from continuous measurements of pressure, temperature, humidity and CO2-content using the formula recommended by BIPM[2]. From the observed, corrected mass differences, the unknown masses are calculated by the method of least squares using the known masses as restraints. The masses are converted to conventional values in accordance with the recommendation of. | OIML D28, Conventional value of the result of weighing in air, (2004).
y | meth06 | method |  | Cleaning of weights | The weights have been cleaned by brushing.
y | t01 | general |  | Traceability | The measurement of mass is traceable to the International System of Units (SI) through the national kilogram prototype no. 48 calibrated at the BIPM. The calibration reported in this certificate has been performed under DANAK accreditation no. 255. DANAK is one of the signatories to the EA Multilateral Agreement for the mutual recognition of calibration certificates. This certificate is consistent with the capabilities that are included in Appendix C of the MRA drawn up by the CIPM. Under the MRA, all participating institutes recognize the validity of each other’s calibration and measurement certificates for the quantities, ranges and measurement uncertainties specified in Appendix C (for details see http://www.bipm.org). | http://www.bipm.org
y | meth02 | method |  | Result of calibration | The mass $m$ of a weight is found by adding the indicated mass correction $m$ to the nominal mass $M$ assigned to the weight: $$ m = \delta m + M. $$ The conventional value $m_c$ of the weight is defined by $$ m_c \cdot ( 1 - \frac{a_0}{\rho_0} ) = m - a_0 V, $$ where $V$ is the volume of the weight at 20 ^\circ C, and where $a_0 = 1.2 kg/m3$ and $\rho_0 = 8000 kg/m^3$ are the reference densities specified by OIML D28 for the air and the weight, respectively. The conventional value $m_c$ is normally used when the weight is used to calibrate a weighing instrument and is found by adding the correction \Delta m_c$ to the nominal mass $M$: $$ m_c = M + \Delta m_c. $$ | OIML D28, Conventional value of the result of weighing in air, (2004).
y | meth03 | method |  | Uncertainty | The reported expanded uncertainty of measurement is stated as the standard uncertainty multiplied by the coverage factor k = 2, which for a normal distribution corresponds to a coverage probability of approximately 95 %. The standard uncertainty of measurement is determined in accordance with the GUM[4] and the guidelines of EA-4/02. The following uncertainty components are considered: Uncertainty in the reference mass, uncertainty in the weighing process and uncertainty in the air buoyancy and centre of gravity corrections. | EA-4/02, Expression of the uncertainty of measurement in calibration, (1997).
y | meth04 | method |  | Correlation coerricients | The correlation coefficient $r(m, V)$ between the mass $m$ and the volume $V$ indicated in the result tables is to be used when calculating the uncertainty of a quantity involving both $m$ and $V$, for example the gravitational force $F$ generated by the weight in air of density $a$, $$ F=(m-aV)g. $$
y | meth05 | method |  | Volume calculation | The volumes have been calculated assuming that the densities of the weights are (7950 +/- 140) kg/m3 as specified for stainless steel in OILM R111-1. | OILM R111-1:2004, table B.7

## equipmentList
heading[en]
colHead[en] |  |  |  |  | Manufacturer |  |  |  |  | Class | Set Id
in xml | @id | @category | @statementRef | heading[en] | manufacturer | modelName | modelNumber | serialNumber | lotNumber | productClass | clientId | serviceProviderId | prevCalibDate | calibDueDate | prevCertId | prevCertProviderName
y | item1 | deviceForMeasurement |  | Set of 6 weights of nominal weight 20 kg | Satorius |  |  |  |  | F1 | 30
y | item2 | deviceForMeasurement |  | Set of 6 weights of nominal weight 10 kg | Satorius |  |  |  |  | F1 | 28

## settingList
heading[en] | Settings
colHead[en]
in xml | @id | @equipmentRef | heading[en] | body[en] | parameter | value | unit | softwareInstruction | statementRef
y | setting1 | item1 | Shape: cylindrical |  | OILM_shape | CYLINDRICAL
y | setting2 | item1 | Material: Steel |  | OLIM_material | STEEL

## measurementConfigList
heading[en] | Measuring Systems Under Calibration
colHead[en]
in xml | @id | heading[en] | deviceForMeasurementRefs | referenceStandardRefs | settingRefs | statementRefs | operationalStatus | body[en]
y | ms1 | Set of weights, ID: 030 | item1 |  | setting1 setting2
y | ms2 | Set of weights, ID: 030 | item1 |  | setting1 setting2

## embeddedFileList
heading[en] | Embedded files
colHead[en]
in xml | @id | heading[en] | body[en] | fileExtension
y | logo.png | Logo of Calibration Laboratory | - | png | \\tesla\data\MS\4006-03 AI metrologi\Software\DCCtables\master\embeddedFiles\logo.png
y | logoLarge.png | Large Logo of Calibration Laboratory | - | png | \\tesla\data\MS\4006-03 AI metrologi\Software\DCCtables\master\embeddedFiles\logoLarge.png

## quantityUnitDefList
heading[en] | Quantities and Units
colHead[en]
in xml | @id | @statementRefs | heading[en] | quantityCodeSystem | quantityCode | unitUsed | functionToSIunit | unitSI
y | conv_mass | meth03 | Convetional value of weighing in air | other |  | mg | 0.000001*value | kg
y | mass_vol_cor | meth04 | Correlation coefficient | other |  | 1 | 1.0*value | 1

## WeightCal1
tableCategory | calibrationResult
@tableId | WeightCal1
@measurementConfigRef | ms1
@serviceCategory
@statementRefs
@embeddedFileRefs
@numRows | 3
@numCols | 17
heading[en] | CalibrationResult
body[en]
indexFollowMeasurementSequence
conformityStatus
conformityStatusRef
@scope | - | reference | reference | reference | reference | reference | indication | indication | bias | bias | bias | bias | bias
dataCategory | rowTag | value | expandedUncertainty | methodRef | value | expandedUncertainty | value | value | correction | expandedUncertainty | correction | expandedUncertainty | value
@dataCategoryRef | - | - | value | value | - | value | - | - | value | value | value | value | value
@quantity | - | 3-4¦volume¦m3 | 3-4¦volume¦m3 | 3-4¦volume¦m3 | 3-1.8¦distance¦m | 3-1.8¦distance¦m | 4-1¦mass¦kg | quantityUnitDefRef | 4-1¦mass¦kg | 4-1¦mass¦kg | quantityUnitDefRef | quantityUnitDefRef | quantityUnitDefRef
@unit | - | cm3 | cm3 | cm3 | mm | mm | kg | kg | mg | mg | mg | mg | 1
@quantityUnitDefRef | [7 empty] | conv_mass |  |  | conv_mass | conv_mass | mass_vol_cor
@settingRef
heading[en] | Weight Id | Volume, $V$ (20 ℃) |  | Comment | Centre of gravity, $z$ |  | Nominal mass | Nominal mass | Mass correction $\Delta m$ |  | Conventional value $\Delta m_c$ |  | Correlation $r(m,V)$
1 | 20_kg_1 | 2516 | 44 | meth05 | 95.8 | 3.4 | 20 | 20 | 27 | 53 | 7.3 | 3.1 | 0.9983
2 | 20_kg_2 | 2515 | 44 | meth05 | 95.8 | 3.4 | 20 | 20 | 21 | 53 | 2.7 | 3.1 | 0.9983
3 | 20_kg_3 | 2516 | 44 | meth05 | 95.8 | 3.4 | 20 | 20 | 25 | 53 | 5.4 | 3.1 | 0.9983
| 20_kg_4 | 2516 | 44 | meth05 | 95.8 | 3.4 | 20 | 20 | 22 | 53 | 3.2 | 3.1 | 0.9983
| 20_kg_5 | 2519 | 44 | meth05 | 95.8 | 3.4 | 20 | 20 | 23 | 53 | -0.2 | 3.1 | 0.9983
| 20_kg_6 | 2518 | 44 | meth05 | 95.8 | 3.4 | 20 | 20 | 20 | 53 | -1 | 3.1 | 0.9983